## Data
Timestamp | AC-POWER - AC Power State [state] | AC-SETPOINT - AC Set Temperature [°C] | AC-MODE - AC Operating Mode [code] | AC-FAN - AC Fan Speed [code] | ENC-01 - Rotary Encoder 1 [%] | ENC-02 - Rotary Encoder 2 [%] | ENC-03 - Rotary Encoder 3 [%] | ENC-04 - Rotary Encoder 4 [%] | ENC-05 - Rotary Encoder 5 [%] | ENC-06 - Rotary Encoder 6 [%] | ENC-07 - Rotary Encoder 7 [%] | ENC-08 - Rotary Encoder 8 [%] | MOTOR-01 - Motor Status 1 [state] | MOTOR-02 - Motor Status 2 [state] | MOTOR-03 - Motor Status 3 [state] | MOTOR-04 - Motor Status 4 [state] | MOTOR-05 - Motor Status 5 [state] | MOTOR-06 - Motor Status 6 [state] | MOTOR-07 - Motor Status 7 [state] | MOTOR-08 - Motor Status 8 [state] | L3-AI-01 - Analog Input 1 [V] | L3-AI-02 - Analog Input 2 [V] | L3-AI-03 - Analog Input 3 [V] | L3-AI-04 - Analog Input 4 [V] | L3-AI-05 - Analog Input 5 [V] | L3-AI-06 - Analog Input 6 [V] | L3-SHT-01-T - SHT20 1 Temperature [°C] | L3-SHT-01-RH - SHT20 1 Humidity [%RH] | L3-SHT-02-T - SHT20 2 Temperature [°C] | L3-SHT-02-RH - SHT20 2 Humidity [%RH] | L3-SHT-03-T - SHT20 3 Temperature [°C] | L3-SHT-03-RH - SHT20 3 Humidity [%RH] | L3-RAD-01 - Radiation 1 [W/m²] | L3-RAD-02 - Radiation 2 [W/m²] | L3-ST-01 - Surface Temperature 1 [°C] | L3-ST-02 - Surface Temperature 2 [°C] | L3-HFT-01 - Heat Flow Temperature 1 [°C] | L3-HFT-02 - Heat Flow Temperature 2 [°C] | L3-BGT-01 - Black Globe Temperature 1 [°C] | L3-BGT-02 - Black Globe Temperature 2 [°C] | L3-BGT-03 - Black Globe Temperature 3 [°C] | L3-LUX-01 - Illuminance / LUX 1 [lux] | L3-LUX-02 - Illuminance / LUX 2 [lux] | L3-LUX-03 - Illuminance / LUX 3 [lux] | L3-LUX-04 - Illuminance / LUX 4 [lux] | L3-LUX-05 - Illuminance / LUX 5 [lux] | L3-LUX-06 - Illuminance / LUX 6 [lux] | L5-AI-01 - Analog Input 1 [V] | L5-AI-02 - Analog Input 2 [V] | L5-AI-03 - Analog Input 3 [V] | L5-AI-04 - Analog Input 4 [V] | L5-AI-05 - Analog Input 5 [V] | L5-AI-06 - Analog Input 6 [V] | L5-SHT-01-T - SHT20 1 Temperature [°C] | L5-SHT-01-RH - SHT20 1 Humidity [%RH] | L5-SHT-02-T - SHT20 2 Temperature [°C] | L5-SHT-02-RH - SHT20 2 Humidity [%RH] | L5-SHT-03-T - SHT20 3 Temperature [°C] | L5-SHT-03-RH - SHT20 3 Humidity [%RH] | L5-RAD-01 - Radiation 1 [W/m²] | L5-RAD-02 - Radiation 2 [W/m²] | L5-ST-01 - Surface Temperature 1 [°C] | L5-ST-02 - Surface Temperature 2 [°C] | L5-HFT-01 - Heat Flow Temperature 1 [°C] | L5-HFT-02 - Heat Flow Temperature 2 [°C] | L5-BGT-01 - Black Globe Temperature 1 [°C] | L5-BGT-02 - Black Globe Temperature 2 [°C] | L5-BGT-03 - Black Globe Temperature 3 [°C] | L5-LUX-01 - Illuminance / LUX 1 [lux] | L5-LUX-02 - Illuminance / LUX 2 [lux] | L5-LUX-03 - Illuminance / LUX 3 [lux] | L5-LUX-04 - Illuminance / LUX 4 [lux] | L5-LUX-05 - Illuminance / LUX 5 [lux] | L5-LUX-06 - Illuminance / LUX 6 [lux] | PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | PZEM-L3-01-CURR - PZEM L3-01 Current [A] | PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | PZEM-L3-01-PF - PZEM L3-01 Power Factor | PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | PZEM-L3-02-CURR - PZEM L3-02 Current [A] | PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | PZEM-L3-02-PF - PZEM L3-02 Power Factor | PZEM-L3-03-VOLT - PZEM L3-03 Voltage [V] | PZEM-L3-03-CURR - PZEM L3-03 Current [A] | PZEM-L3-03-POWER - PZEM L3-03 Active Power [W] | PZEM-L3-03-ENERGY - PZEM L3-03 Energy [kWh] | PZEM-L3-03-FREQ - PZEM L3-03 Frequency [Hz] | PZEM-L3-03-PF - PZEM L3-03 Power Factor | PZEM-L3-04-VOLT - PZEM L3-04 Voltage [V] | PZEM-L3-04-CURR - PZEM L3-04 Current [A] | PZEM-L3-04-POWER - PZEM L3-04 Active Power [W] | PZEM-L3-04-ENERGY - PZEM L3-04 Energy [kWh] | PZEM-L3-04-FREQ - PZEM L3-04 Frequency [Hz] | PZEM-L3-04-PF - PZEM L3-04 Power Factor | PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | PZEM-L5-01-CURR - PZEM L5-01 Current [A] | PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | PZEM-L5-01-PF - PZEM L5-01 Power Factor | PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | PZEM-L5-02-CURR - PZEM L5-02 Current [A] | PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | PZEM-L5-02-PF - PZEM L5-02 Power Factor | PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | PZEM-L5-03-CURR - PZEM L5-03 Current [A] | PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | PZEM-L5-03-PF - PZEM L5-03 Power Factor | PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | PZEM-L5-04-CURR - PZEM L5-04 Current [A] | PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-WIND - Kecepatan Angin [m/s] | WS-TEMP - Suhu Udara [°C] | WS-RH - Kelembapan Udara [%RH] | WS-PRES - Tekanan Udara [hPa] | WS-DIR - Arah Angin [°]
2026-09-12 00:00:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 55.5 | 28.9 | 56 | 29 | 56.1 | 1 | 1 | 30.3 | 25.3 | 28.9 | 24.9 | 30.6 | 30 | 29.1 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 57.9 | 29.6 | 57.8 | 29.6 | 58 | 1 | 1 | 24.5 | 25.2 | 24.4 | 24.9 | 27 | 26.9 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.5 | 0.12 | 10.9 | 1.18 | 50 | 0.41 | 225.2 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.6 | 0.12 | 10.7 | 1.32 | 50 | 0.39 | 225.5 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.3 | 0 | 0.4 | 1.85 | 50 | 1 | 1.88 | 22 | 90.9 | 910 | 235.2
2026-09-12 00:01:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.5 | 28.8 | 56.1 | 29 | 56 | 1 | 0 | 30.2 | 25.4 | 28.9 | 24.8 | 30.6 | 29.9 | 29.2 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 57.9 | 29.5 | 57.8 | 29.5 | 58 | 1 | 1 | 24.4 | 25.2 | 24.4 | 24.9 | 27.1 | 26.9 | 27.1 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 225.8 | 0.12 | 10.9 | 1.18 | 50 | 0.42 | 225.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.9 | 0.13 | 11.1 | 1.32 | 50 | 0.39 | 225.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.6 | 0 | 0 | 1.85 | 50 | 0 | 2.86 | 22.1 | 90.7 | 910 | 259.5
2026-09-12 00:02:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.5 | 29 | 55.9 | 28.9 | 56 | 1 | 0 | 30.2 | 25.4 | 29 | 24.8 | 30.6 | 30 | 29.1 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 57.9 | 29.5 | 57.9 | 29.5 | 58 | 1 | 1 | 24.5 | 25.1 | 24.4 | 24.9 | 27 | 27 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.6 | 0.12 | 10.9 | 1.18 | 50 | 0.41 | 225.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.8 | 0.12 | 10.7 | 1.32 | 50 | 0.39 | 225.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.5 | 0 | 0 | 1.85 | 50 | 0 | 0.88 | 22 | 90.8 | 910 | 282.9
2026-09-12 00:03:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 55.6 | 28.9 | 56.1 | 28.9 | 56 | 1 | 1 | 30.2 | 25.4 | 28.9 | 24.8 | 30.5 | 30 | 29.1 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 57.8 | 29.6 | 57.9 | 29.6 | 58 | 1 | 1 | 24.5 | 25.2 | 24.4 | 24.9 | 27.1 | 27 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.6 | 0.12 | 10.9 | 1.18 | 50 | 0.41 | 225.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.8 | 0.12 | 10.5 | 1.32 | 50 | 0.38 | 225.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.5 | 0 | 0 | 1.85 | 50 | 0 | 1.37 | 22 | 90.6 | 910 | 277.9
2026-09-12 00:04:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.5 | 28.9 | 56 | 28.9 | 56 | 1 | 1 | 30.2 | 25.4 | 28.9 | 24.8 | 30.6 | 30 | 29.1 | 0.3 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 57.9 | 29.5 | 57.9 | 29.4 | 58 | 1 | 1 | 24.5 | 25.1 | 24.4 | 25 | 27 | 27 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.5 | 0.12 | 10.8 | 1.18 | 49.9 | 0.41 | 225.2 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.7 | 0.12 | 10.7 | 1.32 | 50 | 0.39 | 225.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.5 | 0 | 0 | 1.85 | 50 | 0 | 1.6 | 21.9 | 91.1 | 910 | 257.9
2026-09-12 00:05:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.5 | 28.9 | 56.1 | 28.9 | 56.2 | 1 | 1 | 30.2 | 25.4 | 28.9 | 24.7 | 30.6 | 29.9 | 29.1 | 0.3 | 0.2 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 57.9 | 29.5 | 57.9 | 29.6 | 58 | 1 | 1 | 24.4 | 25.2 | 24.4 | 24.8 | 27.1 | 27 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.7 | 0.12 | 10.9 | 1.18 | 50 | 0.41 | 225.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.8 | 0.13 | 11 | 1.32 | 50 | 0.39 | 225.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.6 | 0 | 0 | 1.85 | 50 | 0 | 2.62 | 21.9 | 91.5 | 910 | 312.8
2026-09-12 00:06:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 55.6 | 28.9 | 56.1 | 28.9 | 56.2 | 1 | 0 | 30.2 | 25.4 | 28.8 | 24.8 | 30.5 | 29.9 | 29.1 | 0.3 | 0.2 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 57.9 | 29.5 | 57.8 | 29.5 | 58 | 1 | 1 | 24.5 | 25.1 | 24.3 | 24.9 | 27 | 27 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.6 | 0.12 | 10.9 | 1.18 | 50 | 0.41 | 225.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.8 | 0.12 | 10.6 | 1.32 | 50 | 0.38 | 225.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.6 | 0 | 0 | 1.85 | 50 | 0 | 3.59 | 21.7 | 91.9 | 910 | 300.6
2026-09-12 00:07:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.6 | 28.8 | 56.1 | 28.9 | 56 | 1 | 1 | 30.2 | 25.4 | 28.9 | 24.7 | 30.6 | 30 | 29.1 | 0.3 | 0.2 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 57.9 | 29.5 | 57.7 | 29.5 | 58 | 1 | 1 | 24.5 | 25.1 | 24.4 | 24.9 | 27 | 27.1 | 27.1 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.7 | 0.12 | 10.8 | 1.18 | 50 | 0.41 | 225.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.8 | 0.13 | 11.1 | 1.32 | 50 | 0.39 | 225.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.5 | 0 | 0 | 1.85 | 50 | 0 | 2.85 | 21.7 | 92.1 | 910 | 302.7
2026-09-12 00:08:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 55.5 | 28.9 | 56.1 | 28.9 | 56 | 1 | 0 | 30.3 | 25.4 | 28.9 | 24.7 | 30.5 | 29.9 | 29.1 | 0.3 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 57.9 | 29.5 | 57.8 | 29.5 | 58 | 1 | 1 | 24.5 | 25 | 24.4 | 24.8 | 27.1 | 27 | 27.1 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.5 | 0.12 | 10.8 | 1.19 | 49.9 | 0.41 | 225.2 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.7 | 0.12 | 11 | 1.32 | 49.9 | 0.4 | 225.5 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 225.4 | 0 | 0 | 1.85 | 49.9 | 0 | 2.62 | 21.7 | 92 | 910 | 323.8
2026-09-12 00:09:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.7 | 28.9 | 56 | 29 | 56.1 | 1 | 0 | 30.2 | 25.4 | 28.9 | 24.8 | 30.5 | 30 | 29.1 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 57.9 | 29.5 | 57.8 | 29.6 | 58 | 1 | 1 | 24.5 | 25.1 | 24.5 | 24.8 | 27.1 | 27 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.5 | 0.12 | 11 | 1.19 | 49.9 | 0.41 | 225.1 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 225.6 | 0.12 | 10.9 | 1.32 | 49.9 | 0.39 | 225.5 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 225.3 | 0 | 0.4 | 1.85 | 50 | 1 | 1.38 | 21.9 | 91.1 | 910 | 260.6
2026-09-12 00:10:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.6 | 28.9 | 56 | 29 | 56.2 | 1 | 1 | 30.2 | 25.4 | 29 | 24.7 | 30.5 | 29.9 | 29.2 | 0.3 | 0.2 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 57.9 | 29.5 | 57.8 | 29.5 | 57.9 | 1 | 1 | 24.5 | 25.1 | 24.4 | 24.8 | 27.1 | 27.1 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.5 | 0.12 | 10.9 | 1.19 | 50 | 0.41 | 225.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.6 | 0.12 | 10.7 | 1.32 | 50 | 0.39 | 225.5 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.3 | 0 | 0 | 1.85 | 50 | 0 | 0.89 | 22 | 90.8 | 910 | 267.9
2026-09-12 00:11:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 55.6 | 28.9 | 56.1 | 28.9 | 56.2 | 1 | 1 | 30.2 | 25.4 | 28.9 | 24.8 | 30.6 | 30 | 29.1 | 0.3 | 0.2 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 57.8 | 29.4 | 57.7 | 29.6 | 58 | 1 | 1 | 24.6 | 25.1 | 24.4 | 24.7 | 27.1 | 27 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.6 | 0.12 | 10.9 | 1.19 | 50 | 0.41 | 225.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.7 | 0.12 | 10.8 | 1.32 | 50 | 0.39 | 225.5 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.5 | 0 | 0 | 1.85 | 50 | 0 | 1.39 | 22 | 90.5 | 910 | 281.2
2026-09-12 00:12:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.6 | 29 | 56 | 29 | 56.2 | 1 | 0 | 30.3 | 25.3 | 29 | 24.7 | 30.6 | 29.9 | 29.1 | 0.3 | 0.2 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 57.8 | 29.6 | 57.9 | 29.5 | 58 | 1 | 1 | 24.6 | 25.1 | 24.5 | 24.8 | 27 | 27 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.5 | 0.12 | 10.9 | 1.19 | 49.9 | 0.41 | 225.2 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 225.7 | 0.12 | 11 | 1.32 | 50 | 0.39 | 225.4 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 225.4 | 0 | 0.4 | 1.85 | 50 | 1 | 2.13 | 22.1 | 90.5 | 910 | 317.6
2026-09-12 00:13:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.7 | 28.9 | 56.2 | 29 | 56.4 | 1 | 0 | 30.3 | 25.3 | 28.9 | 24.7 | 30.6 | 29.9 | 29.1 | 0.3 | 0.2 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 57.8 | 29.6 | 57.9 | 29.5 | 58 | 1 | 1 | 24.5 | 25.1 | 24.4 | 24.8 | 27.1 | 27 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.6 | 0.12 | 11 | 1.19 | 50 | 0.41 | 225.2 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.7 | 0.13 | 10.9 | 1.32 | 50 | 0.39 | 225.5 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.4 | 0 | 0.4 | 1.85 | 50 | 1 | 0.88 | 22.1 | 90.2 | 910 | 306
2026-09-12 00:14:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.7 | 29 | 56.2 | 28.9 | 56.3 | 1 | 1 | 30.2 | 25.3 | 29 | 24.8 | 30.6 | 29.9 | 29.1 | 0.3 | 0.2 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 57.9 | 29.5 | 57.8 | 29.4 | 58 | 1 | 1 | 24.5 | 25.1 | 24.4 | 24.7 | 27.1 | 27 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.7 | 0.12 | 10.9 | 1.19 | 49.9 | 0.41 | 225.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.9 | 0.12 | 10.9 | 1.32 | 50 | 0.39 | 225.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.6 | 0 | 0 | 1.85 | 50 | 0 | 0.64 | 22.1 | 90.1 | 910 | 245.5
2026-09-12 00:15:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 55.7 | 28.9 | 56.1 | 28.9 | 56.4 | 1 | 0 | 30.3 | 25.4 | 28.9 | 24.8 | 30.6 | 29.9 | 29.1 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 57.9 | 29.5 | 58 | 29.5 | 58.1 | 1 | 1 | 24.5 | 25.1 | 24.4 | 24.8 | 27 | 27 | 27.1 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.6 | 0.12 | 10.8 | 1.19 | 50 | 0.41 | 225.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.7 | 0.13 | 11 | 1.32 | 50 | 0.39 | 225.5 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.5 | 0 | 0 | 1.85 | 50 | 0 | 2.88 | 22.1 | 90.1 | 910 | 295.7
2026-09-12 00:16:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.5 | 29 | 56.2 | 28.9 | 56.4 | 1 | 1 | 30.2 | 25.3 | 29 | 24.8 | 30.6 | 30 | 29.1 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58 | 29.5 | 57.9 | 29.5 | 58 | 1 | 1 | 24.5 | 25.1 | 24.4 | 24.8 | 27.1 | 26.9 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.7 | 0.12 | 11.1 | 1.19 | 50 | 0.42 | 225.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.8 | 0.12 | 10.8 | 1.32 | 50 | 0.39 | 225.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.6 | 0 | 0 | 1.85 | 50 | 0 | 3.11 | 22.1 | 90.3 | 910 | 303.6
2026-09-12 00:17:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 55.7 | 29 | 56.1 | 28.9 | 56.4 | 1 | 0 | 30.3 | 25.4 | 29 | 24.8 | 30.6 | 29.9 | 29.1 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 57.8 | 29.5 | 57.9 | 29.6 | 58.1 | 1 | 1 | 24.5 | 25 | 24.4 | 24.8 | 27 | 26.9 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.6 | 0.12 | 10.9 | 1.19 | 50 | 0.41 | 225.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.7 | 0.12 | 10.8 | 1.32 | 50 | 0.39 | 225.5 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.5 | 0 | 0 | 1.85 | 50 | 0 | 1.88 | 22.1 | 90.4 | 910 | 175.7
2026-09-12 00:18:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.6 | 28.9 | 56.2 | 28.9 | 56.3 | 1 | 0 | 30.3 | 25.3 | 28.9 | 24.7 | 30.5 | 29.8 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 57.8 | 29.5 | 57.9 | 29.5 | 58.1 | 1 | 1 | 24.5 | 25.1 | 24.4 | 24.7 | 27 | 27 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.6 | 0.12 | 10.9 | 1.19 | 49.9 | 0.41 | 225.2 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.8 | 0.12 | 10.1 | 1.32 | 49.9 | 0.38 | 225.5 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.5 | 0 | 0 | 1.85 | 49.9 | 0 | 0.02 | 22.1 | 90.2 | 910 | 61.9
2026-09-12 00:19:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.6 | 28.8 | 56.2 | 28.9 | 56.2 | 1 | 1 | 30.2 | 25.3 | 28.9 | 24.6 | 30.5 | 30 | 29.1 | 0.3 | 0.2 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 57.9 | 29.5 | 57.9 | 29.5 | 58.1 | 1 | 1 | 24.5 | 25.1 | 24.4 | 24.7 | 27 | 27 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.6 | 0.12 | 11 | 1.19 | 49.9 | 0.41 | 225.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.8 | 0.12 | 10.4 | 1.32 | 50 | 0.38 | 225.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.5 | 0 | 0 | 1.85 | 50 | 0 | 2.62 | 22.2 | 90.1 | 910 | 220.9
2026-09-12 00:20:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.7 | 28.8 | 56.1 | 28.9 | 56.2 | 1 | 0 | 30.2 | 25.3 | 29 | 24.7 | 30.6 | 29.9 | 29.1 | 0.3 | 0.2 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 57.9 | 29.5 | 57.9 | 29.5 | 58.1 | 1 | 1 | 24.6 | 25 | 24.4 | 24.8 | 27 | 26.9 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.6 | 0.12 | 11 | 1.19 | 50 | 0.41 | 225.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.8 | 0.12 | 10.7 | 1.32 | 50 | 0.39 | 225.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.5 | 0 | 0 | 1.85 | 50 | 0 | 1.88 | 22 | 90.6 | 910 | 218.3
2026-09-12 00:21:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.7 | 28.9 | 56.1 | 28.8 | 56.4 | 1 | 0 | 30.2 | 25.3 | 28.9 | 24.7 | 30.6 | 29.9 | 29.1 | 0.3 | 0.2 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58 | 29.4 | 58 | 29.5 | 58 | 1 | 1 | 24.4 | 25 | 24.3 | 24.8 | 27 | 27 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.7 | 0.12 | 11 | 1.19 | 49.9 | 0.41 | 225.3 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.8 | 0.12 | 10.7 | 1.32 | 49.9 | 0.39 | 225.6 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.6 | 0 | 0 | 1.85 | 50 | 0 | 4.85 | 22 | 90.7 | 910 | 304.4
2026-09-12 00:22:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.6 | 28.9 | 56.2 | 29 | 56.4 | 1 | 0 | 30.2 | 25.3 | 28.9 | 24.7 | 30.5 | 30 | 29.1 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 58 | 29.5 | 57.9 | 29.6 | 58.1 | 1 | 1 | 24.5 | 25.1 | 24.3 | 24.7 | 27 | 27 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.7 | 0.12 | 11 | 1.19 | 49.9 | 0.41 | 225.4 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 225.9 | 0.12 | 10.8 | 1.32 | 49.9 | 0.39 | 225.7 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 225.6 | 0 | 0 | 1.85 | 49.9 | 0 | 1.64 | 21.9 | 91.1 | 910 | 234.6
2026-09-12 00:23:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 55.8 | 28.9 | 56.2 | 29 | 56.3 | 1 | 0 | 30.2 | 25.2 | 28.9 | 24.7 | 30.5 | 29.9 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 57.9 | 29.5 | 58 | 29.4 | 58 | 1 | 1 | 24.5 | 25 | 24.3 | 24.7 | 27.1 | 27 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.8 | 0.12 | 10.8 | 1.19 | 50 | 0.41 | 225.6 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226 | 0.12 | 10.6 | 1.32 | 50 | 0.38 | 225.8 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.7 | 0 | 0 | 1.85 | 50 | 0 | 1.62 | 22 | 91 | 910 | 245.1
2026-09-12 00:24:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.6 | 28.8 | 56.3 | 28.9 | 56.2 | 0 | 0 | 30.1 | 25.2 | 28.8 | 24.6 | 30.5 | 29.9 | 29.1 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 58 | 29.5 | 58 | 29.4 | 58.1 | 1 | 1 | 24.5 | 25 | 24.3 | 24.8 | 27 | 27 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.8 | 0.12 | 10.9 | 1.19 | 50 | 0.41 | 225.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.9 | 0.12 | 10.3 | 1.32 | 50 | 0.38 | 225.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.6 | 0 | 0 | 1.85 | 50 | 0 | 0.39 | 22 | 90.9 | 910 | 101.4
2026-09-12 00:25:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 55.8 | 28.9 | 56.2 | 28.9 | 56.3 | 1 | 0 | 30.2 | 25.3 | 28.9 | 24.6 | 30.5 | 30 | 29.1 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58 | 29.6 | 57.9 | 29.5 | 58.2 | 1 | 1 | 24.5 | 25 | 24.3 | 24.7 | 27 | 26.9 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.6 | 0.12 | 11 | 1.19 | 50 | 0.41 | 225.4 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.9 | 0.12 | 10.2 | 1.32 | 50 | 0.38 | 225.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.6 | 0 | 0.4 | 1.85 | 50 | 1 | 1.38 | 22 | 91 | 910 | 296.2
2026-09-12 00:26:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.8 | 28.9 | 56.2 | 28.9 | 56.3 | 1 | 0 | 30.1 | 25.2 | 28.9 | 24.6 | 30.5 | 29.9 | 29.1 | 0.3 | 0.2 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 58.1 | 29.5 | 58.1 | 29.5 | 58.1 | 1 | 1 | 24.5 | 25 | 24.3 | 24.7 | 27 | 26.9 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.8 | 0.12 | 10.9 | 1.19 | 50 | 0.41 | 225.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226 | 0.12 | 10.2 | 1.32 | 50 | 0.38 | 225.8 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.7 | 0 | 0.4 | 1.85 | 50 | 1 | 3.86 | 21.9 | 91.3 | 910 | 293.5
2026-09-12 00:27:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 55.7 | 28.9 | 56.1 | 28.9 | 56.3 | 1 | 0 | 30.2 | 25.2 | 28.9 | 24.7 | 30.5 | 29.9 | 29.1 | 0.3 | 0.2 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 58 | 29.5 | 58.1 | 29.5 | 58.1 | 1 | 1 | 24.5 | 25 | 24.3 | 24.7 | 27 | 27 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.7 | 0.12 | 10.9 | 1.19 | 50 | 0.4 | 225.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.9 | 0.12 | 10.2 | 1.32 | 50 | 0.38 | 225.8 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.7 | 0 | 0 | 1.85 | 50 | 0 | 2.63 | 21.9 | 91.3 | 910 | 230.1
2026-09-12 00:28:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.9 | 28.8 | 56.2 | 29 | 56.3 | 1 | 1 | 30.2 | 25.3 | 28.9 | 24.6 | 30.4 | 30 | 29.1 | 0.3 | 0.2 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.1 | 29.5 | 57.9 | 29.4 | 58.1 | 1 | 1 | 24.5 | 25 | 24.4 | 24.7 | 27 | 27 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.8 | 0.12 | 11 | 1.19 | 50 | 0.41 | 225.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226 | 0.12 | 10.6 | 1.32 | 50 | 0.38 | 225.8 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.7 | 0 | 0 | 1.85 | 50 | 0 | 0.64 | 21.9 | 91.2 | 910 | 162.3
2026-09-12 00:29:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.8 | 29 | 56.3 | 28.9 | 56.3 | 1 | 1 | 30.1 | 25.2 | 28.9 | 24.6 | 30.5 | 29.9 | 29.1 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 58.1 | 29.6 | 58 | 29.4 | 58.1 | 1 | 1 | 24.5 | 24.9 | 24.3 | 24.7 | 27 | 27 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.9 | 0.12 | 10.8 | 1.19 | 50 | 0.41 | 225.6 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226 | 0.12 | 10.8 | 1.32 | 50 | 0.39 | 225.9 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.8 | 0 | 0.4 | 1.85 | 50 | 1 | 2.11 | 21.9 | 91.1 | 910 | 229.7
2026-09-12 00:30:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.9 | 55.7 | 28.8 | 56.3 | 29 | 56.3 | 1 | 0 | 30.2 | 25.3 | 28.8 | 24.6 | 30.6 | 29.9 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58 | 29.3 | 58.1 | 29.4 | 58 | 1 | 1 | 24.4 | 25.1 | 24.2 | 24.7 | 27.1 | 26.9 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.8 | 0.12 | 10.9 | 1.19 | 50 | 0.4 | 225.5 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 225.9 | 0.13 | 11 | 1.32 | 50 | 0.39 | 225.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.6 | 0 | 0 | 1.85 | 50 | 0 | 1.37 | 21.9 | 91 | 910 | 250.1
2026-09-12 00:31:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.8 | 28.9 | 56.3 | 29 | 56.3 | 1 | 0 | 30.2 | 25.2 | 28.8 | 24.7 | 30.5 | 29.9 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.1 | 29.4 | 58 | 29.5 | 58.1 | 1 | 1 | 24.5 | 25.1 | 24.3 | 24.7 | 27 | 27 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.8 | 0.12 | 10.9 | 1.19 | 49.9 | 0.41 | 225.5 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 225.9 | 0.13 | 11.1 | 1.32 | 49.9 | 0.39 | 225.8 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.7 | 0 | 0 | 1.85 | 49.9 | 0 | 1.37 | 21.9 | 91.3 | 910 | 246.4
2026-09-12 00:32:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.8 | 28.9 | 56.2 | 29 | 56.4 | 1 | 1 | 30.1 | 25.3 | 28.9 | 24.7 | 30.5 | 29.9 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.1 | 29.5 | 58.1 | 29.4 | 58.1 | 1 | 1 | 24.4 | 25 | 24.4 | 24.8 | 27.1 | 27 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.8 | 0.12 | 10.8 | 1.19 | 49.9 | 0.4 | 225.5 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 225.9 | 0.12 | 10.6 | 1.32 | 49.9 | 0.38 | 225.7 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 225.6 | 0 | 0.4 | 1.85 | 49.9 | 1 | 3.1 | 21.8 | 91.3 | 910 | 231.2
2026-09-12 00:33:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.8 | 28.9 | 56.3 | 28.9 | 56.3 | 1 | 0 | 30.1 | 25.2 | 28.9 | 24.6 | 30.6 | 29.9 | 29.1 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.1 | 29.4 | 58 | 29.4 | 58.1 | 1 | 1 | 24.4 | 25.1 | 24.2 | 24.8 | 27 | 26.9 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.9 | 0.12 | 10.9 | 1.19 | 49.9 | 0.4 | 225.5 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226 | 0.12 | 10.2 | 1.32 | 49.9 | 0.38 | 225.8 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 225.7 | 0 | 0 | 1.85 | 49.9 | 0 | 1.37 | 21.9 | 91.3 | 910 | 224.6
2026-09-12 00:34:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.8 | 28.9 | 56.4 | 28.8 | 56.4 | 1 | 1 | 30.1 | 25.3 | 28.8 | 24.6 | 30.5 | 29.9 | 29.1 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.1 | 29.4 | 58 | 29.5 | 58.2 | 1 | 1 | 24.4 | 25 | 24.2 | 24.7 | 27 | 27 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 226 | 0.12 | 10.8 | 1.19 | 50 | 0.4 | 225.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.2 | 0.13 | 10.8 | 1.32 | 50 | 0.38 | 226 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.9 | 0 | 0.4 | 1.85 | 50 | 1 | 2.1 | 21.9 | 91.3 | 910 | 291.1
2026-09-12 00:35:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.9 | 28.8 | 56.3 | 28.9 | 56.3 | 1 | 0 | 30.1 | 25.2 | 28.8 | 24.7 | 30.5 | 29.9 | 29.1 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.1 | 29.5 | 57.9 | 29.4 | 58.1 | 1 | 1 | 24.4 | 25 | 24.2 | 24.7 | 27.1 | 26.9 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.8 | 0.12 | 10.9 | 1.19 | 49.9 | 0.41 | 225.5 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226 | 0.13 | 10.8 | 1.32 | 49.9 | 0.38 | 225.7 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 225.7 | 0 | 0 | 1.85 | 49.9 | 0 | 0.4 | 21.9 | 91.3 | 910 | 244.5
2026-09-12 00:36:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.8 | 28.9 | 56.3 | 28.9 | 56.5 | 1 | 0 | 30.1 | 25.3 | 28.8 | 24.6 | 30.5 | 29.9 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.1 | 29.4 | 57.9 | 29.4 | 58.2 | 1 | 1 | 24.4 | 25 | 24.2 | 24.8 | 27.1 | 27 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.8 | 0.12 | 10.9 | 1.19 | 50 | 0.4 | 225.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226 | 0.12 | 10.7 | 1.32 | 50 | 0.38 | 225.8 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.6 | 0 | 0.4 | 1.85 | 50 | 1 | 4.86 | 21.8 | 91.3 | 910 | 228.9
2026-09-12 00:37:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.9 | 55.9 | 28.9 | 56.3 | 28.9 | 56.5 | 1 | 0 | 30.1 | 25.2 | 28.8 | 24.6 | 30.5 | 29.9 | 29.1 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 58.2 | 29.5 | 58 | 29.5 | 58.2 | 1 | 1 | 24.3 | 25 | 24.2 | 24.8 | 27 | 26.9 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 225.8 | 0.12 | 11 | 1.19 | 49.9 | 0.41 | 225.5 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 225.9 | 0.12 | 10.8 | 1.32 | 49.9 | 0.39 | 225.8 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 225.7 | 0 | 0 | 1.85 | 49.9 | 0 | 2.87 | 21.7 | 91.8 | 910 | 212.3
2026-09-12 00:38:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.8 | 28.9 | 56.3 | 28.9 | 56.5 | 1 | 0 | 30.1 | 25.2 | 28.7 | 24.7 | 30.5 | 29.9 | 29.1 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 58.1 | 29.4 | 58 | 29.5 | 58.2 | 1 | 1 | 24.3 | 25 | 24.2 | 24.8 | 27 | 26.8 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 225.8 | 0.12 | 11 | 1.19 | 49.9 | 0.41 | 225.5 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 225.9 | 0.13 | 10.8 | 1.32 | 49.9 | 0.38 | 225.8 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 225.7 | 0 | 0 | 1.85 | 49.9 | 0 | 2.87 | 21.7 | 92.1 | 910 | 199.2
2026-09-12 00:39:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.7 | 28.8 | 56.3 | 28.8 | 56.4 | 1 | 0 | 30.1 | 25.3 | 28.8 | 24.6 | 30.5 | 29.9 | 29.1 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.1 | 29.5 | 58 | 29.5 | 58.2 | 1 | 1 | 24.4 | 25 | 24.2 | 24.7 | 27 | 26.9 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 225.9 | 0.12 | 10.9 | 1.19 | 49.9 | 0.4 | 225.6 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226 | 0.12 | 10.7 | 1.32 | 49.9 | 0.38 | 225.8 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 225.7 | 0 | 0 | 1.85 | 49.9 | 0 | 2.61 | 21.6 | 92.3 | 910 | 139.7
2026-09-12 00:40:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.8 | 28.9 | 56.4 | 28.9 | 56.4 | 1 | 0 | 30.2 | 25.3 | 28.8 | 24.6 | 30.5 | 29.9 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.1 | 29.5 | 57.9 | 29.4 | 58.2 | 1 | 1 | 24.3 | 25 | 24.3 | 24.7 | 27 | 26.9 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 225.9 | 0.12 | 10.8 | 1.19 | 50 | 0.41 | 225.6 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.1 | 0.12 | 10.9 | 1.32 | 50 | 0.39 | 225.9 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.8 | 0 | 0 | 1.85 | 50 | 0 | 2.61 | 21.7 | 92.2 | 910 | 232.1
2026-09-12 00:41:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.8 | 28.9 | 56.4 | 28.9 | 56.4 | 1 | 0 | 30.1 | 25.2 | 28.8 | 24.6 | 30.5 | 29.8 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.2 | 29.4 | 58 | 29.5 | 58.2 | 1 | 1 | 24.4 | 25 | 24.2 | 24.7 | 27 | 26.9 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 225.9 | 0.12 | 11 | 1.19 | 50 | 0.42 | 225.6 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.1 | 0.12 | 10.8 | 1.32 | 50 | 0.39 | 225.9 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.8 | 0 | 0 | 1.85 | 50 | 0 | 0.88 | 21.6 | 92.2 | 910 | 176.7
2026-09-12 00:42:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29.1 | 55.8 | 28.8 | 56.3 | 28.9 | 56.3 | 1 | 0 | 30.1 | 25.3 | 28.8 | 24.6 | 30.5 | 30 | 29.1 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.1 | 29.5 | 58.1 | 29.5 | 58.2 | 1 | 1 | 24.4 | 25.1 | 24.2 | 24.7 | 27 | 26.9 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 225.9 | 0.12 | 10.8 | 1.19 | 50 | 0.41 | 225.6 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.1 | 0.12 | 10.9 | 1.32 | 50 | 0.4 | 225.9 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 225.8 | 0 | 0.4 | 1.85 | 49.9 | 1 | 2.12 | 21.7 | 92 | 910 | 238.7
2026-09-12 00:43:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.8 | 28.9 | 56.4 | 28.9 | 56.3 | 1 | 0 | 30.1 | 25.3 | 28.8 | 24.6 | 30.5 | 29.9 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 58.1 | 29.5 | 57.9 | 29.5 | 58.3 | 1 | 1 | 24.3 | 25 | 24.3 | 24.7 | 27 | 26.9 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 225.8 | 0.12 | 10.9 | 1.19 | 49.9 | 0.42 | 225.5 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226 | 0.12 | 10.2 | 1.32 | 49.9 | 0.39 | 225.8 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 225.7 | 0 | 0 | 1.85 | 49.9 | 0 | 1.13 | 21.8 | 91.8 | 910 | 213.9
2026-09-12 00:44:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.9 | 28.9 | 56.2 | 28.9 | 56.4 | 1 | 0 | 30.1 | 25.3 | 28.8 | 24.6 | 30.5 | 29.9 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.2 | 29.4 | 58 | 29.4 | 58.2 | 1 | 1 | 24.4 | 25 | 24.3 | 24.7 | 27 | 26.9 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 225.9 | 0.12 | 10.9 | 1.19 | 49.9 | 0.42 | 225.5 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226 | 0.12 | 10.6 | 1.33 | 49.9 | 0.39 | 225.8 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 225.7 | 0 | 0.4 | 1.85 | 49.9 | 1 | 2.39 | 21.8 | 91.7 | 909 | 211.3
2026-09-12 00:45:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.9 | 55.9 | 28.9 | 56.3 | 28.9 | 56.4 | 1 | 0 | 30.2 | 25.2 | 28.8 | 24.6 | 30.5 | 29.9 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.2 | 29.5 | 58.1 | 29.4 | 58.1 | 1 | 1 | 24.4 | 25 | 24.2 | 24.8 | 27 | 26.9 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 225.9 | 0.12 | 11 | 1.19 | 50 | 0.42 | 225.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.2 | 0.12 | 10.9 | 1.33 | 50 | 0.39 | 225.9 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.9 | 0 | 0 | 1.85 | 50 | 0 | 1.12 | 21.9 | 91.2 | 909 | 232.8
2026-09-12 00:46:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.9 | 55.9 | 28.9 | 56.2 | 28.9 | 56.4 | 1 | 0 | 30.2 | 25.2 | 28.8 | 24.7 | 30.5 | 29.9 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 58.2 | 29.5 | 58.1 | 29.4 | 58.2 | 1 | 1 | 24.4 | 25 | 24.2 | 24.7 | 27 | 27 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 225.8 | 0.12 | 10.9 | 1.19 | 50 | 0.42 | 225.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.1 | 0.12 | 10.7 | 1.33 | 50 | 0.39 | 225.9 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.8 | 0 | 0 | 1.85 | 50 | 0 | 0.15 | 21.9 | 91.1 | 909 | 214.1
2026-09-12 00:47:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.9 | 56 | 28.9 | 56.2 | 28.9 | 56.3 | 1 | 0 | 30.2 | 25.4 | 28.8 | 24.7 | 30.5 | 29.9 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 58.2 | 29.6 | 58.1 | 29.4 | 58.2 | 1 | 1 | 24.4 | 25 | 24.2 | 24.7 | 27 | 26.9 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 225.9 | 0.12 | 10.8 | 1.19 | 50 | 0.41 | 225.6 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.1 | 0.12 | 10.4 | 1.33 | 50 | 0.39 | 225.9 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.8 | 0 | 0 | 1.85 | 50 | 0 | 0.38 | 21.9 | 91 | 909 | 118.8
2026-09-12 00:48:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.9 | 28.8 | 56.3 | 28.9 | 56.5 | 1 | 0 | 30.1 | 25.3 | 28.8 | 24.7 | 30.5 | 29.9 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 58.1 | 29.5 | 58 | 29.3 | 58.2 | 1 | 1 | 24.4 | 25 | 24.3 | 24.7 | 27 | 27 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 226 | 0.12 | 10.9 | 1.19 | 50 | 0.42 | 225.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.2 | 0.12 | 10.9 | 1.33 | 50 | 0.39 | 225.9 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.9 | 0 | 0 | 1.85 | 50 | 0 | 2.37 | 22 | 90.9 | 909 | 264.5
2026-09-12 00:49:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 56 | 28.9 | 56.3 | 28.9 | 56.3 | 1 | 0 | 30.1 | 25.3 | 28.8 | 24.7 | 30.5 | 29.9 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.2 | 29.4 | 58 | 29.4 | 58.3 | 1 | 1 | 24.4 | 25 | 24.2 | 24.7 | 27 | 26.9 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 225.8 | 0.12 | 10.8 | 1.19 | 50 | 0.41 | 225.5 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 225.9 | 0.12 | 10.7 | 1.33 | 50 | 0.39 | 225.7 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.7 | 0 | 0.4 | 1.85 | 50 | 1 | 3.85 | 21.9 | 91.2 | 909 | 246
2026-09-12 00:50:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.9 | 55.9 | 28.8 | 56.3 | 28.9 | 56.4 | 1 | 0 | 30.1 | 25.3 | 28.8 | 24.7 | 30.5 | 29.8 | 29.1 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 58 | 29.5 | 58 | 29.5 | 58.3 | 1 | 1 | 24.4 | 25 | 24.2 | 24.8 | 26.9 | 27 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 225.7 | 0.12 | 11 | 1.19 | 49.9 | 0.41 | 225.4 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 225.9 | 0.12 | 10.9 | 1.33 | 49.9 | 0.39 | 225.7 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 225.6 | 0 | 0 | 1.85 | 49.9 | 0 | 2.37 | 21.8 | 91.5 | 909 | 300.4
2026-09-12 00:51:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.9 | 28.9 | 56.3 | 28.8 | 56.3 | 0 | 0 | 30.1 | 25.3 | 28.8 | 24.7 | 30.5 | 29.9 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 58.1 | 29.5 | 58.1 | 29.3 | 58.3 | 1 | 1 | 24.3 | 25 | 24.2 | 24.7 | 27 | 26.9 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 226.1 | 0.12 | 10.7 | 1.19 | 50 | 0.41 | 225.8 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.2 | 0.12 | 10.1 | 1.33 | 50 | 0.38 | 226 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.9 | 0 | 0 | 1.85 | 50 | 0 | 3.11 | 21.8 | 91.6 | 909 | 190.7
2026-09-12 00:52:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 56 | 28.7 | 56.4 | 28.9 | 56.4 | 1 | 0 | 30.2 | 25.3 | 28.8 | 24.8 | 30.5 | 29.8 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 58.1 | 29.4 | 58.1 | 29.4 | 58.3 | 1 | 1 | 24.4 | 25 | 24.2 | 24.8 | 27 | 26.9 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 226.1 | 0.12 | 10.8 | 1.19 | 50 | 0.41 | 225.8 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.2 | 0.12 | 10.8 | 1.33 | 50 | 0.39 | 226 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.9 | 0 | 0 | 1.85 | 50 | 0 | 0.63 | 21.8 | 91.6 | 909 | 234.7
2026-09-12 00:53:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.9 | 28.8 | 56.3 | 28.8 | 56.5 | 1 | 0 | 30.1 | 25.3 | 28.7 | 24.7 | 30.5 | 29.9 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.1 | 29.5 | 58.1 | 29.4 | 58.3 | 1 | 1 | 24.4 | 25 | 24.2 | 24.8 | 27 | 27 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 226.1 | 0.12 | 10.7 | 1.19 | 50 | 0.41 | 225.9 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.2 | 0.12 | 10.6 | 1.33 | 50 | 0.39 | 226.1 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226 | 0 | 0 | 1.85 | 50 | 0 | 0.39 | 21.8 | 91.6 | 909 | 218.9
2026-09-12 00:54:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.9 | 28.8 | 56.4 | 29 | 56.5 | 1 | 1 | 30.1 | 25.4 | 28.8 | 24.7 | 30.5 | 29.9 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 58.1 | 29.4 | 58 | 29.4 | 58.2 | 1 | 1 | 24.4 | 25 | 24.2 | 24.7 | 27 | 26.9 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 226 | 0.12 | 10.7 | 1.19 | 50 | 0.4 | 225.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.1 | 0.12 | 10.3 | 1.33 | 50 | 0.39 | 225.9 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.8 | 0 | 0.4 | 1.85 | 50 | 1 | 1.61 | 21.8 | 91.4 | 909 | 222.8
2026-09-12 00:55:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.9 | 55.9 | 28.8 | 56.4 | 28.8 | 56.5 | 1 | 0 | 30.1 | 25.3 | 28.7 | 24.7 | 30.5 | 29.8 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.1 | 29.5 | 58 | 29.5 | 58.2 | 1 | 1 | 24.3 | 25 | 24.2 | 24.7 | 27 | 26.9 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 225.9 | 0.12 | 10.9 | 1.19 | 49.9 | 0.41 | 225.6 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.1 | 0.12 | 10.8 | 1.33 | 49.9 | 0.39 | 225.9 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 225.8 | 0 | 0 | 1.85 | 49.9 | 0 | 3.62 | 21.7 | 91.5 | 909 | 238
2026-09-12 00:56:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.9 | 56 | 28.8 | 56.4 | 28.9 | 56.5 | 1 | 1 | 30.1 | 25.3 | 28.8 | 24.7 | 30.5 | 29.8 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.1 | 29.4 | 58.1 | 29.5 | 58.3 | 1 | 1 | 24.4 | 25 | 24.1 | 24.7 | 27 | 27 | 26.8 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 226 | 0.12 | 10.8 | 1.19 | 50 | 0.41 | 225.7 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.1 | 0.12 | 10.9 | 1.33 | 50 | 0.39 | 225.9 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.9 | 0 | 0.4 | 1.85 | 50 | 1 | 3.34 | 21.7 | 91.6 | 909 | 211
2026-09-12 00:57:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.9 | 56 | 28.8 | 56.4 | 28.9 | 56.7 | 1 | 1 | 30.2 | 25.3 | 28.8 | 24.8 | 30.5 | 29.8 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.6 | 58.1 | 29.5 | 58.2 | 29.4 | 58.3 | 1 | 1 | 24.4 | 25 | 24.2 | 24.7 | 27 | 27 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 226.1 | 0.12 | 10.9 | 1.19 | 50 | 0.41 | 225.9 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.3 | 0.12 | 10.3 | 1.33 | 50 | 0.39 | 226.1 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226 | 0 | 0.4 | 1.85 | 50 | 1 | 2.62 | 21.7 | 91.7 | 909 | 234.4
2026-09-12 00:58:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.9 | 55.9 | 28.8 | 56.5 | 28.9 | 56.6 | 1 | 0 | 30.1 | 25.3 | 28.8 | 24.7 | 30.5 | 29.9 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.2 | 29.3 | 58.1 | 29.4 | 58.3 | 1 | 1 | 24.3 | 25 | 24.3 | 24.7 | 27 | 26.9 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 226.3 | 0.12 | 10.9 | 1.19 | 50 | 0.4 | 226 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.4 | 0.13 | 10.8 | 1.33 | 50 | 0.38 | 226.2 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.2 | 0 | 0 | 1.85 | 50 | 0 | 2.87 | 21.6 | 91.9 | 909 | 215.9
2026-09-12 00:59:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 56.1 | 28.8 | 56.5 | 28.9 | 56.5 | 1 | 1 | 30.1 | 25.3 | 28.7 | 24.8 | 30.5 | 29.8 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.1 | 29.3 | 58.1 | 29.4 | 58.3 | 1 | 1 | 24.4 | 25 | 24.2 | 24.7 | 27 | 26.9 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 226.2 | 0.12 | 11 | 1.19 | 50 | 0.41 | 225.9 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.4 | 0.13 | 10.7 | 1.33 | 50 | 0.38 | 226.2 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226.1 | 0 | 0 | 1.85 | 50 | 0 | 2.86 | 21.6 | 92 | 909 | 218.3
2026-09-12 01:00:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.9 | 56 | 28.8 | 56.5 | 28.8 | 56.3 | 1 | 0 | 30.1 | 25.4 | 28.7 | 24.7 | 30.5 | 29.8 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.1 | 29.5 | 58.2 | 29.5 | 58.3 | 1 | 1 | 24.3 | 25 | 24.2 | 24.8 | 27 | 26.9 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 226 | 0.12 | 11 | 1.19 | 49.9 | 0.41 | 225.7 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.2 | 0.13 | 10.8 | 1.33 | 49.9 | 0.38 | 226 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 225.9 | 0 | 0 | 1.85 | 49.9 | 0 | 2.36 | 21.6 | 92.1 | 909 | 168.6
2026-09-12 01:01:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.9 | 28.8 | 56.4 | 28.8 | 56.5 | 1 | 0 | 30.1 | 25.3 | 28.7 | 24.8 | 30.5 | 29.9 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 58.1 | 29.4 | 58.1 | 29.4 | 58.3 | 1 | 1 | 24.4 | 25 | 24.2 | 24.8 | 27 | 26.9 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 226 | 0.12 | 11 | 1.19 | 49.9 | 0.41 | 225.7 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226.2 | 0.13 | 10.7 | 1.33 | 49.9 | 0.38 | 226 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 225.9 | 0 | 0 | 1.85 | 49.9 | 0 | 1.39 | 21.6 | 92 | 909 | 233.6
2026-09-12 01:02:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 55.9 | 28.8 | 56.5 | 28.9 | 56.6 | 1 | 0 | 30.1 | 25.5 | 28.8 | 24.8 | 30.5 | 29.8 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 58.1 | 29.4 | 58.1 | 29.4 | 58.4 | 1 | 1 | 24.3 | 25 | 24.2 | 24.8 | 27 | 26.9 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 226.1 | 0.12 | 10.8 | 1.2 | 50 | 0.4 | 225.8 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.3 | 0.12 | 10.3 | 1.33 | 50 | 0.38 | 226.1 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226 | 0 | 0 | 1.85 | 50 | 0 | 1.12 | 21.6 | 92 | 909 | 186.3
2026-09-12 01:03:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.9 | 56 | 28.8 | 56.4 | 28.9 | 56.4 | 1 | 0 | 30.1 | 25.4 | 28.7 | 24.7 | 30.5 | 29.9 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 58.1 | 29.5 | 58.2 | 29.4 | 58.3 | 1 | 1 | 24.4 | 25 | 24.2 | 24.7 | 26.9 | 27 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 225.9 | 0.12 | 11 | 1.2 | 49.9 | 0.41 | 225.6 | 0 | 0 | 0.29 | 49.9 | 0 | [12 empty] | 226 | 0.13 | 10.9 | 1.33 | 49.9 | 0.38 | 225.9 | 0 | 0 | 0.05 | 49.9 | 0 | [6 empty] | 225.8 | 0 | 0 | 1.85 | 50 | 0 | 0.01 | 21.6 | 91.9 | 909 | 349.1
2026-09-12 01:04:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.9 | 56 | 28.8 | 56.5 | 28.9 | 56.6 | 1 | 0 | 30.1 | 25.3 | 28.8 | 24.8 | 30.6 | 29.9 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.4 | 58.1 | 29.5 | 58.2 | 29.4 | 58.3 | 1 | 1 | 24.4 | 25.1 | 24.3 | 24.7 | 27.1 | 26.9 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 225.9 | 0.12 | 10.7 | 1.2 | 50 | 0.4 | 225.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.2 | 0.13 | 10.8 | 1.33 | 49.9 | 0.38 | 225.9 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.8 | 0 | 0.4 | 1.85 | 49.9 | 1 | 0.65 | 21.7 | 91.7 | 909 | 219.4
2026-09-12 01:05:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.9 | 56 | 28.8 | 56.4 | 28.8 | 56.6 | 1 | 0 | 30.1 | 25.4 | 28.8 | 24.7 | 30.5 | 29.9 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.1 | 29.4 | 58.2 | 29.4 | 58.2 | 1 | 1 | 24.4 | 25 | 24.2 | 24.8 | 26.9 | 27 | 27 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 226 | 0.12 | 11.2 | 1.2 | 50 | 0.41 | 225.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.2 | 0.13 | 10.7 | 1.33 | 50 | 0.38 | 226.1 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 226 | 0 | 0 | 1.85 | 50 | 0 | 0.01 | 21.7 | 91.8 | 909 | 4.7
2026-09-12 01:06:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.9 | 56.1 | 28.9 | 56.5 | 28.9 | 56.7 | 1 | 0 | 30.1 | 25.4 | 28.8 | 24.7 | 30.5 | 29.8 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.1 | 29.5 | 58.2 | 29.4 | 58.4 | 1 | 1 | 24.5 | 25 | 24.2 | 24.7 | 27 | 26.9 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 226 | 0.12 | 10.9 | 1.2 | 50 | 0.4 | 225.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.2 | 0.13 | 10.6 | 1.33 | 50 | 0.37 | 226 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.9 | 0 | 0.4 | 1.85 | 50 | 1 | 1.12 | 21.8 | 91.5 | 909 | 303.2
2026-09-12 01:07:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 29 | 56 | 28.8 | 56.5 | 28.8 | 56.6 | 1 | 0 | 30.2 | 25.3 | 28.9 | 24.7 | 30.5 | 29.8 | 29 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.1 | 29.5 | 58.1 | 29.3 | 58.3 | 1 | 1 | 24.4 | 25 | 24.2 | 24.7 | 26.9 | 26.9 | 26.9 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 226 | 0.12 | 10.9 | 1.2 | 50 | 0.41 | 225.7 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.1 | 0.12 | 10.1 | 1.33 | 50 | 0.37 | 226 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.9 | 0 | 0 | 1.85 | 50 | 0 | 2.13 | 21.8 | 91.5 | 909 | 287.4
2026-09-12 01:08:00 | 0 | 20 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.9 | 56 | 28.9 | 56.7 | 28.9 | 56.5 | 1 | 0 | 30.2 | 25.3 | 28.8 | 24.7 | 30.5 | 29.9 | 28.9 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.5 | 58.1 | 29.5 | 58.1 | 29.5 | 58.3 | 1 | 1 | 24.4 | 25 | 24.2 | 24.7 | 27.1 | 27 | 26.8 | 0 | 0.2 | 0.2 | 0.1 | 0.2 | 0.1 | 226.1 | 0.12 | 10.8 | 1.2 | 50 | 0.4 | 225.8 | 0 | 0 | 0.29 | 50 | 0 | [12 empty] | 226.2 | 0.12 | 10.8 | 1.33 | 50 | 0.39 | 226 | 0 | 0 | 0.05 | 50 | 0 | [6 empty] | 225.9 | 0 | 0 | 1.85 | 50 | 0 | 1.12 | 21.8 | 91.2 | 909 | 286.7

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-09-12 00:00:00 | To | 2026-09-12 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state | 0 | 0 | 0 | 69
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C | 20 | 20 | 20 | 69
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code | 1 | 1 | 1 | 69
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code | 0 | 0 | 0 | 69
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | %
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | %
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | %
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | %
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | %
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | %
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | %
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | %
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state
MB-L3-01 | L3-AI-01 | Analog Input 1 | V | 3.12 | 3.12 | 3.12 | 69
MB-L3-01 | L3-AI-02 | Analog Input 2 | V | 3.12 | 3.12 | 3.12 | 69
MB-L3-01 | L3-AI-03 | Analog Input 3 | V | 3.12 | 3.12 | 3.12 | 69
MB-L3-01 | L3-AI-04 | Analog Input 4 | V | 3.12 | 3.12 | 3.12 | 69
MB-L3-01 | L3-AI-05 | Analog Input 5 | V | 3.12 | 3.12 | 3.12 | 69
MB-L3-01 | L3-AI-06 | Analog Input 6 | V | 3.12 | 3.12 | 3.12 | 69
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C | 28.9 | 28.99 | 29.1 | 69
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH | 55.5 | 55.79 | 56.1 | 69
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C | 28.7 | 28.87 | 29 | 69
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH | 55.9 | 56.26 | 56.7 | 69
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C | 28.8 | 28.9 | 29 | 69
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH | 56 | 56.35 | 56.7 | 69
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m² | 0 | 0.97 | 1 | 69
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m² | 0 | 0.26 | 1 | 69
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C | 30.1 | 30.16 | 30.3 | 69
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C | 25.2 | 25.31 | 25.5 | 69
MB-L3-01 | L3-HFT-01 | Heat Flow Temperature 1 | °C | 28.7 | 28.84 | 29 | 69
MB-L3-01 | L3-HFT-02 | Heat Flow Temperature 2 | °C | 24.6 | 24.7 | 24.9 | 69
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C | 30.4 | 30.52 | 30.6 | 69
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C | 29.8 | 29.9 | 30 | 69
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C | 28.9 | 29.05 | 29.2 | 69
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux | 0.3 | 0.3 | 0.3 | 69
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux | 0.2 | 0.28 | 0.3 | 69
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux | 0.3 | 0.3 | 0.3 | 69
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux | 0.2 | 0.2 | 0.2 | 69
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux | 0.4 | 0.4 | 0.4 | 69
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux | 0.3 | 0.4 | 0.4 | 69
MB-L5-01 | L5-AI-01 | Analog Input 1 | V | 3.05 | 3.05 | 3.05 | 69
MB-L5-01 | L5-AI-02 | Analog Input 2 | V | 3.05 | 3.05 | 3.05 | 69
MB-L5-01 | L5-AI-03 | Analog Input 3 | V | 3.05 | 3.05 | 3.05 | 69
MB-L5-01 | L5-AI-04 | Analog Input 4 | V | 3.05 | 3.05 | 3.05 | 69
MB-L5-01 | L5-AI-05 | Analog Input 5 | V | 3.05 | 3.05 | 3.05 | 69
MB-L5-01 | L5-AI-06 | Analog Input 6 | V | 3.05 | 3.05 | 3.05 | 69
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C | 29.4 | 29.51 | 29.6 | 69
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH | 57.8 | 58.03 | 58.2 | 69
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C | 29.3 | 29.48 | 29.6 | 69
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH | 57.7 | 57.99 | 58.2 | 69
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C | 29.3 | 29.46 | 29.6 | 69
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH | 57.9 | 58.15 | 58.4 | 69
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m² | 1 | 1 | 1 | 69
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m² | 1 | 1 | 1 | 69
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C | 24.3 | 24.43 | 24.6 | 69
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C | 24.9 | 25.04 | 25.2 | 69
MB-L5-01 | L5-HFT-01 | Heat Flow Temperature 1 | °C | 24.1 | 24.29 | 24.5 | 69
MB-L5-01 | L5-HFT-02 | Heat Flow Temperature 2 | °C | 24.7 | 24.76 | 25 | 69
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C | 26.9 | 27.02 | 27.1 | 69
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C | 26.8 | 26.95 | 27.1 | 69
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C | 26.8 | 26.96 | 27.1 | 69
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux | 0 | 0 | 0 | 69
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux | 0.2 | 0.2 | 0.2 | 69
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux | 0.2 | 0.2 | 0.2 | 69
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux | 0.1 | 0.1 | 0.1 | 69
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux | 0.1 | 0.15 | 0.2 | 69
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux | 0.1 | 0.1 | 0.1 | 69
PWR-L3-01 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V | 225.5 | 225.81 | 226.3 | 69
PWR-L3-01 | PZEM-L3-01-CURR | PZEM L3-01 Current | A | 0.12 | 0.12 | 0.12 | 69
PWR-L3-01 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W | 10.7 | 10.9 | 11.2 | 69
PWR-L3-01 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh | 1.18 | 1.19 | 1.2 | 69
PWR-L3-01 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz | 49.9 | 49.97 | 50 | 69
PWR-L3-01 | PZEM-L3-01-PF | PZEM L3-01 Power Factor |  | 0.4 | 0.41 | 0.42 | 69
PWR-L3-02 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V | 225.1 | 225.52 | 226 | 69
PWR-L3-02 | PZEM-L3-02-CURR | PZEM L3-02 Current | A | 0 | 0 | 0 | 69
PWR-L3-02 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W | 0 | 0 | 0 | 69
PWR-L3-02 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh | 0.29 | 0.29 | 0.29 | 69
PWR-L3-02 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz | 49.9 | 49.97 | 50 | 69
PWR-L3-02 | PZEM-L3-02-PF | PZEM L3-02 Power Factor |  | 0 | 0 | 0 | 69
PWR-L3-03 | PZEM-L3-03-VOLT | PZEM L3-03 Voltage | V
PWR-L3-03 | PZEM-L3-03-CURR | PZEM L3-03 Current | A
PWR-L3-03 | PZEM-L3-03-POWER | PZEM L3-03 Active Power | W
PWR-L3-03 | PZEM-L3-03-ENERGY | PZEM L3-03 Energy | kWh
PWR-L3-03 | PZEM-L3-03-FREQ | PZEM L3-03 Frequency | Hz
PWR-L3-03 | PZEM-L3-03-PF | PZEM L3-03 Power Factor
PWR-L3-04 | PZEM-L3-04-VOLT | PZEM L3-04 Voltage | V
PWR-L3-04 | PZEM-L3-04-CURR | PZEM L3-04 Current | A
PWR-L3-04 | PZEM-L3-04-POWER | PZEM L3-04 Active Power | W
PWR-L3-04 | PZEM-L3-04-ENERGY | PZEM L3-04 Energy | kWh
PWR-L3-04 | PZEM-L3-04-FREQ | PZEM L3-04 Frequency | Hz
PWR-L3-04 | PZEM-L3-04-PF | PZEM L3-04 Power Factor
PWR-L5-01 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V | 225.6 | 225.97 | 226.4 | 69
PWR-L5-01 | PZEM-L5-01-CURR | PZEM L5-01 Current | A | 0.12 | 0.12 | 0.13 | 69
PWR-L5-01 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W | 10.1 | 10.68 | 11.1 | 69
PWR-L5-01 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh | 1.32 | 1.32 | 1.33 | 69
PWR-L5-01 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz | 49.9 | 49.97 | 50 | 69
PWR-L5-01 | PZEM-L5-01-PF | PZEM L5-01 Power Factor |  | 0.37 | 0.39 | 0.4 | 69
PWR-L5-02 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V | 225.4 | 225.78 | 226.2 | 69
PWR-L5-02 | PZEM-L5-02-CURR | PZEM L5-02 Current | A | 0 | 0 | 0 | 69
PWR-L5-02 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W | 0 | 0 | 0 | 69
PWR-L5-02 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh | 0.05 | 0.05 | 0.05 | 69
PWR-L5-02 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz | 49.9 | 49.97 | 50 | 69
PWR-L5-02 | PZEM-L5-02-PF | PZEM L5-02 Power Factor |  | 0 | 0 | 0 | 69
PWR-L5-03 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
PWR-L5-03 | PZEM-L5-03-CURR | PZEM L5-03 Current | A
PWR-L5-03 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W
PWR-L5-03 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh
PWR-L5-03 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz
PWR-L5-03 | PZEM-L5-03-PF | PZEM L5-03 Power Factor
PWR-L5-04 | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V | 225.3 | 225.7 | 226.2 | 69
PWR-L5-04 | PZEM-L5-04-CURR | PZEM L5-04 Current | A | 0 | 0 | 0 | 69
PWR-L5-04 | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W | 0 | 0.1 | 0.4 | 69
PWR-L5-04 | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh | 1.85 | 1.85 | 1.85 | 69
PWR-L5-04 | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz | 49.9 | 49.97 | 50 | 69
PWR-L5-04 | PZEM-L5-04-PF | PZEM L5-04 Power Factor |  | 0 | 0.26 | 1 | 69
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 0.01 | 1.92 | 4.86 | 69
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 21.6 | 21.86 | 22.2 | 69
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 90.1 | 91.28 | 92.3 | 69
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 909 | 909.64 | 910 | 69
WS-MOD-01 | WS-DIR | Arah Angin | ° | 4.7 | 236.91 | 349.1 | 69

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.