## Data
Timestamp | AC-REMOTE-01 · AC-POWER - AC Power State [state] | AC-REMOTE-01 · AC-SETPOINT - AC Set Temperature [°C] | AC-REMOTE-01 · AC-MODE - AC Operating Mode [code] | AC-REMOTE-01 · AC-FAN - AC Fan Speed [code] | ACT-MOD-01 · ENC-01 - Rotary Encoder 1 [%] | ACT-MOD-01 · ENC-02 - Rotary Encoder 2 [%] | ACT-MOD-01 · ENC-03 - Rotary Encoder 3 [%] | ACT-MOD-01 · ENC-04 - Rotary Encoder 4 [%] | ACT-MOD-01 · ENC-05 - Rotary Encoder 5 [%] | ACT-MOD-01 · ENC-06 - Rotary Encoder 6 [%] | ACT-MOD-01 · ENC-07 - Rotary Encoder 7 [%] | ACT-MOD-01 · ENC-08 - Rotary Encoder 8 [%] | ACT-MOD-01 · MOTOR-01 - Motor Status 1 [state] | ACT-MOD-01 · MOTOR-02 - Motor Status 2 [state] | ACT-MOD-01 · MOTOR-03 - Motor Status 3 [state] | ACT-MOD-01 · MOTOR-04 - Motor Status 4 [state] | ACT-MOD-01 · MOTOR-05 - Motor Status 5 [state] | ACT-MOD-01 · MOTOR-06 - Motor Status 6 [state] | ACT-MOD-01 · MOTOR-07 - Motor Status 7 [state] | ACT-MOD-01 · MOTOR-08 - Motor Status 8 [state] | MB-L3-01 · L3-AI-01 - Analog Input 1 [V] | MB-L3-01 · L3-AI-02 - Analog Input 2 [V] | MB-L3-01 · L3-AI-03 - Analog Input 3 [V] | MB-L3-01 · L3-AI-04 - Analog Input 4 [V] | MB-L3-01 · L3-AI-05 - Analog Input 5 [V] | MB-L3-01 · L3-AI-06 - Analog Input 6 [V] | MB-L3-01 · L3-SHT-01-T - SHT20 1 Temperature [°C] | MB-L3-01 · L3-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L3-01 · L3-SHT-02-T - SHT20 2 Temperature [°C] | MB-L3-01 · L3-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L3-01 · L3-SHT-03-T - SHT20 3 Temperature [°C] | MB-L3-01 · L3-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L3-01 · L3-RAD-01 - Radiation 1 [W/m²] | MB-L3-01 · L3-RAD-02 - Radiation 2 [W/m²] | MB-L3-01 · L3-ST-01 - Surface Temperature 1 [°C] | MB-L3-01 · L3-ST-02 - Surface Temperature 2 [°C] | MB-L3-01 · L3-HFT-01 - Heat Flow 1 [W/m²] | MB-L3-01 · L3-HFT-02 - Heat Flow 2 [W/m²] | MB-L3-01 · L3-BGT-01 - Black Globe Temperature 1 [°C] | MB-L3-01 · L3-BGT-02 - Black Globe Temperature 2 [°C] | MB-L3-01 · L3-BGT-03 - Black Globe Temperature 3 [°C] | MB-L3-01 · L3-LUX-01 - Illuminance / LUX 1 [lux] | MB-L3-01 · L3-LUX-02 - Illuminance / LUX 2 [lux] | MB-L3-01 · L3-LUX-03 - Illuminance / LUX 3 [lux] | MB-L3-01 · L3-LUX-04 - Illuminance / LUX 4 [lux] | MB-L3-01 · L3-LUX-05 - Illuminance / LUX 5 [lux] | MB-L3-01 · L3-LUX-06 - Illuminance / LUX 6 [lux] | MB-L5-01 · L5-AI-01 - Analog Input 1 [V] | MB-L5-01 · L5-AI-02 - Analog Input 2 [V] | MB-L5-01 · L5-AI-03 - Analog Input 3 [V] | MB-L5-01 · L5-AI-04 - Analog Input 4 [V] | MB-L5-01 · L5-AI-05 - Analog Input 5 [V] | MB-L5-01 · L5-AI-06 - Analog Input 6 [V] | MB-L5-01 · L5-SHT-01-T - SHT20 1 Temperature [°C] | MB-L5-01 · L5-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L5-01 · L5-SHT-02-T - SHT20 2 Temperature [°C] | MB-L5-01 · L5-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L5-01 · L5-SHT-03-T - SHT20 3 Temperature [°C] | MB-L5-01 · L5-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L5-01 · L5-RAD-01 - Radiation 1 [W/m²] | MB-L5-01 · L5-RAD-02 - Radiation 2 [W/m²] | MB-L5-01 · L5-ST-01 - Surface Temperature 1 [°C] | MB-L5-01 · L5-ST-02 - Surface Temperature 2 [°C] | MB-L5-01 · L5-HFT-01 - Heat Flow 1 [W/m²] | MB-L5-01 · L5-HFT-02 - Heat Flow 2 [W/m²] | MB-L5-01 · L5-BGT-01 - Black Globe Temperature 1 [°C] | MB-L5-01 · L5-BGT-02 - Black Globe Temperature 2 [°C] | MB-L5-01 · L5-BGT-03 - Black Globe Temperature 3 [°C] | MB-L5-01 · L5-LUX-01 - Illuminance / LUX 1 [lux] | MB-L5-01 · L5-LUX-02 - Illuminance / LUX 2 [lux] | MB-L5-01 · L5-LUX-03 - Illuminance / LUX 3 [lux] | MB-L5-01 · L5-LUX-04 - Illuminance / LUX 4 [lux] | MB-L5-01 · L5-LUX-05 - Illuminance / LUX 5 [lux] | MB-L5-01 · L5-LUX-06 - Illuminance / LUX 6 [lux] | Sensor Mainboard L3 · PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | Sensor Mainboard L3 · PZEM-L3-01-CURR - PZEM L3-01 Current [A] | Sensor Mainboard L3 · PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | Sensor Mainboard L3 · PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | Sensor Mainboard L3 · PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | Sensor Mainboard L3 · PZEM-L3-01-PF - PZEM L3-01 Power Factor | Sensor Lampu L3 · PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | Sensor Lampu L3 · PZEM-L3-02-CURR - PZEM L3-02 Current [A] | Sensor Lampu L3 · PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | Sensor Lampu L3 · PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | Sensor Lampu L3 · PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | Sensor Lampu L3 · PZEM-L3-02-PF - PZEM L3-02 Power Factor | Sensor Mainboard L5 · PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | Sensor Mainboard L5 · PZEM-L5-01-CURR - PZEM L5-01 Current [A] | Sensor Mainboard L5 · PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | Sensor Mainboard L5 · PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | Sensor Mainboard L5 · PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | Sensor Mainboard L5 · PZEM-L5-01-PF - PZEM L5-01 Power Factor | Sensor Lampu L5 · PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | Sensor Lampu L5 · PZEM-L5-02-CURR - PZEM L5-02 Current [A] | Sensor Lampu L5 · PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | Sensor Lampu L5 · PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | Sensor Lampu L5 · PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | Sensor Lampu L5 · PZEM-L5-02-PF - PZEM L5-02 Power Factor | Sensor Actuator L5 · PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | Sensor Actuator L5 · PZEM-L5-03-CURR - PZEM L5-03 Current [A] | Sensor Actuator L5 · PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | Sensor Actuator L5 · PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | Sensor Actuator L5 · PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | Sensor Actuator L5 · PZEM-L5-03-PF - PZEM L5-03 Power Factor | Sensor Pendingin Ruangan · PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | Sensor Pendingin Ruangan · PZEM-L5-04-CURR - PZEM L5-04 Current [A] | Sensor Pendingin Ruangan · PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | Sensor Pendingin Ruangan · PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | Sensor Pendingin Ruangan · PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | Sensor Pendingin Ruangan · PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-MOD-01 · WS-WIND - Kecepatan Angin [m/s] | WS-MOD-01 · WS-TEMP - Suhu Udara [°C] | WS-MOD-01 · WS-RH - Kelembapan Udara [%RH] | WS-MOD-01 · WS-PRES - Tekanan Udara [hPa] | WS-MOD-01 · WS-DIR - Arah Angin [°]
2026-10-06 00:00:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.7 | 0.1 | 9 | 6.84 | 50 | 0.4 | 226.6 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.5 | 0 | 0 | 4.98 | 50 | 0 | 2.61 | 21.7 | 95.4 | 911 | 96.6
2026-10-06 00:01:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.8 | 0.11 | 9.7 | 6.84 | 50 | 0.41 | 226.6 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.5 | 0 | 0 | 4.98 | 50 | 0 | 2.61 | 21.7 | 95.4 | 911 | 102.9
2026-10-06 00:02:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.7 | 0.1 | 9.7 | 6.84 | 50 | 0.41 | 226.5 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.4 | 0 | 0 | 4.98 | 50 | 0 | 2.61 | 21.7 | 95.5 | 910 | 93.2
2026-10-06 00:03:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.6 | 0.1 | 9.3 | 6.84 | 49.9 | 0.41 | 226.5 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.3 | 0 | 0 | 4.98 | 49.9 | 0 | 2.37 | 21.7 | 95.6 | 910 | 114.2
2026-10-06 00:04:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.8 | 0.1 | 9.3 | 6.84 | 50 | 0.41 | 226.7 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.5 | 0 | 0 | 4.98 | 50 | 0 | 2.86 | 21.6 | 95.6 | 910 | 99.1
2026-10-06 00:05:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 227 | 0.11 | 9.8 | 6.84 | 50 | 0.41 | 226.9 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.7 | 0 | 0 | 4.98 | 50 | 0 | 3.11 | 21.7 | 95.7 | 910 | 96.6
2026-10-06 00:06:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 227 | 0.11 | 9.7 | 6.84 | 50 | 0.41 | 226.9 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.7 | 0 | 0 | 4.98 | 50 | 0 | 2.12 | 21.6 | 95.8 | 910 | 96.4
2026-10-06 00:07:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.7 | 0.11 | 9.8 | 6.84 | 49.9 | 0.41 | 226.5 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.4 | 0 | 0 | 4.98 | 49.9 | 0 | 2.62 | 21.6 | 95.8 | 910 | 102.4
2026-10-06 00:08:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.8 | 0.1 | 9.4 | 6.85 | 49.9 | 0.41 | 226.7 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.5 | 0 | 0 | 4.98 | 49.9 | 0 | 3.58 | 21.6 | 95.8 | 910 | 93.7
2026-10-06 00:09:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.8 | 0.1 | 9.5 | 6.85 | 50 | 0.41 | 226.6 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.5 | 0 | 0 | 4.98 | 50 | 0 | 0.63 | 21.6 | 95.9 | 910 | 85.7
2026-10-06 00:10:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.8 | 0.1 | 9.6 | 6.85 | 50 | 0.41 | 226.7 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.5 | 0 | 0 | 4.98 | 50 | 0 | 0.38 | 21.7 | 95.9 | 910 | 354.6
2026-10-06 00:11:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.9 | 0.1 | 9.7 | 6.85 | 50 | 0.41 | 226.8 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.6 | 0 | 0 | 4.98 | 50 | 0 | 0.87 | 21.7 | 95.7 | 910 | 100.2
2026-10-06 00:12:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.8 | 0.1 | 9.6 | 6.85 | 50 | 0.41 | 226.7 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.5 | 0 | 0 | 4.98 | 50 | 0 | 1.37 | 21.7 | 95.7 | 910 | 86.3
2026-10-06 00:13:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.9 | 0.1 | 9.7 | 6.85 | 50 | 0.41 | 226.9 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.7 | 0 | 0 | 4.98 | 50 | 0 | 0.39 | 21.7 | 95.7 | 910 | 118
2026-10-06 00:14:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 227.1 | 0.1 | 9.6 | 6.85 | 50 | 0.41 | 226.8 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.7 | 0 | 0 | 4.98 | 50 | 0 | 0.02 | 21.7 | 95.6 | 910 | 262.9
2026-10-06 00:15:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.9 | 0.1 | 9.6 | 6.85 | 49.9 | 0.42 | 226.7 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.6 | 0 | 0 | 4.98 | 49.9 | 0 | 0.01 | 21.8 | 95.6 | 910 | 102.2
2026-10-06 00:16:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.9 | 0.1 | 9 | 6.85 | 49.9 | 0.41 | 226.7 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.6 | 0 | 0 | 4.98 | 49.9 | 0 | 1.13 | 21.8 | 95.5 | 910 | 81.4
2026-10-06 00:17:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.9 | 0.1 | 9.6 | 6.85 | 50 | 0.42 | 226.8 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.7 | 0 | 0 | 4.98 | 50 | 0 | 0.4 | 21.7 | 95.4 | 910 | 148.6
2026-10-06 00:18:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.8 | 0.1 | 9.3 | 6.85 | 50 | 0.42 | 226.7 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.6 | 0 | 0 | 4.98 | 49.9 | 0 | 0.02 | 21.8 | 95.4 | 910 | 204.2
2026-10-06 00:19:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.8 | 0.1 | 9.3 | 6.85 | 50 | 0.41 | 226.7 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.5 | 0 | 0 | 4.98 | 50 | 0 | 0.65 | 21.8 | 95.4 | 910 | 247
2026-10-06 00:20:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.9 | 0.1 | 9.7 | 6.85 | 50 | 0.41 | 226.8 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.7 | 0 | 0 | 4.98 | 50 | 0 | 0.87 | 21.8 | 95.1 | 910 | 204.2
2026-10-06 00:21:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.7 | 0.1 | 9.5 | 6.85 | 49.9 | 0.41 | 226.6 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.4 | 0 | 0 | 4.98 | 49.9 | 0 | 0.16 | 21.9 | 94.9 | 910 | 200.8
2026-10-06 00:22:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.6 | 0.1 | 9.4 | 6.85 | 49.9 | 0.41 | 226.5 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.4 | 0 | 0 | 4.98 | 49.9 | 0 | 0.02 | 21.9 | 94.8 | 910 | 159.9
2026-10-06 00:23:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.9 | 0.1 | 9 | 6.85 | 49.9 | 0.4 | 226.7 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.6 | 0 | 0 | 4.98 | 49.9 | 0 | 0.64 | 21.9 | 94.6 | 910 | 216.3
2026-10-06 00:24:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.6 | 0.1 | 9.1 | 6.85 | 49.9 | 0.41 | 226.5 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.4 | 0 | 0 | 4.98 | 49.9 | 0 | 0.39 | 22 | 94.6 | 910 | 306.3
2026-10-06 00:25:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.9 | 0.1 | 8.9 | 6.85 | 49.9 | 0.4 | 226.9 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.8 | 0 | 0 | 4.98 | 49.9 | 0 | 0.4 | 22 | 94.4 | 910 | 262.6
2026-10-06 00:26:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.8 | 0.1 | 9.1 | 6.85 | 49.9 | 0.41 | 226.6 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.5 | 0 | 0 | 4.98 | 49.9 | 0 | 0.64 | 22 | 94.2 | 910 | 354.5
2026-10-06 00:27:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 226.9 | 0.1 | 9.1 | 6.85 | 50 | 0.41 | 226.8 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.6 | 0 | 0 | 4.98 | 49.9 | 0 | 0.88 | 21.9 | 94 | 910 | 309
2026-10-06 00:28:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 227.3 | 0.1 | 9.5 | 6.85 | 50 | 0.41 | 227.2 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 227 | 0 | 0 | 4.98 | 50 | 0 | 0.01 | 22 | 94.1 | 910 | 10.5
2026-10-06 00:29:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 227.2 | 0.1 | 9 | 6.85 | 49.9 | 0.4 | 227 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 226.9 | 0 | 0 | 4.98 | 49.9 | 0 | 0.15 | 22 | 93.8 | 910 | 298
2026-10-06 00:30:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 227.6 | 0.1 | 9.2 | 6.85 | 49.9 | 0.41 | 227.4 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 227.4 | 0 | 0 | 4.98 | 49.9 | 0 | 0.64 | 22 | 93.6 | 910 | 295
2026-10-06 00:31:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 227.7 | 0.1 | 9.1 | 6.85 | 50 | 0.41 | 227.6 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 227.5 | 0 | 0 | 4.98 | 50 | 0 | 0.64 | 21.9 | 93.5 | 910 | 305.4
2026-10-06 00:32:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.3 | 0.1 | 9.6 | 6.85 | 49.9 | 0.42 | 224.2 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.1 | 0 | 0 | 4.98 | 49.9 | 0 | 0.9 | 21.9 | 93.6 | 910 | 313.8
2026-10-06 00:33:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.4 | 0.1 | 9.1 | 6.85 | 50 | 0.42 | 224.3 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.2 | 0 | 0 | 4.98 | 49.9 | 0 | 0.02 | 22 | 93.6 | 910 | 303.5
2026-10-06 00:34:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.5 | 0.1 | 9.4 | 6.85 | 50 | 0.41 | 224.4 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.2 | 0 | 0 | 4.98 | 50 | 0 | 0.03 | 22 | 93.7 | 910 | 332.8
2026-10-06 00:35:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.5 | 0.1 | 8.9 | 6.85 | 49.9 | 0.42 | 224.4 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.3 | 0 | 0 | 4.98 | 50 | 0 | 0.02 | 22.1 | 93.5 | 910 | 193.7
2026-10-06 00:36:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.4 | 0.1 | 9.6 | 6.85 | 49.9 | 0.42 | 224.3 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.1 | 0 | 0 | 4.98 | 49.9 | 0 | 1.37 | 22.1 | 93.5 | 910 | 301
2026-10-06 00:37:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.6 | 0.1 | 8.9 | 6.85 | 49.9 | 0.41 | 224.5 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.3 | 0 | 0 | 4.98 | 49.9 | 0 | 1.14 | 21.9 | 93.3 | 910 | 343
2026-10-06 00:38:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.4 | 0.1 | 9 | 6.85 | 49.9 | 0.42 | 224.3 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.1 | 0 | 0 | 4.98 | 49.9 | 0 | 2.36 | 21.9 | 93.4 | 910 | 17
2026-10-06 00:39:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.7 | 0.1 | 9.2 | 6.85 | 50 | 0.42 | 224.5 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.4 | 0 | 0 | 4.98 | 50 | 0 | 3.1 | 21.8 | 93.5 | 910 | 336
2026-10-06 00:40:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.4 | 0.1 | 9.5 | 6.85 | 49.9 | 0.42 | 224.4 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.1 | 0 | 0 | 4.98 | 49.9 | 0 | 3.85 | 21.7 | 93.4 | 910 | 313.3
2026-10-06 00:41:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.5 | 0.1 | 9.6 | 6.85 | 49.9 | 0.42 | 224.3 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.2 | 0 | 0 | 4.98 | 49.9 | 0 | 2.36 | 21.7 | 93.4 | 910 | 313.5
2026-10-06 00:42:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.7 | 0.1 | 9.4 | 6.85 | 49.9 | 0.42 | 224.6 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.4 | 0 | 0 | 4.98 | 50 | 0 | 3.34 | 21.8 | 93.9 | 910 | 266.5
2026-10-06 00:43:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.6 | 0.1 | 9.6 | 6.85 | 49.9 | 0.43 | 224.5 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.4 | 0 | 0 | 4.98 | 50 | 0 | 2.6 | 21.7 | 93.9 | 910 | 307.5
2026-10-06 00:44:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.7 | 0.1 | 8.9 | 6.85 | 50 | 0.42 | 224.5 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.4 | 0 | 0 | 4.98 | 50 | 0 | 2.61 | 21.6 | 94.1 | 910 | 271.9
2026-10-06 00:45:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.5 | 0.1 | 9.3 | 6.85 | 49.9 | 0.42 | 224.4 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.3 | 0 | 0 | 4.98 | 49.9 | 0 | 1.61 | 21.7 | 94.5 | 910 | 256.6
2026-10-06 00:46:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.5 | 0.1 | 9.1 | 6.85 | 49.9 | 0.42 | 224.4 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.2 | 0 | 0 | 4.98 | 49.9 | 0 | 1.87 | 21.7 | 94.7 | 910 | 292.6
2026-10-06 00:47:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.5 | 0.1 | 8.9 | 6.85 | 50 | 0.41 | 224.4 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.3 | 0 | 0 | 4.98 | 49.9 | 0 | 1.38 | 21.6 | 94.9 | 910 | 329.3
2026-10-06 00:48:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.8 | 0.1 | 9.6 | 6.85 | 50 | 0.42 | 224.7 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.6 | 0 | 0 | 4.98 | 50 | 0 | 0.63 | 21.6 | 95.2 | 910 | 32
2026-10-06 00:49:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.6 | 0.1 | 8.9 | 6.85 | 49.9 | 0.42 | 224.5 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.3 | 0 | 0 | 4.98 | 49.9 | 0 | 1.63 | 21.6 | 95.4 | 910 | 310
2026-10-06 00:50:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.6 | 0.1 | 9.6 | 6.85 | 49.9 | 0.43 | 224.5 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.3 | 0 | 0 | 4.98 | 49.9 | 0 | 1.89 | 21.5 | 95.2 | 910 | 301.8
2026-10-06 00:51:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.5 | 0.1 | 9.6 | 6.85 | 49.9 | 0.43 | 224.4 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.3 | 0 | 0 | 4.98 | 50 | 0 | 1.37 | 21.5 | 95.4 | 910 | 309.6
2026-10-06 00:52:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.6 | 0.1 | 9.4 | 6.85 | 49.9 | 0.42 | 224.5 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.4 | 0 | 0 | 4.98 | 49.9 | 0 | 1.86 | 21.5 | 95.4 | 910 | 331.5
2026-10-06 00:53:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.6 | 0.1 | 9.5 | 6.85 | 50 | 0.42 | 224.4 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.3 | 0 | 0 | 4.98 | 49.9 | 0 | 0.89 | 21.4 | 95.3 | 910 | 298.7
2026-10-06 00:54:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.7 | 0.1 | 9.2 | 6.85 | 50 | 0.42 | 224.6 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.5 | 0 | 0 | 4.98 | 50 | 0 | 1.61 | 21.4 | 95.4 | 910 | 299
2026-10-06 00:55:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.6 | 0.1 | 9.4 | 6.85 | 50 | 0.42 | 224.6 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.4 | 0 | 0 | 4.98 | 50 | 0 | 0.88 | 21.4 | 95.4 | 910 | 304.3
2026-10-06 00:56:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.8 | 0.1 | 8.8 | 6.85 | 50 | 0.41 | 224.6 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.5 | 0 | 0 | 4.98 | 50 | 0 | 0.02 | 21.4 | 95.5 | 910 | 307.2
2026-10-06 00:57:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.8 | 0.1 | 9.3 | 6.85 | 49.9 | 0.42 | 224.6 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.5 | 0 | 0 | 4.98 | 50 | 0 | 2.37 | 21.4 | 95.6 | 910 | 323.4
2026-10-06 00:58:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.7 | 0.1 | 9.5 | 6.85 | 50 | 0.42 | 224.7 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.5 | 0 | 0 | 4.98 | 49.9 | 0 | 1.36 | 21.4 | 95.7 | 910 | 319.4
2026-10-06 00:59:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.1 | 0.1 | 9.5 | 6.85 | 50 | 0.42 | 225 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.9 | 0 | 0 | 4.98 | 50 | 0 | 2.62 | 21.3 | 95.6 | 910 | 282
2026-10-06 01:00:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225 | 0.1 | 9.6 | 6.85 | 50 | 0.42 | 224.8 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.7 | 0 | 0 | 4.98 | 50 | 0 | 4.34 | 21.3 | 95.6 | 910 | 306.3
2026-10-06 01:01:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.8 | 0.1 | 9.1 | 6.85 | 49.9 | 0.42 | 224.6 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.5 | 0 | 0 | 4.98 | 49.9 | 0 | 3.34 | 21.3 | 95.6 | 910 | 318.9
2026-10-06 01:02:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.9 | 0.1 | 9 | 6.85 | 49.9 | 0.41 | 224.8 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.6 | 0 | 0 | 4.98 | 50 | 0 | 3.35 | 21.3 | 95.8 | 910 | 253.7
2026-10-06 01:03:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.1 | 0.1 | 9.6 | 6.85 | 50 | 0.41 | 225 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.7 | 0 | 0 | 4.98 | 50 | 0 | 3.11 | 21.4 | 96 | 910 | 303.7
2026-10-06 01:04:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.1 | 0.1 | 9.1 | 6.85 | 50 | 0.41 | 225 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.9 | 0 | 0 | 4.98 | 50 | 0 | 2.86 | 21.4 | 96.1 | 910 | 326.8
2026-10-06 01:05:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 224.8 | 0.1 | 8.9 | 6.85 | 49.9 | 0.41 | 224.7 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.5 | 0 | 0 | 4.98 | 49.9 | 0 | 3.34 | 21.3 | 95.9 | 910 | 307.6
2026-10-06 01:06:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225 | 0.1 | 9 | 6.85 | 49.9 | 0.41 | 224.9 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.7 | 0 | 0 | 4.98 | 50 | 0 | 4.1 | 21.3 | 96.2 | 910 | 297.8
2026-10-06 01:07:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.1 | 0.1 | 8.9 | 6.85 | 50 | 0.41 | 225 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.8 | 0 | 0 | 4.98 | 50 | 0 | 2.62 | 21.3 | 96.3 | 910 | 292
2026-10-06 01:08:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.1 | 0.1 | 9 | 6.85 | 50 | 0.41 | 225 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.8 | 0 | 0 | 4.98 | 50 | 0 | 3.35 | 21.3 | 96.3 | 910 | 294.5
2026-10-06 01:09:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225 | 0.1 | 9.4 | 6.85 | 49.9 | 0.42 | 224.9 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.7 | 0 | 0 | 4.98 | 49.9 | 0 | 1.89 | 21.4 | 96.4 | 910 | 297.9
2026-10-06 01:10:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225 | 0.1 | 9.6 | 6.85 | 49.9 | 0.43 | 224.9 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.7 | 0 | 0 | 4.98 | 50 | 0 | 2.86 | 21.3 | 96.2 | 910 | 275.4
2026-10-06 01:11:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.1 | 0.1 | 9.6 | 6.85 | 50 | 0.42 | 225.2 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225 | 0 | 0 | 4.98 | 50 | 0 | 2.85 | 21.3 | 96.3 | 910 | 296
2026-10-06 01:12:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.2 | 0.1 | 9.6 | 6.86 | 50 | 0.42 | 225.1 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225 | 0 | 0 | 4.98 | 50 | 0 | 2.86 | 21.3 | 96.2 | 910 | 245.3
2026-10-06 01:13:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.1 | 0.1 | 9 | 6.86 | 49.9 | 0.41 | 225 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.8 | 0 | 0 | 4.98 | 49.9 | 0 | 3.1 | 21.3 | 96.2 | 910 | 301.2
2026-10-06 01:14:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.1 | 0.1 | 9.5 | 6.86 | 49.9 | 0.42 | 225 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.8 | 0 | 0 | 4.98 | 49.9 | 0 | 1.62 | 21.3 | 96.2 | 910 | 245.2
2026-10-06 01:15:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.5 | 0.1 | 9.5 | 6.86 | 50 | 0.42 | 225.4 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225.2 | 0 | 0 | 4.98 | 50 | 0 | 1.6 | 21.3 | 96.3 | 910 | 263.2
2026-10-06 01:16:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.3 | 0.1 | 9.6 | 6.86 | 50 | 0.41 | 225.2 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225.1 | 0 | 0 | 4.98 | 50 | 0 | 0.01 | 21.4 | 96.4 | 910 | 211.1
2026-10-06 01:17:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.2 | 0.1 | 9.6 | 6.86 | 49.9 | 0.42 | 225.2 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225 | 0 | 0 | 4.98 | 49.9 | 0 | 0.39 | 21.4 | 96.4 | 910 | 299.9
2026-10-06 01:18:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.3 | 0.1 | 9 | 6.86 | 49.9 | 0.42 | 225.2 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225 | 0 | 0 | 4.98 | 50 | 0 | 0.88 | 21.4 | 96.4 | 910 | 310.6
2026-10-06 01:19:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.4 | 0.1 | 9.7 | 6.86 | 50 | 0.43 | 225.4 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225.2 | 0 | 0 | 4.98 | 50 | 0 | 0.88 | 21.3 | 96.4 | 910 | 287.4
2026-10-06 01:20:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.2 | 0.1 | 9.1 | 6.86 | 50 | 0.41 | 225.1 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.9 | 0 | 0 | 4.98 | 49.9 | 0 | 0.89 | 21.4 | 96.5 | 910 | 305.2
2026-10-06 01:21:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.2 | 0.1 | 9.5 | 6.86 | 49.9 | 0.41 | 225.1 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 224.9 | 0 | 0 | 4.98 | 49.9 | 0 | 1.61 | 21.4 | 96.6 | 910 | 236.8
2026-10-06 01:22:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.2 | 0.1 | 9 | 6.86 | 49.9 | 0.41 | 225 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225 | 0 | 0 | 4.98 | 49.9 | 0 | 1.12 | 21.4 | 96.5 | 910 | 280.8
2026-10-06 01:23:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.5 | 0.1 | 9.2 | 6.86 | 50 | 0.42 | 225.4 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225.2 | 0 | 0 | 4.98 | 50 | 0 | 0.89 | 21.4 | 96.4 | 910 | 277.8
2026-10-06 01:24:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.5 | 0.1 | 9.6 | 6.86 | 50 | 0.42 | 225.4 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225.2 | 0 | 0 | 4.98 | 50 | 0 | 1.11 | 21.5 | 96.4 | 910 | 256.2
2026-10-06 01:25:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.4 | 0.1 | 8.8 | 6.86 | 50 | 0.41 | 225.3 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225.2 | 0 | 0 | 4.98 | 50 | 0 | 0.15 | 21.4 | 96.3 | 910 | 235.7
2026-10-06 01:26:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.3 | 0.1 | 9.5 | 6.86 | 49.9 | 0.43 | 225.1 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225.1 | 0 | 0 | 4.98 | 49.9 | 0 | 1.37 | 21.5 | 96.3 | 910 | 276.7
2026-10-06 01:27:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.5 | 0.1 | 9.2 | 6.86 | 50 | 0.42 | 225.3 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225.2 | 0 | 0 | 4.98 | 50 | 0 | 1.12 | 21.5 | 96.3 | 910 | 231.1
2026-10-06 01:28:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.6 | 0.1 | 9.6 | 6.86 | 50 | 0.43 | 225.6 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225.4 | 0 | 0 | 4.98 | 50 | 0 | 0.39 | 21.5 | 96.3 | 910 | 272.9
2026-10-06 01:29:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.5 | 0.1 | 9.5 | 6.86 | 50 | 0.42 | 225.3 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225.2 | 0 | 0 | 4.98 | 50 | 0 | 1.87 | 21.4 | 96.1 | 910 | 243.9
2026-10-06 01:30:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.3 | 0.1 | 9 | 6.86 | 49.9 | 0.41 | 225.2 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225 | 0 | 0 | 4.98 | 49.9 | 0 | 1.86 | 21.4 | 96.2 | 910 | 196.1
2026-10-06 01:31:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.5 | 0.1 | 9.8 | 6.86 | 50 | 0.43 | 225.5 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225.3 | 0 | 0 | 4.98 | 50 | 0 | 2.87 | 21.4 | 96.2 | 910 | 205.9
2026-10-06 01:32:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.7 | 0.1 | 9.8 | 6.86 | 50 | 0.42 | 225.6 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225.5 | 0 | 0 | 4.98 | 50 | 0 | 1.37 | 21.4 | 96.2 | 910 | 233.7
2026-10-06 01:33:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.6 | 0.1 | 9.1 | 6.86 | 50 | 0.42 | 225.6 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225.4 | 0 | 0 | 4.98 | 50 | 0 | 2.63 | 21.4 | 96.2 | 910 | 229.9
2026-10-06 01:34:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.5 | 0.1 | 9.1 | 6.86 | 49.9 | 0.41 | 225.4 | 0 | 0 | 9.69 | 49.9 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225.3 | 0 | 0 | 4.98 | 49.9 | 0 | 1.62 | 21.4 | 96.1 | 910 | 224.9
2026-10-06 01:35:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.7 | 0.1 | 9.6 | 6.86 | 50 | 0.41 | 225.5 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225.4 | 0 | 0 | 4.98 | 50 | 0 | 1.87 | 21.4 | 96 | 910 | 231.4
2026-10-06 01:36:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.7 | 0.1 | 9.3 | 6.86 | 50 | 0.42 | 225.7 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225.6 | 0 | 0 | 4.98 | 50 | 0 | 0.01 | 21.4 | 96.1 | 910 | 289.7
2026-10-06 01:37:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.8 | 0.1 | 9.6 | 6.86 | 50 | 0.42 | 225.6 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225.5 | 0 | 0 | 4.98 | 50 | 0 | 0.87 | 21.5 | 96.2 | 910 | 259.9
2026-10-06 01:38:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [66 empty] | 225.5 | 0.1 | 9.6 | 6.86 | 49.9 | 0.42 | 225.4 | 0 | 0 | 9.69 | 50 | 0 |  | 0.07 | 7.6 | 3.57 | 50 | 0.5 | 225.3 | 0 | 0 | 4.98 | 49.9 | 0 | 1.37 | 21.5 | 96.2 | 910 | 241.6

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-10-06 00:00:00 | To | 2026-10-06 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state | 1 | 1 | 1 | 99
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C | 26 | 26 | 26 | 99
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code | 1 | 1 | 1 | 99
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code | 0 | 0 | 0 | 99
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | % | 89 | 89 | 89 | 99
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | % | 89 | 89 | 89 | 99
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | % | 90 | 90 | 90 | 99
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | % | 89.5 | 89.5 | 89.5 | 99
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | % | 89 | 89 | 89 | 99
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | % | 89.5 | 89.5 | 89.5 | 99
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | % | 89 | 89 | 89 | 99
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | % | 90 | 90 | 90 | 99
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state | 0 | 0 | 0 | 99
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state | 0 | 0 | 0 | 99
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state | 0 | 0 | 0 | 99
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state | 0 | 0 | 0 | 99
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state | 0 | 0 | 0 | 99
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state | 0 | 0 | 0 | 99
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state | 0 | 0 | 0 | 99
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state | 0 | 0 | 0 | 99
MB-L3-01 | L3-AI-01 | Analog Input 1 | V
MB-L3-01 | L3-AI-02 | Analog Input 2 | V
MB-L3-01 | L3-AI-03 | Analog Input 3 | V
MB-L3-01 | L3-AI-04 | Analog Input 4 | V
MB-L3-01 | L3-AI-05 | Analog Input 5 | V
MB-L3-01 | L3-AI-06 | Analog Input 6 | V
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m²
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m²
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C
MB-L3-01 | L3-HFT-01 | Heat Flow 1 | W/m²
MB-L3-01 | L3-HFT-02 | Heat Flow 2 | W/m²
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux
MB-L5-01 | L5-AI-01 | Analog Input 1 | V
MB-L5-01 | L5-AI-02 | Analog Input 2 | V
MB-L5-01 | L5-AI-03 | Analog Input 3 | V
MB-L5-01 | L5-AI-04 | Analog Input 4 | V
MB-L5-01 | L5-AI-05 | Analog Input 5 | V
MB-L5-01 | L5-AI-06 | Analog Input 6 | V
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m²
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m²
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C
MB-L5-01 | L5-HFT-01 | Heat Flow 1 | W/m²
MB-L5-01 | L5-HFT-02 | Heat Flow 2 | W/m²
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux
Sensor Mainboard L3 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V
Sensor Mainboard L3 | PZEM-L3-01-CURR | PZEM L3-01 Current | A
Sensor Mainboard L3 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W
Sensor Mainboard L3 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh
Sensor Mainboard L3 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz
Sensor Mainboard L3 | PZEM-L3-01-PF | PZEM L3-01 Power Factor
Sensor Lampu L3 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V
Sensor Lampu L3 | PZEM-L3-02-CURR | PZEM L3-02 Current | A
Sensor Lampu L3 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W
Sensor Lampu L3 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh
Sensor Lampu L3 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz
Sensor Lampu L3 | PZEM-L3-02-PF | PZEM L3-02 Power Factor
Sensor Mainboard L5 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V | 224.3 | 225.61 | 227.7 | 99
Sensor Mainboard L5 | PZEM-L5-01-CURR | PZEM L5-01 Current | A | 0.1 | 0.1 | 0.11 | 99
Sensor Mainboard L5 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W | 8.8 | 9.35 | 9.8 | 99
Sensor Mainboard L5 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh | 6.84 | 6.85 | 6.86 | 99
Sensor Mainboard L5 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz | 49.9 | 49.95 | 50 | 99
Sensor Mainboard L5 | PZEM-L5-01-PF | PZEM L5-01 Power Factor |  | 0.4 | 0.42 | 0.43 | 99
Sensor Lampu L5 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V | 224.2 | 225.5 | 227.6 | 99
Sensor Lampu L5 | PZEM-L5-02-CURR | PZEM L5-02 Current | A | 0 | 0 | 0 | 99
Sensor Lampu L5 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W | 0 | 0 | 0 | 99
Sensor Lampu L5 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh | 9.69 | 9.69 | 9.69 | 99
Sensor Lampu L5 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz | 49.9 | 49.96 | 50 | 99
Sensor Lampu L5 | PZEM-L5-02-PF | PZEM L5-02 Power Factor |  | 0 | 0 | 0 | 99
Sensor Actuator L5 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
Sensor Actuator L5 | PZEM-L5-03-CURR | PZEM L5-03 Current | A | 0.07 | 0.07 | 0.07 | 99
Sensor Actuator L5 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W | 7.6 | 7.6 | 7.6 | 99
Sensor Actuator L5 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh | 3.57 | 3.57 | 3.57 | 99
Sensor Actuator L5 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz | 50 | 50 | 50 | 99
Sensor Actuator L5 | PZEM-L5-03-PF | PZEM L5-03 Power Factor |  | 0.5 | 0.5 | 0.5 | 99
Sensor Pendingin Ruangan | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V | 224.1 | 225.35 | 227.5 | 99
Sensor Pendingin Ruangan | PZEM-L5-04-CURR | PZEM L5-04 Current | A | 0 | 0 | 0 | 99
Sensor Pendingin Ruangan | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W | 0 | 0 | 0 | 99
Sensor Pendingin Ruangan | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh | 4.98 | 4.98 | 4.98 | 99
Sensor Pendingin Ruangan | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz | 49.9 | 49.96 | 50 | 99
Sensor Pendingin Ruangan | PZEM-L5-04-PF | PZEM L5-04 Power Factor |  | 0 | 0 | 0 | 99
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 0.01 | 1.57 | 4.34 | 99
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 21.3 | 21.59 | 22.1 | 99
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 93.3 | 95.38 | 96.6 | 99
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 910 | 910.02 | 911 | 99
WS-MOD-01 | WS-DIR | Arah Angin | ° | 10.5 | 242.27 | 354.6 | 99

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.