## Data
Timestamp | AC-REMOTE-01 · AC-POWER - AC Power State [state] | AC-REMOTE-01 · AC-SETPOINT - AC Set Temperature [°C] | AC-REMOTE-01 · AC-MODE - AC Operating Mode [code] | AC-REMOTE-01 · AC-FAN - AC Fan Speed [code] | ACT-MOD-01 · ENC-01 - Rotary Encoder 1 [%] | ACT-MOD-01 · ENC-02 - Rotary Encoder 2 [%] | ACT-MOD-01 · ENC-03 - Rotary Encoder 3 [%] | ACT-MOD-01 · ENC-04 - Rotary Encoder 4 [%] | ACT-MOD-01 · ENC-05 - Rotary Encoder 5 [%] | ACT-MOD-01 · ENC-06 - Rotary Encoder 6 [%] | ACT-MOD-01 · ENC-07 - Rotary Encoder 7 [%] | ACT-MOD-01 · ENC-08 - Rotary Encoder 8 [%] | ACT-MOD-01 · MOTOR-01 - Motor Status 1 [state] | ACT-MOD-01 · MOTOR-02 - Motor Status 2 [state] | ACT-MOD-01 · MOTOR-03 - Motor Status 3 [state] | ACT-MOD-01 · MOTOR-04 - Motor Status 4 [state] | ACT-MOD-01 · MOTOR-05 - Motor Status 5 [state] | ACT-MOD-01 · MOTOR-06 - Motor Status 6 [state] | ACT-MOD-01 · MOTOR-07 - Motor Status 7 [state] | ACT-MOD-01 · MOTOR-08 - Motor Status 8 [state] | MB-L3-01 · L3-AI-01 - Analog Input 1 [V] | MB-L3-01 · L3-AI-02 - Analog Input 2 [V] | MB-L3-01 · L3-AI-03 - Analog Input 3 [V] | MB-L3-01 · L3-AI-04 - Analog Input 4 [V] | MB-L3-01 · L3-AI-05 - Analog Input 5 [V] | MB-L3-01 · L3-AI-06 - Analog Input 6 [V] | MB-L3-01 · L3-SHT-01-T - SHT20 1 Temperature [°C] | MB-L3-01 · L3-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L3-01 · L3-SHT-02-T - SHT20 2 Temperature [°C] | MB-L3-01 · L3-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L3-01 · L3-SHT-03-T - SHT20 3 Temperature [°C] | MB-L3-01 · L3-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L3-01 · L3-RAD-01 - Radiation 1 [W/m²] | MB-L3-01 · L3-RAD-02 - Radiation 2 [W/m²] | MB-L3-01 · L3-ST-01 - Surface Temperature 1 [°C] | MB-L3-01 · L3-ST-02 - Surface Temperature 2 [°C] | MB-L3-01 · L3-HFT-01 - Heat Flow 1 [W/m²] | MB-L3-01 · L3-HFT-02 - Heat Flow 2 [W/m²] | MB-L3-01 · L3-BGT-01 - Black Globe Temperature 1 [°C] | MB-L3-01 · L3-BGT-02 - Black Globe Temperature 2 [°C] | MB-L3-01 · L3-BGT-03 - Black Globe Temperature 3 [°C] | MB-L3-01 · L3-LUX-01 - Illuminance / LUX 1 [lux] | MB-L3-01 · L3-LUX-02 - Illuminance / LUX 2 [lux] | MB-L3-01 · L3-LUX-03 - Illuminance / LUX 3 [lux] | MB-L3-01 · L3-LUX-04 - Illuminance / LUX 4 [lux] | MB-L3-01 · L3-LUX-05 - Illuminance / LUX 5 [lux] | MB-L3-01 · L3-LUX-06 - Illuminance / LUX 6 [lux] | MB-L5-01 · L5-AI-01 - Analog Input 1 [V] | MB-L5-01 · L5-AI-02 - Analog Input 2 [V] | MB-L5-01 · L5-AI-03 - Analog Input 3 [V] | MB-L5-01 · L5-AI-04 - Analog Input 4 [V] | MB-L5-01 · L5-AI-05 - Analog Input 5 [V] | MB-L5-01 · L5-AI-06 - Analog Input 6 [V] | MB-L5-01 · L5-SHT-01-T - SHT20 1 Temperature [°C] | MB-L5-01 · L5-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L5-01 · L5-SHT-02-T - SHT20 2 Temperature [°C] | MB-L5-01 · L5-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L5-01 · L5-SHT-03-T - SHT20 3 Temperature [°C] | MB-L5-01 · L5-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L5-01 · L5-RAD-01 - Radiation 1 [W/m²] | MB-L5-01 · L5-RAD-02 - Radiation 2 [W/m²] | MB-L5-01 · L5-ST-01 - Surface Temperature 1 [°C] | MB-L5-01 · L5-ST-02 - Surface Temperature 2 [°C] | MB-L5-01 · L5-HFT-01 - Heat Flow 1 [W/m²] | MB-L5-01 · L5-HFT-02 - Heat Flow 2 [W/m²] | MB-L5-01 · L5-BGT-01 - Black Globe Temperature 1 [°C] | MB-L5-01 · L5-BGT-02 - Black Globe Temperature 2 [°C] | MB-L5-01 · L5-BGT-03 - Black Globe Temperature 3 [°C] | MB-L5-01 · L5-LUX-01 - Illuminance / LUX 1 [lux] | MB-L5-01 · L5-LUX-02 - Illuminance / LUX 2 [lux] | MB-L5-01 · L5-LUX-03 - Illuminance / LUX 3 [lux] | MB-L5-01 · L5-LUX-04 - Illuminance / LUX 4 [lux] | MB-L5-01 · L5-LUX-05 - Illuminance / LUX 5 [lux] | MB-L5-01 · L5-LUX-06 - Illuminance / LUX 6 [lux] | Sensor Mainboard L3 · PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | Sensor Mainboard L3 · PZEM-L3-01-CURR - PZEM L3-01 Current [A] | Sensor Mainboard L3 · PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | Sensor Mainboard L3 · PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | Sensor Mainboard L3 · PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | Sensor Mainboard L3 · PZEM-L3-01-PF - PZEM L3-01 Power Factor | Sensor Lampu L3 · PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | Sensor Lampu L3 · PZEM-L3-02-CURR - PZEM L3-02 Current [A] | Sensor Lampu L3 · PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | Sensor Lampu L3 · PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | Sensor Lampu L3 · PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | Sensor Lampu L3 · PZEM-L3-02-PF - PZEM L3-02 Power Factor | Sensor Mainboard L5 · PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | Sensor Mainboard L5 · PZEM-L5-01-CURR - PZEM L5-01 Current [A] | Sensor Mainboard L5 · PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | Sensor Mainboard L5 · PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | Sensor Mainboard L5 · PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | Sensor Mainboard L5 · PZEM-L5-01-PF - PZEM L5-01 Power Factor | Sensor Lampu L5 · PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | Sensor Lampu L5 · PZEM-L5-02-CURR - PZEM L5-02 Current [A] | Sensor Lampu L5 · PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | Sensor Lampu L5 · PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | Sensor Lampu L5 · PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | Sensor Lampu L5 · PZEM-L5-02-PF - PZEM L5-02 Power Factor | Sensor Actuator L5 · PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | Sensor Actuator L5 · PZEM-L5-03-CURR - PZEM L5-03 Current [A] | Sensor Actuator L5 · PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | Sensor Actuator L5 · PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | Sensor Actuator L5 · PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | Sensor Actuator L5 · PZEM-L5-03-PF - PZEM L5-03 Power Factor | Sensor Pendingin Ruangan · PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | Sensor Pendingin Ruangan · PZEM-L5-04-CURR - PZEM L5-04 Current [A] | Sensor Pendingin Ruangan · PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | Sensor Pendingin Ruangan · PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | Sensor Pendingin Ruangan · PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | Sensor Pendingin Ruangan · PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-MOD-01 · WS-WIND - Kecepatan Angin [m/s] | WS-MOD-01 · WS-TEMP - Suhu Udara [°C] | WS-MOD-01 · WS-RH - Kelembapan Udara [%RH] | WS-MOD-01 · WS-PRES - Tekanan Udara [hPa] | WS-MOD-01 · WS-DIR - Arah Angin [°]
2026-10-09 00:00:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.39 | 26.7 | 67.29 | 26.5 | 67.82 | 1 | 1 | 25.52 | 25.82 | -36.94 | -29.22 | 27.41 | 27.35 | 27.21 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.5 | 0.11 | 9.8 | 7.52 | 50 | 0.39 | 226.4 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.3 | 0 | 0 | 5.05 | 50 | 0 | 4.62 | 22.1 | 92.2 | 909 | 220.5
2026-10-09 00:01:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.5 | 26.6 | 67.29 | 26.6 | 67.82 | 1 | 1 | 25.44 | 25.75 | -35.88 | -28.99 | 27.46 | 27.37 | 27.2 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.4 | 0.11 | 9.3 | 7.52 | 50 | 0.39 | 226.3 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.2 | 0 | 0 | 5.05 | 50 | 0 | 2.36 | 22.2 | 92.1 | 909 | 206.8
2026-10-09 00:02:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.7 | 67.6 | 26.7 | 67.39 | 26.6 | 67.92 | 1 | 1 | 25.32 | 25.79 | -33.38 | -28.97 | 27.4 | 27.37 | 27.12 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.6 | 0.1 | 9.1 | 7.52 | 50 | 0.39 | 226.5 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.3 | 0 | 0 | 5.05 | 50 | 0 | 2.82 | 22.2 | 91.7 | 909 | 166.9
2026-10-09 00:03:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.7 | 67.5 | 26.7 | 67.18 | 26.5 | 68.03 | 1 | 1 | 25.49 | 25.82 | -37.41 | -28.71 | 27.35 | 27.34 | 27.17 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.6 | 0.11 | 9.8 | 7.52 | 50 | 0.39 | 226.5 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.4 | 0 | 0 | 5.05 | 50 | 0 | 3.58 | 22.3 | 91.9 | 909 | 165.3
2026-10-09 00:04:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.7 | 67.5 | 26.6 | 67.29 | 26.5 | 67.93 | 1 | 1 | 25.44 | 25.82 | -38.59 | -28.68 | 27.4 | 27.34 | 27.17 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.5 | 0.1 | 9.2 | 7.52 | 50 | 0.39 | 226.4 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.3 | 0 | 0 | 5.05 | 50 | 0 | 3.11 | 22.2 | 91.8 | 909 | 202.5
2026-10-09 00:05:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.61 | 26.8 | 67.28 | 26.5 | 67.82 | 1 | 1 | 25.41 | 25.81 | -35.65 | -28.88 | 27.42 | 27.35 | 27.14 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.4 | 0.11 | 9.6 | 7.52 | 49.9 | 0.39 | 226.4 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.2 | 0 | 0 | 5.05 | 50 | 0 | 6.34 | 22.2 | 91.9 | 909 | 237.8
2026-10-09 00:06:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.7 | 67.6 | 26.7 | 67.29 | 26.5 | 67.93 | 1 | 1 | 25.34 | 25.82 | -38.23 | -29.91 | 27.41 | 27.3 | 27.17 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.5 | 0.11 | 9.3 | 7.52 | 50 | 0.39 | 226.4 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.3 | 0 | 0 | 5.05 | 50 | 0 | 3.88 | 22.1 | 92 | 909 | 204.9
2026-10-09 00:07:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.7 | 67.5 | 26.7 | 67.39 | 26.5 | 67.82 | 1 | 1 | 25.25 | 25.86 | -36.09 | -29.14 | 27.44 | 27.27 | 27.07 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.4 | 0.11 | 9.8 | 7.52 | 50 | 0.39 | 226.3 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.2 | 0 | 0 | 5.05 | 50 | 0 | 4.1 | 22.1 | 92.2 | 909 | 203
2026-10-09 00:08:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.7 | 67.5 | 26.7 | 67.29 | 26.6 | 67.92 | 1 | 1 | 25.44 | 25.75 | -34.94 | -28.96 | 27.35 | 27.37 | 27.12 | 0 | 0 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.3 | 0.11 | 9.3 | 7.52 | 49.9 | 0.39 | 226.4 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.3 | 0 | 0 | 5.05 | 49.9 | 0 | 4.63 | 22.1 | 92.4 | 909 | 249.5
2026-10-09 00:09:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.5 | 26.7 | 67.29 | 26.5 | 67.93 | 1 | 1 | 25.21 | 25.82 | -34.38 | -28.99 | 27.37 | 27.27 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.4 | 0.11 | 9.6 | 7.52 | 49.9 | 0.39 | 226.3 | 0 | 0 | 10.36 | 49.9 | 0 | [6 empty] | 226.2 | 0 | 0 | 5.05 | 49.9 | 0 | 2.86 | 22 | 92.6 | 909 | 266.6
2026-10-09 00:10:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.5 | 26.7 | 67.29 | 26.6 | 67.92 | 1 | 1 | 25.26 | 25.8 | -35.44 | -30.06 | 27.41 | 27.33 | 27.09 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.5 | 0.11 | 9.9 | 7.52 | 50 | 0.39 | 226.4 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.2 | 0 | 0 | 5.05 | 50 | 0 | 8.33 | 21.9 | 92.8 | 909 | 225.4
2026-10-09 00:11:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.61 | 26.7 | 67.29 | 26.6 | 68.03 | 1 | 1 | 25.23 | 25.86 | -36.11 | -30.63 | 27.37 | 27.28 | 27.15 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.3 | 0.11 | 9.8 | 7.52 | 50 | 0.39 | 226.4 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.1 | 0 | 0 | 5.05 | 50 | 0 | 1.36 | 21.9 | 93.2 | 909 | 246.3
2026-10-09 00:12:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.61 | 26.8 | 67.39 | 26.6 | 68.03 | 1 | 1 | 25.28 | 25.77 | -35.15 | -29.02 | 27.39 | 27.3 | 27.12 | 0 | 0.1 | 0 | 0 | 0.1 | 0.1 | [12 empty] | 226.4 | 0.11 | 9.8 | 7.52 | 49.9 | 0.39 | 226.4 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.2 | 0 | 0 | 5.05 | 49.9 | 0 | 3.86 | 21.9 | 93.2 | 909 | 209.2
2026-10-09 00:13:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.5 | 26.8 | 67.28 | 26.6 | 68.03 | 1 | 1 | 25.2 | 25.88 | -36.14 | -28.36 | 27.37 | 27.37 | 27.09 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.5 | 0.1 | 9.1 | 7.52 | 49.9 | 0.39 | 226.4 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.3 | 0 | 0 | 5.05 | 50 | 0 | 5.1 | 21.8 | 93.4 | 909 | 220.7
2026-10-09 00:14:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.7 | 67.6 | 26.7 | 67.5 | 26.5 | 68.03 | 1 | 1 | 25.08 | 25.81 | -36.38 | -29.11 | 27.3 | 27.29 | 27.08 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.7 | 0.11 | 9.9 | 7.52 | 50 | 0.39 | 226.6 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.5 | 0 | 0 | 5.05 | 50 | 0 | 4.62 | 21.8 | 93.7 | 909 | 244.7
2026-10-09 00:15:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.7 | 67.5 | 26.8 | 67.28 | 26.6 | 68.03 | 1 | 1 | 25.25 | 25.84 | -33.49 | -29.39 | 27.35 | 27.28 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.6 | 0.1 | 9.2 | 7.52 | 50 | 0.39 | 226.7 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.4 | 0 | 0 | 5.05 | 50 | 0 | 6.1 | 21.7 | 94 | 909 | 214.8
2026-10-09 00:16:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.7 | 67.5 | 26.8 | 67.28 | 26.5 | 68.03 | 1 | 1 | 25.23 | 25.79 | -35.7 | -28.19 | 27.37 | 27.32 | 27.13 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.5 | 0.11 | 9.8 | 7.52 | 49.9 | 0.39 | 226.4 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.2 | 0 | 0 | 5.05 | 50 | 0 | 5.59 | 21.7 | 94.2 | 909 | 226.2
2026-10-09 00:17:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.7 | 67.6 | 26.7 | 67.39 | 26.6 | 68.03 | 1 | 1 | 25.05 | 25.75 | -39.06 | -29.19 | 27.39 | 27.27 | 27.05 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 226.7 | 0.11 | 9.9 | 7.52 | 49.9 | 0.39 | 226.6 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.4 | 0 | 0 | 5.05 | 49.9 | 0 | 2.37 | 21.7 | 94.5 | 909 | 202
2026-10-09 00:18:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.61 | 26.6 | 67.18 | 26.4 | 68.04 | 1 | 1 | 25.19 | 25.84 | -44.49 | -28.88 | 27.37 | 27.28 | 27.08 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.7 | 0.11 | 9.9 | 7.52 | 50 | 0.4 | 226.7 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | [6 empty] | 2.11 | 21.8 | 94.4 | 909 | 209.8
2026-10-09 00:19:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.61 | 26.7 | 67.29 | 26.5 | 68.03 | 1 | 1 | 25.16 | 25.77 | -41.99 | -29.19 | 27.33 | 27.35 | 27.08 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.6 | 0.11 | 9.7 | 7.52 | 49.9 | 0.4 | 226.5 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.4 | 0 | 0 | 5.05 | 49.9 | 0 | 2.87 | 21.7 | 94.5 | 909 | 203
2026-10-09 00:20:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.5 | 26.7 | 67.39 | 26.6 | 68.03 | 1 | 1 | 25.23 | 25.82 | -40.96 | -29.11 | 27.35 | 27.26 | 27.13 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.8 | 0.11 | 9.6 | 7.52 | 49.9 | 0.39 | 226.7 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | [6 empty] | 3.1 | 21.7 | 94.5 | 909 | 210.8
2026-10-09 00:21:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.61 | 26.7 | 67.29 | 26.5 | 68.03 | 1 | 1 | 25.16 | 25.75 | -38.97 | -28.93 | 27.35 | 27.22 | 27.08 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.4 | 0.1 | 9.2 | 7.52 | 49.9 | 0.4 | 226.3 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.2 | 0 | 0 | 5.05 | 50 | 0 | 6.84 | 21.7 | 94.5 | 909 | 223
2026-10-09 00:22:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.61 | 26.7 | 67.29 | 26.5 | 67.93 | 1 | 1 | 25.18 | 25.79 | -37.5 | -29.17 | 27.4 | 27.33 | 27.07 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.5 | 0.1 | 9.2 | 7.52 | 50 | 0.39 | 226 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.9 | 0 | 0 | 5.05 | 50 | 0 | 2.13 | 21.6 | 94.8 | 909 | 215.8
2026-10-09 00:23:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.71 | 26.6 | 67.39 | 26.6 | 68.03 | 1 | 1 | 25.18 | 25.73 | -38.59 | -28.62 | 27.29 | 27.2 | 27.09 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.3 | 0.11 | 9.3 | 7.52 | 50 | 0.39 | 226.3 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.1 | 0 | 0 | 5.05 | 50 | 0 | 4.86 | 21.7 | 94.8 | 909 | 248
2026-10-09 00:24:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.61 | 26.7 | 67.29 | 26.5 | 68.03 | 1 | 1 | 25.27 | 25.73 | -38.67 | -29.8 | 27.24 | 27.28 | 27.12 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 226.2 | 0.11 | 9.8 | 7.52 | 49.9 | 0.39 | 226.1 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.9 | 0 | 0 | 5.05 | 50 | 0 | 3.37 | 21.7 | 95 | 909 | 236.4
2026-10-09 00:25:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.7 | 67.71 | 26.7 | 67.29 | 26.5 | 68.03 | 1 | 1 | 25.08 | 25.74 | -40.43 | -28.36 | 27.37 | 27.29 | 27.04 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.1 | 0.11 | 9.8 | 7.52 | 49.9 | 0.39 | 226.2 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.1 | 0 | 0 | 5.05 | 50 | 0 | 3.86 | 21.6 | 95 | 909 | 213
2026-10-09 00:26:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.72 | 26.7 | 67.29 | 26.5 | 68.14 | 1 | 1 | 25.07 | 25.68 | -39.56 | -30.66 | 27.22 | 27.2 | 27.07 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.4 | 0.11 | 9.7 | 7.52 | 50 | 0.39 | 226.3 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.2 | 0 | 0 | 5.05 | 50 | 0 | 1.12 | 21.7 | 95.1 | 909 | 284.3
2026-10-09 00:27:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.7 | 67.71 | 26.7 | 67.39 | 26.5 | 68.03 | 1 | 1 | 25 | 25.73 | -36.91 | -29.65 | 27.37 | 27.3 | 27.08 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.4 | 0.11 | 9.9 | 7.52 | 50 | 0.4 | 226.3 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.1 | 0 | 0 | 5.05 | 50 | 0 | 4.86 | 21.7 | 95 | 909 | 232.9
2026-10-09 00:28:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.71 | 26.6 | 67.39 | 26.5 | 68.03 | 1 | 1 | 25 | 25.7 | -36.5 | -29.36 | 27.37 | 27.3 | 27.05 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.3 | 0.11 | 9.9 | 7.53 | 49.9 | 0.4 | 226.2 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226 | 0 | 0 | 5.05 | 50 | 0 | 3.85 | 21.6 | 95.1 | 909 | 244.4
2026-10-09 00:29:00 | 1 | 26 | 1 | 0 | [43 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.7 | 67.6 | 26.7 | 67.39 | 26.5 | 68.03 | 1 | 1 | 25.13 | 25.79 | -37 | -28.53 | 27.29 | 27.2 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.2 | 0.11 | 9.7 | 7.53 | 50 | 0.39 | 226.1 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226 | 0 | 0 | 5.05 | 50 | 0 | 2.86 | 21.6 | 95.3 | 909 | 217.9
2026-10-09 00:30:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.61 | 26.7 | 67.5 | 26.4 | 68.04 | 1 | 1 | 24.91 | 25.73 | -36.32 | -29.42 | 27.37 | 27.29 | 27.09 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.3 | 0.11 | 9.4 | 7.53 | 50 | 0.4 | 226.2 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226 | 0 | 0 | 5.05 | 50 | 0 | 3.6 | 21.6 | 95.4 | 909 | 230.2
2026-10-09 00:31:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.61 | 26.7 | 67.39 | 26.5 | 68.03 | 1 | 1 | 25.13 | 25.75 | -36.43 | -28.82 | 27.26 | 27.26 | 27.03 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.3 | 0.11 | 9.5 | 7.53 | 50 | 0.39 | 226.2 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.1 | 0 | 0 | 5.05 | 50 | 0 | 3.35 | 21.6 | 95.3 | 909 | 229.9
2026-10-09 00:32:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.61 | 26.6 | 67.39 | 26.4 | 68.14 | 1 | 1 | 25.09 | 25.72 | -38.85 | -30.92 | 27.34 | 27.23 | 27.04 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.3 | 0.11 | 9.3 | 7.53 | 50 | 0.39 | 226.2 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226 | 0 | 0 | 5.05 | 50 | 0 | 1.88 | 21.7 | 95.3 | 909 | 211.3
2026-10-09 00:33:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.71 | 26.6 | 67.29 | 26.4 | 68.14 | 1 | 1 | 24.98 | 25.64 | -34.73 | -28.85 | 27.23 | 27.26 | 27.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.3 | 0.11 | 9.2 | 7.53 | 50 | 0.39 | 226.3 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.1 | 0 | 0 | 5.05 | 50 | 0 | 2.86 | 21.7 | 95.2 | 909 | 160.3
2026-10-09 00:34:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.71 | 26.7 | 67.5 | 26.5 | 68.14 | 1 | 1 | 24.92 | 25.62 | -37.99 | -28.96 | 27.35 | 27.23 | 27.03 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 226.4 | 0.11 | 9.8 | 7.53 | 49.9 | 0.4 | 226.3 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.1 | 0 | 0 | 5.05 | 49.9 | 0 | 4.63 | 21.7 | 95 | 909 | 251.5
2026-10-09 00:35:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.82 | 26.6 | 67.39 | 26.5 | 68.03 | 1 | 1 | 24.98 | 25.59 | -35.41 | -30.63 | 27.28 | 27.27 | 27.09 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.3 | 0.11 | 9.8 | 7.53 | 49.9 | 0.39 | 226.3 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.1 | 0 | 0 | 5.05 | 49.9 | 0 | 2.88 | 21.6 | 94.8 | 909 | 245.4
2026-10-09 00:36:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.71 | 26.7 | 67.6 | 26.5 | 68.03 | 1 | 1 | 25 | 25.67 | -36.14 | -29.94 | 27.34 | 27.23 | 27.04 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.5 | 0.11 | 9.8 | 7.53 | 50 | 0.4 | 226.4 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.3 | 0 | 0 | 5.05 | 50 | 0 | 1.61 | 21.7 | 94.9 | 909 | 252.4
2026-10-09 00:37:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.7 | 67.71 | 26.7 | 67.39 | 26.4 | 67.93 | 1 | 1 | 24.94 | 25.64 | -35.73 | -28.59 | 27.37 | 27.21 | 27.05 | 0 | 0.1 | 0 | 0 | 0.1 | 0.1 | [12 empty] | 226.5 | 0.11 | 9.7 | 7.53 | 49.9 | 0.4 | 226.4 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.2 | 0 | 0 | 5.05 | 49.9 | 0 | 1.37 | 21.7 | 94.8 | 909 | 177
2026-10-09 00:38:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.71 | 26.7 | 67.39 | 26.5 | 68.03 | 1 | 1 | 24.9 | 25.63 | -41.31 | -29.16 | 27.35 | 27.23 | 27.07 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.5 | 0.11 | 9.6 | 7.53 | 49.9 | 0.39 | 226.4 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.2 | 0 | 0 | 5.05 | 49.9 | 0 | 1.88 | 21.7 | 94.7 | 909 | 252.1
2026-10-09 00:39:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.71 | 26.7 | 67.39 | 26.5 | 68.14 | 1 | 1 | 25.02 | 25.63 | -37.21 | -28.44 | 27.37 | 27.17 | 26.98 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.6 | 0.11 | 9.9 | 7.53 | 50 | 0.4 | 226.5 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.4 | 0 | 0 | 5.05 | 50 | 0 | 2.13 | 21.7 | 94.4 | 909 | 305.9
2026-10-09 00:40:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.82 | 26.7 | 67.5 | 26.6 | 68.14 | 1 | 1 | 25.01 | 25.67 | -37.59 | -29.68 | 27.27 | 27.27 | 27.02 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.5 | 0.11 | 9.8 | 7.53 | 50 | 0.4 | 226.4 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.2 | 0 | 0 | 5.05 | 49.9 | 0 | 3.6 | 21.7 | 94.3 | 909 | 258.7
2026-10-09 00:41:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.92 | 26.6 | 67.5 | 26.6 | 68.03 | 1 | 1 | 24.92 | 25.56 | -39.47 | -28.67 | 27.32 | 27.2 | 26.97 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 226.6 | 0.11 | 9.6 | 7.53 | 50 | 0.4 | 226.5 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.3 | 0 | 0 | 5.05 | 50 | 0 | 1.36 | 21.7 | 94.6 | 909 | 104.8
2026-10-09 00:42:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.71 | 26.6 | 67.5 | 26.4 | 68.14 | 1 | 1 | 24.89 | 25.59 | -41.52 | -29.85 | 27.32 | 27.29 | 27.03 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.5 | 0.11 | 9.9 | 7.53 | 50 | 0.41 | 226.5 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.3 | 0 | 0 | 5.05 | 50 | 0 | 3.62 | 21.7 | 94.5 | 909 | 207.3
2026-10-09 00:43:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.72 | 26.7 | 67.39 | 26.5 | 68.03 | 1 | 1 | 24.98 | 25.61 | -39.61 | -30.34 | 27.28 | 27.23 | 27.08 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.4 | 0.11 | 9.8 | 7.53 | 49.9 | 0.4 | 226.5 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.3 | 0 | 0 | 5.05 | 50 | 0 | 1.13 | 21.8 | 94.5 | 909 | 292.5
2026-10-09 00:44:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.82 | 26.6 | 67.39 | 26.4 | 68.14 | 1 | 1 | 24.95 | 25.61 | -42.37 | -29.85 | 27.23 | 27.17 | 27.01 | 0 | 0.1 | 0 | 0 | 0.1 | 0.1 | [12 empty] | 226.8 | 0.1 | 9.2 | 7.53 | 50 | 0.39 | 226.7 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.5 | 0 | 0 | 5.05 | 50 | 0 | 0.23 | 21.8 | 94.4 | 909 | 275.6
2026-10-09 00:45:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.72 | 26.7 | 67.6 | 26.5 | 68.25 | 1 | 1 | 24.9 | 25.61 | -37.73 | -28.76 | 27.28 | 27.28 | 27.07 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.7 | 0.11 | 9.8 | 7.53 | 49.9 | 0.4 | 226.6 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.4 | 0 | 0 | 5.05 | 49.9 | 0 | 4.6 | 21.7 | 94 | 909 | 230.2
2026-10-09 00:46:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.71 | 26.6 | 67.39 | 26.5 | 68.25 | 1 | 1 | 25 | 25.62 | -34.7 | -29.1 | 27.23 | 27.2 | 27.04 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 226.9 | 0.11 | 9.9 | 7.53 | 50 | 0.4 | 226.8 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.6 | 0 | 0 | 5.05 | 50 | 0 | 2.62 | 21.8 | 94.3 | 909 | 330.3
2026-10-09 00:47:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.82 | 26.6 | 67.5 | 26.5 | 68.25 | 1 | 1 | 25 | 25.62 | -39.96 | -29.31 | 27.28 | 27.23 | 26.97 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.7 | 0.1 | 9.1 | 7.53 | 49.9 | 0.39 | 226.6 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.5 | 0 | 0 | 5.05 | 49.9 | 0 | 1.14 | 21.8 | 94.1 | 909 | 301.6
2026-10-09 00:48:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.82 | 26.6 | 67.5 | 26.5 | 68.25 | 1 | 1 | 24.87 | 25.62 | -37.5 | -31.37 | 27.21 | 27.21 | 27.01 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227 | 0.1 | 9.2 | 7.53 | 49.9 | 0.39 | 226.9 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.8 | 0 | 0 | 5.05 | 49.9 | 0 | 1.37 | 21.8 | 94.2 | 909 | 262.3
2026-10-09 00:49:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.7 | 67.71 | 26.7 | 67.6 | 26.5 | 68.14 | 1 | 1 | 24.94 | 25.57 | -42.43 | -29.08 | 27.32 | 27.22 | 27.05 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.1 | 0.11 | 9.8 | 7.53 | 50 | 0.4 | 227 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.8 | 0 | 0 | 5.05 | 50 | 0 | 7.33 | 21.7 | 93.9 | 909 | 238.6
2026-10-09 00:50:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.72 | 26.6 | 67.5 | 26.4 | 68.14 | 1 | 1 | 24.91 | 25.59 | -38.2 | -29.42 | 27.28 | 27.15 | 26.95 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 226.9 | 0.11 | 9.8 | 7.53 | 50 | 0.41 | 226.8 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.6 | 0 | 0 | 5.05 | 50 | 0 | 1.62 | 21.7 | 94.3 | 909 | 189.6
2026-10-09 00:51:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.82 | 26.6 | 67.5 | 26.4 | 68.14 | 1 | 1 | 24.95 | 25.56 | -38.23 | -28.76 | 27.26 | 27.19 | 27.02 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.1 | 0.11 | 9.6 | 7.53 | 50 | 0.39 | 227 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.7 | 0 | 0 | 5.05 | 50 | 0 | 2.87 | 21.7 | 94.4 | 909 | 226.9
2026-10-09 00:52:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.82 | 26.6 | 67.61 | 26.4 | 68.14 | 1 | 1 | 24.77 | 25.68 | -37.17 | -29.3 | 27.26 | 27.26 | 26.99 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 226.9 | 0.11 | 9.7 | 7.53 | 49.9 | 0.4 | 226.8 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.6 | 0 | 0 | 5.05 | 49.9 | 0 | 7.85 | 21.6 | 94.3 | 909 | 208.8
2026-10-09 00:53:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.72 | 26.6 | 67.61 | 26.4 | 68.14 | 1 | 1 | 24.89 | 25.63 | -38.14 | -30.28 | 27.28 | 27.28 | 27.03 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227 | 0.11 | 9.7 | 7.53 | 49.9 | 0.4 | 226.9 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.8 | 0 | 0 | 5.05 | 50 | 0 | 3.58 | 21.6 | 94.6 | 909 | 219.8
2026-10-09 00:54:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.82 | 26.6 | 67.5 | 26.4 | 68.14 | 1 | 1 | 24.8 | 25.54 | -35.85 | -29.48 | 27.21 | 27.21 | 26.98 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.2 | 0.11 | 9.7 | 7.53 | 50 | 0.4 | 227.1 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 227 | 0 | 0 | 5.05 | 50 | 0 | 0.16 | 21.7 | 94.7 | 909 | 346.4
2026-10-09 00:55:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.82 | 26.6 | 67.5 | 26.5 | 68.25 | 1 | 1 | 24.94 | 25.63 | -37.38 | -28.9 | 27.29 | 27.27 | 26.99 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.1 | 0.11 | 9.6 | 7.53 | 49.9 | 0.39 | 227.1 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.9 | 0 | 0 | 5.05 | 49.9 | 0 | 3.85 | 21.7 | 94.8 | 909 | 238.2
2026-10-09 00:56:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.82 | 26.6 | 67.5 | 26.4 | 68.25 | 1 | 1 | 24.89 | 25.59 | -43.39 | -30.94 | 27.23 | 27.21 | 27.01 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.2 | 0.11 | 9.7 | 7.53 | 49.9 | 0.4 | 227.1 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 227 | 0 | 0 | 5.05 | 49.9 | 0 | 3.85 | 21.6 | 94.9 | 909 | 264.2
2026-10-09 00:57:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.82 | 26.6 | 67.5 | 26.5 | 68.35 | 1 | 1 | 24.84 | 25.57 | -34.99 | -29.85 | 27.26 | 27.17 | 26.98 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.1 | 0.11 | 9.1 | 7.53 | 50 | 0.38 | 227.1 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.9 | 0 | 0 | 5.05 | 50 | 0 | 4.1 | 21.5 | 95 | 909 | 230.6
2026-10-09 00:58:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.82 | 26.6 | 67.5 | 26.5 | 68.14 | 1 | 1 | 24.98 | 25.59 | -34.81 | -29.39 | 27.26 | 27.21 | 26.97 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.3 | 0.11 | 9.1 | 7.53 | 50 | 0.38 | 227.1 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.9 | 0 | 0 | 5.05 | 50 | 0 | 7.82 | 21.4 | 95 | 909 | 221.3
2026-10-09 00:59:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.82 | 26.6 | 67.5 | 26.4 | 68.25 | 1 | 1 | 24.76 | 25.63 | -36.9 | -30.08 | 27.23 | 27.26 | 26.98 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227 | 0.11 | 9.8 | 7.53 | 49.9 | 0.39 | 226.9 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.7 | 0 | 0 | 5.05 | 50 | 0 | 2.85 | 21.5 | 95.5 | 909 | 214.4
2026-10-09 01:00:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.82 | 26.6 | 67.5 | 26.4 | 68.35 | 1 | 1 | 24.83 | 25.59 | -40.4 | -30.88 | 27.22 | 27.19 | 26.99 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.1 | 0.11 | 9.8 | 7.53 | 50 | 0.39 | 227 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.8 | 0 | 0 | 5.05 | 50 | 0 | 6.11 | 21.5 | 95.6 | 909 | 251.4
2026-10-09 01:01:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.82 | 26.6 | 67.5 | 26.4 | 68.25 | 1 | 1 | 24.94 | 25.56 | -41.2 | -29.33 | 27.21 | 27.16 | 26.95 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.3 | 0.1 | 9.1 | 7.53 | 50 | 0.38 | 227.2 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 227 | 0 | 0 | 5.05 | 50 | 0 | 6.82 | 21.4 | 95.5 | 909 | 253.9
2026-10-09 01:02:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.93 | 26.6 | 67.61 | 26.4 | 68.14 | 1 | 1 | 24.8 | 25.54 | -35.31 | -29.42 | 27.19 | 27.24 | 26.95 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.2 | 0.11 | 9.7 | 7.53 | 50 | 0.39 | 227.2 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 227 | 0 | 0 | 5.05 | 50 | 0 | 6.58 | 21.4 | 95.6 | 909 | 255.2
2026-10-09 01:03:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.82 | 26.6 | 67.5 | 26.4 | 68.14 | 1 | 1 | 24.77 | 25.5 | -40.46 | -31.29 | 27.23 | 27.21 | 26.94 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.3 | 0.11 | 10 | 7.53 | 49.9 | 0.4 | 227.1 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.9 | 0 | 0 | 5.05 | 50 | 0 | 3.1 | 21.4 | 95.9 | 909 | 258
2026-10-09 01:04:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.82 | 26.7 | 67.6 | 26.4 | 68.25 | 1 | 1 | 24.85 | 25.52 | -36.99 | -30.42 | 27.35 | 27.16 | 27.03 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.1 | 0.11 | 10 | 7.53 | 50 | 0.4 | 227 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.8 | 0 | 0 | 5.05 | 50 | 0 | 2.36 | 21.5 | 95.9 | 909 | 281
2026-10-09 01:05:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 67.92 | 26.6 | 67.61 | 26.5 | 68.25 | 1 | 1 | 24.73 | 25.54 | -41.43 | -30.25 | 27.26 | 27.16 | 26.96 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.2 | 0.11 | 9.7 | 7.53 | 50 | 0.39 | 227.1 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.9 | 0 | 0 | 5.05 | 50 | 0 | 3.11 | 21.5 | 95.8 | 909 | 286.4
2026-10-09 01:06:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.93 | 26.7 | 67.6 | 26.4 | 68.25 | 1 | 1 | 24.73 | 25.52 | -36.93 | -29.93 | 27.26 | 27.23 | 26.87 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.1 | 0.11 | 9.2 | 7.53 | 50 | 0.39 | 227 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.8 | 0 | 0 | 5.05 | 49.9 | 0 | 2.86 | 21.5 | 95.9 | 909 | 220.1
2026-10-09 01:07:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.82 | 26.6 | 67.61 | 26.5 | 68.25 | 1 | 1 | 24.72 | 25.56 | -37.29 | -29.76 | 27.26 | 27.16 | 26.96 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.2 | 0.11 | 9.3 | 7.53 | 50 | 0.39 | 227 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.8 | 0 | 0 | 5.05 | 50 | 0 | 2.85 | 21.5 | 95.9 | 909 | 265.7
2026-10-09 01:08:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.82 | 26.6 | 67.71 | 26.5 | 68.25 | 1 | 1 | 24.8 | 25.49 | -37.26 | -30.68 | 27.29 | 27.22 | 26.9 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.3 | 0.11 | 9.7 | 7.53 | 50 | 0.39 | 227.1 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 227 | 0 | 0 | 5.05 | 50 | 0 | 2.87 | 21.6 | 96.1 | 909 | 212.5
2026-10-09 01:09:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.93 | 26.5 | 67.5 | 26.4 | 68.25 | 1 | 1 | 24.87 | 25.5 | -37.99 | -29.65 | 27.19 | 27.09 | 26.92 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [18 empty] | 227 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.8 | 0 | 0 | 5.05 | 49.9 | 0 | 1.62 | 21.6 | 96 | 909 | 162.7
2026-10-09 01:10:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.93 | 26.6 | 67.61 | 26.4 | 68.25 | 1 | 1 | 24.78 | 25.48 | -42.64 | -31.86 | 27.21 | 27.15 | 27.02 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227 | 0.11 | 9.7 | 7.53 | 50 | 0.39 | 226.9 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.7 | 0 | 0 | 5.05 | 50 | 0 | 0.39 | 21.6 | 96 | 909 | 283.2
2026-10-09 01:11:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.6 | 68.03 | 26.6 | 67.61 | 26.3 | 68.25 | 1 | 1 | 24.72 | 25.55 | -42.98 | -31.14 | 27.22 | 27.15 | 26.95 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227 | 0.11 | 9.3 | 7.53 | 49.9 | 0.39 | 226.9 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.7 | 0 | 0 | 5.05 | 49.9 | 0 | 1.35 | 21.6 | 95.9 | 909 | 326.1
2026-10-09 01:12:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.93 | 26.6 | 67.61 | 26.4 | 68.25 | 1 | 1 | 24.67 | 25.55 | -45.88 | -30.08 | 27.21 | 27.15 | 26.97 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.1 | 0.11 | 9.8 | 7.53 | 50 | 0.4 | 227.1 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 227 | 0 | 0 | 5.05 | 50 | 0 | 4.6 | 21.5 | 95.7 | 909 | 218.8
2026-10-09 01:13:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 68.04 | 26.6 | 67.71 | 26.4 | 68.25 | 1 | 1 | 24.78 | 25.56 | -41.34 | -30.62 | 27.23 | 27.16 | 26.96 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.1 | 0.11 | 9.9 | 7.53 | 50 | 0.39 | 227 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.9 | 0 | 0 | 5.05 | 50 | 0 | 2.37 | 21.5 | 95.9 | 909 | 246.4
2026-10-09 01:14:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 68.03 | 26.6 | 67.5 | 26.4 | 68.25 | 1 | 1 | 24.84 | 25.56 | -41.13 | -29.79 | 27.24 | 27.19 | 27.01 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.2 | 0.11 | 9.8 | 7.53 | 49.9 | 0.4 | 227 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.9 | 0 | 0 | 5.05 | 50 | 0 | 2.61 | 21.5 | 95.7 | 909 | 274.4
2026-10-09 01:15:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 67.93 | 26.6 | 67.71 | 26.4 | 68.25 | 1 | 1 | 24.8 | 25.45 | -43.69 | -29.76 | 27.28 | 27.21 | 26.95 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.2 | 0.11 | 9.7 | 7.53 | 50 | 0.4 | 227.1 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.9 | 0 | 0 | 5.05 | 50 | 0 | 1.13 | 21.6 | 95.7 | 909 | 274.8
2026-10-09 01:16:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.93 | 26.6 | 67.71 | 26.4 | 68.35 | 1 | 1 | 24.8 | 25.5 | -40.87 | -30.68 | 27.28 | 27.14 | 26.95 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.2 | 0.11 | 9.8 | 7.53 | 50 | 0.4 | 227.1 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.9 | 0 | 0 | 5.05 | 50 | 0 | 1.37 | 21.6 | 95.6 | 909 | 267
2026-10-09 01:17:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.93 | 26.5 | 67.61 | 26.4 | 68.35 | 1 | 1 | 24.64 | 25.49 | -38.58 | -31.08 | 27.23 | 27.16 | 26.96 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.2 | 0.11 | 9.6 | 7.53 | 50 | 0.39 | 227.1 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226.9 | 0 | 0 | 5.05 | 50 | 0 | 0.64 | 21.6 | 95.6 | 909 | 257.3
2026-10-09 01:18:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 68.03 | 26.5 | 67.72 | 26.4 | 68.46 | 1 | 1 | 24.78 | 25.45 | -38.13 | -29.33 | 27.27 | 27.14 | 26.95 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.2 | 0.11 | 9.7 | 7.53 | 50 | 0.4 | 227.2 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 227 | 0 | 0 | 5.05 | 50 | 0 | 1.38 | 21.6 | 95.6 | 909 | 241.7
2026-10-09 01:19:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.93 | 26.6 | 67.71 | 26.4 | 68.25 | 1 | 1 | 24.71 | 25.41 | -37.11 | -29.82 | 27.17 | 27.16 | 26.95 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.3 | 0.11 | 9.9 | 7.53 | 50 | 0.41 | 227.3 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 227.1 | 0 | 0 | 5.05 | 50 | 0 | 2.12 | 21.4 | 94.7 | 909 | 255.2
2026-10-09 01:20:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 68.03 | 26.6 | 67.71 | 26.4 | 68.35 | 1 | 1 | 24.69 | 25.48 | -39.75 | -30.08 | 27.26 | 27.14 | 26.96 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.3 | 0.11 | 9.7 | 7.53 | 50 | 0.4 | 227.1 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 227 | 0 | 0 | 5.05 | 50 | 0 | 2.38 | 21.5 | 94.7 | 909 | 216.6
2026-10-09 01:21:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 68.04 | 26.6 | 67.71 | 26.2 | 68.25 | 1 | 1 | 24.74 | 25.45 | -36.84 | -30.45 | 27.22 | 27.2 | 26.9 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.3 | 0.11 | 9.2 | 7.53 | 50 | 0.39 | 227.2 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 227 | 0 | 0 | 5.05 | 50 | 0 | 3.36 | 21.4 | 94.4 | 909 | 264.8
2026-10-09 01:22:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 67.93 | 26.5 | 67.72 | 26.4 | 68.35 | 1 | 1 | 24.77 | 25.41 | -35.63 | -30.68 | 27.17 | 27.09 | 26.94 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.3 | 0.11 | 9.8 | 7.53 | 50 | 0.4 | 227.3 | 0 | 0 | 10.36 | 50 | 0 | [6 empty] | 227.2 | 0 | 0 | 5.05 | 50 | 0 | 2.13 | 21.5 | 94.7 | 909 | 241.8
2026-10-09 01:23:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.4 | 68.04 | 26.5 | 67.72 | 26.4 | 68.35 | 1 | 1 | 24.8 | 25.46 | -35.17 | -30.79 | 27.16 | 27.15 | 26.92 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.4 | 0.1 | 9.2 | 7.53 | 50 | 0.4 | 227.3 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 227.1 | 0 | 0 | 5.05 | 50 | 0 | 0.62 | 21.6 | 94.6 | 909 | 263.7
2026-10-09 01:24:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.93 | 26.5 | 67.72 | 26.3 | 68.36 | 1 | 1 | 24.71 | 25.41 | -36.31 | -30.25 | 27.23 | 27.21 | 26.92 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.5 | 0.1 | 9.3 | 7.53 | 50 | 0.4 | 227.5 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 227.3 | 0 | 0 | 5.05 | 50 | 0 | 2.62 | 21.7 | 94.5 | 909 | 296.4
2026-10-09 01:25:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 68.03 | 26.5 | 67.61 | 26.4 | 68.35 | 1 | 1 | 24.82 | 25.41 | -42.98 | -30.73 | 27.28 | 27.15 | 26.95 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.5 | 0.11 | 9.7 | 7.53 | 50 | 0.41 | 227.3 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 227.1 | 0 | 0 | 5.05 | 50 | 0 | 2.37 | 21.6 | 94.1 | 909 | 261.8
2026-10-09 01:26:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 67.93 | 26.6 | 67.71 | 26.3 | 68.46 | 1 | 1 | 24.73 | 25.45 | -40.22 | -30.36 | 27.26 | 27.13 | 26.84 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.4 | 0.1 | 9.3 | 7.53 | 50 | 0.39 | 227.3 | 0 | 0 | 10.36 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 227.1 | 0 | 0 | 5.05 | 49.9 | 0 | 4.61 | 21.5 | 94 | 909 | 288
2026-10-09 01:27:00 | 1 | 26 | 1 | 0 | 89.5 | 89 | 81 | 90.5 | 89 | 89.5 | 89 | 90 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.5 | 68.14 | 26.5 | 67.72 | 26.4 | 68.35 | 1 | 1 | 24.8 | 25.43 | -36.93 | -30.19 | 27.22 | 27.15 | 26.85 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 227.4 | 0.11 | 9.9 | 7.53 | 50 | 0.4 | 227.2 | 0 | 0 | 10.36 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 227.2 | 0 | 0 | 5.05 | 50 | 0 | 1.36 | 21.5 | 94 | 909 | 286.3

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-10-09 00:00:00 | To | 2026-10-09 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state | 1 | 1 | 1 | 88
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C | 26 | 26 | 26 | 88
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code | 1 | 1 | 1 | 88
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code | 0 | 0 | 0 | 88
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | % | 89.5 | 89.5 | 89.5 | 87
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | % | 89 | 89 | 89 | 87
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | % | 81 | 81 | 81 | 87
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | % | 90.5 | 90.5 | 90.5 | 87
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | % | 89 | 89 | 89 | 87
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | % | 89.5 | 89.5 | 89.5 | 87
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | % | 89 | 89 | 89 | 87
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | % | 90 | 90 | 90 | 87
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state | 0 | 0 | 0 | 87
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state | 0 | 0 | 0 | 87
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state | 1 | 1 | 1 | 87
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state | 0 | 0 | 0 | 87
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state | 0 | 0 | 0 | 87
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state | 0 | 0 | 0 | 87
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state | 0 | 0 | 0 | 87
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state | 0 | 0 | 0 | 87
MB-L3-01 | L3-AI-01 | Analog Input 1 | V
MB-L3-01 | L3-AI-02 | Analog Input 2 | V
MB-L3-01 | L3-AI-03 | Analog Input 3 | V
MB-L3-01 | L3-AI-04 | Analog Input 4 | V
MB-L3-01 | L3-AI-05 | Analog Input 5 | V
MB-L3-01 | L3-AI-06 | Analog Input 6 | V
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m²
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m²
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C
MB-L3-01 | L3-HFT-01 | Heat Flow 1 | W/m²
MB-L3-01 | L3-HFT-02 | Heat Flow 2 | W/m²
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux
MB-L5-01 | L5-AI-01 | Analog Input 1 | V | 3.05 | 3.05 | 3.05 | 88
MB-L5-01 | L5-AI-02 | Analog Input 2 | V | 3.05 | 3.05 | 3.05 | 88
MB-L5-01 | L5-AI-03 | Analog Input 3 | V | 3.05 | 3.05 | 3.05 | 88
MB-L5-01 | L5-AI-04 | Analog Input 4 | V | 3.05 | 3.05 | 3.05 | 88
MB-L5-01 | L5-AI-05 | Analog Input 5 | V | 3.05 | 3.05 | 3.05 | 88
MB-L5-01 | L5-AI-06 | Analog Input 6 | V | 3.05 | 3.05 | 3.05 | 88
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C | 26.4 | 26.57 | 26.7 | 88
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH | 67.39 | 67.75 | 68.14 | 88
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C | 26.5 | 26.64 | 26.8 | 88
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH | 67.18 | 67.47 | 67.72 | 88
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C | 26.2 | 26.46 | 26.6 | 88
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH | 67.82 | 68.13 | 68.46 | 88
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m² | 1 | 1 | 1 | 88
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m² | 1 | 1 | 1 | 88
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C | 24.64 | 24.99 | 25.52 | 88
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C | 25.41 | 25.64 | 25.88 | 88
MB-L5-01 | L5-HFT-01 | Heat Flow 1 | W/m² | -45.88 | -38.18 | -33.38 | 88
MB-L5-01 | L5-HFT-02 | Heat Flow 2 | W/m² | -31.86 | -29.66 | -28.19 | 88
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C | 27.16 | 27.3 | 27.46 | 88
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C | 27.09 | 27.23 | 27.37 | 88
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C | 26.84 | 27.03 | 27.21 | 88
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux | 0 | 0 | 0 | 88
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux | 0 | 0.1 | 0.1 | 88
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux | 0 | 0.1 | 0.1 | 88
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux | 0 | 0 | 0 | 88
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux | 0.1 | 0.1 | 0.1 | 88
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux | 0 | 0.05 | 0.1 | 88
Sensor Mainboard L3 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V
Sensor Mainboard L3 | PZEM-L3-01-CURR | PZEM L3-01 Current | A
Sensor Mainboard L3 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W
Sensor Mainboard L3 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh
Sensor Mainboard L3 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz
Sensor Mainboard L3 | PZEM-L3-01-PF | PZEM L3-01 Power Factor
Sensor Lampu L3 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V
Sensor Lampu L3 | PZEM-L3-02-CURR | PZEM L3-02 Current | A
Sensor Lampu L3 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W
Sensor Lampu L3 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh
Sensor Lampu L3 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz
Sensor Lampu L3 | PZEM-L3-02-PF | PZEM L3-02 Power Factor
Sensor Mainboard L5 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V | 226.1 | 226.79 | 227.5 | 87
Sensor Mainboard L5 | PZEM-L5-01-CURR | PZEM L5-01 Current | A | 0.1 | 0.11 | 0.11 | 87
Sensor Mainboard L5 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W | 9.1 | 9.6 | 10 | 87
Sensor Mainboard L5 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh | 7.52 | 7.53 | 7.53 | 87
Sensor Mainboard L5 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz | 49.9 | 49.97 | 50 | 87
Sensor Mainboard L5 | PZEM-L5-01-PF | PZEM L5-01 Power Factor |  | 0.38 | 0.39 | 0.41 | 87
Sensor Lampu L5 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V | 226 | 226.71 | 227.5 | 88
Sensor Lampu L5 | PZEM-L5-02-CURR | PZEM L5-02 Current | A | 0 | 0 | 0 | 88
Sensor Lampu L5 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W | 0 | 0 | 0 | 88
Sensor Lampu L5 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh | 10.36 | 10.36 | 10.36 | 88
Sensor Lampu L5 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz | 49.9 | 49.97 | 50 | 88
Sensor Lampu L5 | PZEM-L5-02-PF | PZEM L5-02 Power Factor |  | 0 | 0 | 0 | 88
Sensor Actuator L5 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
Sensor Actuator L5 | PZEM-L5-03-CURR | PZEM L5-03 Current | A | 0.07 | 0.07 | 0.07 | 86
Sensor Actuator L5 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W | 7.6 | 7.6 | 7.6 | 86
Sensor Actuator L5 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh | 3.89 | 3.89 | 3.89 | 86
Sensor Actuator L5 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz | 49.9 | 49.9 | 49.9 | 86
Sensor Actuator L5 | PZEM-L5-03-PF | PZEM L5-03 Power Factor |  | 0.51 | 0.51 | 0.51 | 86
Sensor Pendingin Ruangan | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V | 225.9 | 226.55 | 227.3 | 86
Sensor Pendingin Ruangan | PZEM-L5-04-CURR | PZEM L5-04 Current | A | 0 | 0 | 0 | 86
Sensor Pendingin Ruangan | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W | 0 | 0 | 0 | 86
Sensor Pendingin Ruangan | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh | 5.05 | 5.05 | 5.05 | 86
Sensor Pendingin Ruangan | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz | 49.9 | 49.98 | 50 | 86
Sensor Pendingin Ruangan | PZEM-L5-04-PF | PZEM L5-04 Power Factor |  | 0 | 0 | 0 | 86
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 0.16 | 3.24 | 8.33 | 88
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 21.4 | 21.69 | 22.3 | 88
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 91.7 | 94.52 | 96.1 | 88
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 909 | 909 | 909 | 88
WS-MOD-01 | WS-DIR | Arah Angin | ° | 104.8 | 239.11 | 346.4 | 88

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.