## Data
Timestamp | AC-REMOTE-01 · AC-POWER - AC Power State [state] | AC-REMOTE-01 · AC-SETPOINT - AC Set Temperature [°C] | AC-REMOTE-01 · AC-MODE - AC Operating Mode [code] | AC-REMOTE-01 · AC-FAN - AC Fan Speed [code] | ACT-MOD-01 · ENC-01 - Rotary Encoder 1 [%] | ACT-MOD-01 · ENC-02 - Rotary Encoder 2 [%] | ACT-MOD-01 · ENC-03 - Rotary Encoder 3 [%] | ACT-MOD-01 · ENC-04 - Rotary Encoder 4 [%] | ACT-MOD-01 · ENC-05 - Rotary Encoder 5 [%] | ACT-MOD-01 · ENC-06 - Rotary Encoder 6 [%] | ACT-MOD-01 · ENC-07 - Rotary Encoder 7 [%] | ACT-MOD-01 · ENC-08 - Rotary Encoder 8 [%] | ACT-MOD-01 · MOTOR-01 - Motor Status 1 [state] | ACT-MOD-01 · MOTOR-02 - Motor Status 2 [state] | ACT-MOD-01 · MOTOR-03 - Motor Status 3 [state] | ACT-MOD-01 · MOTOR-04 - Motor Status 4 [state] | ACT-MOD-01 · MOTOR-05 - Motor Status 5 [state] | ACT-MOD-01 · MOTOR-06 - Motor Status 6 [state] | ACT-MOD-01 · MOTOR-07 - Motor Status 7 [state] | ACT-MOD-01 · MOTOR-08 - Motor Status 8 [state] | MB-L3-01 · L3-AI-01 - Analog Input 1 [V] | MB-L3-01 · L3-AI-02 - Analog Input 2 [V] | MB-L3-01 · L3-AI-03 - Analog Input 3 [V] | MB-L3-01 · L3-AI-04 - Analog Input 4 [V] | MB-L3-01 · L3-AI-05 - Analog Input 5 [V] | MB-L3-01 · L3-AI-06 - Analog Input 6 [V] | MB-L3-01 · L3-SHT-01-T - SHT20 1 Temperature [°C] | MB-L3-01 · L3-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L3-01 · L3-SHT-02-T - SHT20 2 Temperature [°C] | MB-L3-01 · L3-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L3-01 · L3-SHT-03-T - SHT20 3 Temperature [°C] | MB-L3-01 · L3-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L3-01 · L3-RAD-01 - Radiation 1 [W/m²] | MB-L3-01 · L3-RAD-02 - Radiation 2 [W/m²] | MB-L3-01 · L3-ST-01 - Surface Temperature 1 [°C] | MB-L3-01 · L3-ST-02 - Surface Temperature 2 [°C] | MB-L3-01 · L3-HFT-01 - Heat Flow 1 [W/m²] | MB-L3-01 · L3-HFT-02 - Heat Flow 2 [W/m²] | MB-L3-01 · L3-BGT-01 - Black Globe Temperature 1 [°C] | MB-L3-01 · L3-BGT-02 - Black Globe Temperature 2 [°C] | MB-L3-01 · L3-BGT-03 - Black Globe Temperature 3 [°C] | MB-L3-01 · L3-LUX-01 - Illuminance / LUX 1 [lux] | MB-L3-01 · L3-LUX-02 - Illuminance / LUX 2 [lux] | MB-L3-01 · L3-LUX-03 - Illuminance / LUX 3 [lux] | MB-L3-01 · L3-LUX-04 - Illuminance / LUX 4 [lux] | MB-L3-01 · L3-LUX-05 - Illuminance / LUX 5 [lux] | MB-L3-01 · L3-LUX-06 - Illuminance / LUX 6 [lux] | MB-L5-01 · L5-AI-01 - Analog Input 1 [V] | MB-L5-01 · L5-AI-02 - Analog Input 2 [V] | MB-L5-01 · L5-AI-03 - Analog Input 3 [V] | MB-L5-01 · L5-AI-04 - Analog Input 4 [V] | MB-L5-01 · L5-AI-05 - Analog Input 5 [V] | MB-L5-01 · L5-AI-06 - Analog Input 6 [V] | MB-L5-01 · L5-SHT-01-T - SHT20 1 Temperature [°C] | MB-L5-01 · L5-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L5-01 · L5-SHT-02-T - SHT20 2 Temperature [°C] | MB-L5-01 · L5-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L5-01 · L5-SHT-03-T - SHT20 3 Temperature [°C] | MB-L5-01 · L5-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L5-01 · L5-RAD-01 - Radiation 1 [W/m²] | MB-L5-01 · L5-RAD-02 - Radiation 2 [W/m²] | MB-L5-01 · L5-ST-01 - Surface Temperature 1 [°C] | MB-L5-01 · L5-ST-02 - Surface Temperature 2 [°C] | MB-L5-01 · L5-HFT-01 - Heat Flow 1 [W/m²] | MB-L5-01 · L5-HFT-02 - Heat Flow 2 [W/m²] | MB-L5-01 · L5-BGT-01 - Black Globe Temperature 1 [°C] | MB-L5-01 · L5-BGT-02 - Black Globe Temperature 2 [°C] | MB-L5-01 · L5-BGT-03 - Black Globe Temperature 3 [°C] | MB-L5-01 · L5-LUX-01 - Illuminance / LUX 1 [lux] | MB-L5-01 · L5-LUX-02 - Illuminance / LUX 2 [lux] | MB-L5-01 · L5-LUX-03 - Illuminance / LUX 3 [lux] | MB-L5-01 · L5-LUX-04 - Illuminance / LUX 4 [lux] | MB-L5-01 · L5-LUX-05 - Illuminance / LUX 5 [lux] | MB-L5-01 · L5-LUX-06 - Illuminance / LUX 6 [lux] | Sensor Mainboard L3 · PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | Sensor Mainboard L3 · PZEM-L3-01-CURR - PZEM L3-01 Current [A] | Sensor Mainboard L3 · PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | Sensor Mainboard L3 · PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | Sensor Mainboard L3 · PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | Sensor Mainboard L3 · PZEM-L3-01-PF - PZEM L3-01 Power Factor | Sensor Lampu L3 · PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | Sensor Lampu L3 · PZEM-L3-02-CURR - PZEM L3-02 Current [A] | Sensor Lampu L3 · PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | Sensor Lampu L3 · PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | Sensor Lampu L3 · PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | Sensor Lampu L3 · PZEM-L3-02-PF - PZEM L3-02 Power Factor | Sensor Mainboard L5 · PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | Sensor Mainboard L5 · PZEM-L5-01-CURR - PZEM L5-01 Current [A] | Sensor Mainboard L5 · PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | Sensor Mainboard L5 · PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | Sensor Mainboard L5 · PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | Sensor Mainboard L5 · PZEM-L5-01-PF - PZEM L5-01 Power Factor | Sensor Lampu L5 · PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | Sensor Lampu L5 · PZEM-L5-02-CURR - PZEM L5-02 Current [A] | Sensor Lampu L5 · PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | Sensor Lampu L5 · PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | Sensor Lampu L5 · PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | Sensor Lampu L5 · PZEM-L5-02-PF - PZEM L5-02 Power Factor | Sensor Actuator L5 · PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | Sensor Actuator L5 · PZEM-L5-03-CURR - PZEM L5-03 Current [A] | Sensor Actuator L5 · PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | Sensor Actuator L5 · PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | Sensor Actuator L5 · PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | Sensor Actuator L5 · PZEM-L5-03-PF - PZEM L5-03 Power Factor | Sensor Pendingin Ruangan · PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | Sensor Pendingin Ruangan · PZEM-L5-04-CURR - PZEM L5-04 Current [A] | Sensor Pendingin Ruangan · PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | Sensor Pendingin Ruangan · PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | Sensor Pendingin Ruangan · PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | Sensor Pendingin Ruangan · PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-MOD-01 · WS-WIND - Kecepatan Angin [m/s] | WS-MOD-01 · WS-TEMP - Suhu Udara [°C] | WS-MOD-01 · WS-RH - Kelembapan Udara [%RH] | WS-MOD-01 · WS-PRES - Tekanan Udara [hPa] | WS-MOD-01 · WS-DIR - Arah Angin [°]
2026-10-10 00:00:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.3 | 79.03 | 24.7 | 77.53 | 24.2 | 79.88 | 1 | 1 | 24.05 | 24.53 | -32.06 | -23.81 | 25.05 | 25.34 | 24.92 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.3 | 0.1 | 9.1 | 7.73 | 49.9 | 0.41 | 224.2 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.1 | 0 | 0 | 5.05 | 50 | 0 | 0.15 | 21.8 | 94 | 908 | 89.2
2026-10-10 00:01:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.4 | 79.24 | 24.7 | 77.53 | 24.2 | 79.67 | 1 | 1 | 24.13 | 24.49 | -32.18 | -24.01 | 25.16 | 25.3 | 24.84 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.4 | 0.1 | 9.6 | 7.73 | 49.9 | 0.42 | 224.3 | 0 | 0 | 10.71 | 49.9 | 0 | [6 empty] | 224.2 | 0 | 0 | 5.05 | 49.9 | 0 | 0.02 | 21.8 | 94 | 908 | 309.3
2026-10-10 00:02:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.5 | 79.13 | 24.6 | 77.54 | 24.3 | 79.67 | 1 | 1 | 24.22 | 24.46 | -31.62 | -24.53 | 25.19 | 25.37 | 25.03 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.5 | 0.1 | 9.3 | 7.73 | 50 | 0.41 | 224.4 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.3 | 0 | 0 | 5.05 | 49.9 | 0 | 0.39 | 21.8 | 94 | 908 | 83.8
2026-10-10 00:03:00 | 1 | 26 | 1 | 0 | [43 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.4 | 79.13 | 24.8 | 77.42 | 24.4 | 79.56 | 1 | 1 | 24.13 | 24.52 | -31.29 | -25.68 | 25.23 | 25.3 | 24.95 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.4 | 0.1 | 9.7 | 7.73 | 49.9 | 0.42 | 224.4 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.1 | 0 | 0 | 5.05 | 49.9 | 0 | 1.13 | 21.8 | 93.9 | 908 | 290.5
2026-10-10 00:04:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.5 | 79.13 | 24.8 | 77.42 | 24.3 | 79.24 | 1 | 1 | 24.34 | 24.46 | -31.56 | -25.13 | 25.19 | 25.3 | 24.98 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.4 | 0.1 | 9.6 | 7.73 | 49.9 | 0.43 | 224.3 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.1 | 0 | 0 | 5.05 | 49.9 | 0 | 1.37 | 21.8 | 93.8 | 908 | 320.1
2026-10-10 00:05:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.5 | 78.92 | 24.7 | 77.53 | 24.3 | 79.14 | 1 | 1 | 24.33 | 24.46 | -31.53 | -25.94 | 25.23 | 25.34 | 25.03 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.5 | 0.1 | 9.6 | 7.73 | 49.9 | 0.43 | 224.4 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.2 | 0 | 0 | 5.05 | 49.9 | 0 | 1.6 | 21.8 | 93.4 | 908 | 255.3
2026-10-10 00:06:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.5 | 78.81 | 24.8 | 77.42 | 24.4 | 79.03 | 1 | 1 | 24.3 | 24.42 | -32.82 | -24.99 | 25.3 | 25.41 | 24.98 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.5 | 0.1 | 9.5 | 7.73 | 49.9 | 0.41 | 224.4 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.2 | 0 | 0 | 5.05 | 49.9 | 0 | 0.38 | 21.8 | 93.3 | 908 | 301.7
2026-10-10 00:07:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.5 | 78.81 | 24.8 | 77.32 | 24.5 | 78.81 | 1 | 1 | 24.36 | 24.55 | -31.2 | -24.96 | 25.38 | 25.45 | 25.13 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.4 | 0.1 | 9.7 | 7.73 | 49.9 | 0.42 | 224.3 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.2 | 0 | 0 | 5.05 | 49.9 | 0 | 0.02 | 21.8 | 93.2 | 908 | 282.2
2026-10-10 00:08:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.5 | 78.71 | 24.8 | 77.21 | 24.5 | 78.81 | 1 | 1 | 24.27 | 24.47 | -31.7 | -24.44 | 25.39 | 25.5 | 25.12 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.4 | 0.1 | 9.2 | 7.73 | 49.9 | 0.41 | 224.4 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.2 | 0 | 0 | 5.05 | 49.9 | 0 | 0.88 | 21.8 | 93.2 | 908 | 242.5
2026-10-10 00:09:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.6 | 78.49 | 24.9 | 77 | 24.6 | 78.49 | 1 | 1 | 24.37 | 24.52 | -31.23 | -24.07 | 25.37 | 25.41 | 25.12 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.5 | 0.1 | 9.4 | 7.73 | 49.9 | 0.41 | 224.5 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.3 | 0 | 0 | 5.05 | 49.9 | 0 | 1.14 | 21.9 | 93.3 | 908 | 273.5
2026-10-10 00:10:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.6 | 78.38 | 24.9 | 77 | 24.6 | 78.49 | 1 | 1 | 24.29 | 24.49 | -32.91 | -24.1 | 25.41 | 25.52 | 25.23 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.6 | 0.1 | 9.6 | 7.73 | 49.9 | 0.41 | 224.4 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.2 | 0 | 0 | 5.05 | 49.9 | 0 | 2.37 | 21.9 | 93.1 | 908 | 264.7
2026-10-10 00:11:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 78.28 | 24.9 | 76.89 | 24.6 | 78.38 | 1 | 1 | 24.27 | 24.46 | -32.32 | -24.47 | 25.34 | 25.43 | 25.13 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.5 | 0.1 | 9.2 | 7.73 | 49.9 | 0.41 | 224.5 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.3 | 0 | 0 | 5.05 | 49.9 | 0 | 1.36 | 21.9 | 93 | 908 | 293.6
2026-10-10 00:12:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 78.06 | 24.9 | 76.78 | 24.6 | 78.17 | 1 | 1 | 24.41 | 24.49 | -31.74 | -24.93 | 25.27 | 25.48 | 25.14 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.6 | 0.1 | 9.3 | 7.73 | 49.9 | 0.41 | 224.4 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.1 | 0 | 0 | 5.05 | 49.9 | 0 | 1.87 | 22 | 92.8 | 908 | 342.8
2026-10-10 00:13:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 78.06 | 24.8 | 76.79 | 24.7 | 78.17 | 1 | 1 | 24.4 | 24.54 | -30.91 | -24.93 | 25.41 | 25.59 | 25.23 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.4 | 0.1 | 9.1 | 7.73 | 49.9 | 0.4 | 224.4 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.3 | 0 | 0 | 5.05 | 49.9 | 0 | 0 | 22 | 92.4 | 908 | 163.4
2026-10-10 00:14:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.95 | 25 | 76.78 | 24.7 | 78.06 | 1 | 1 | 24.38 | 24.49 | -30.58 | -25.42 | 25.49 | 25.56 | 25.18 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.4 | 0.1 | 9.6 | 7.73 | 49.9 | 0.42 | 224.3 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.2 | 0 | 0 | 5.05 | 49.9 | 0 | 0.16 | 22 | 92.2 | 908 | 274.3
2026-10-10 00:15:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.85 | 25.1 | 76.67 | 24.6 | 77.85 | 1 | 1 | 24.42 | 24.49 | -32.82 | -25.42 | 25.43 | 25.59 | 25.25 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.4 | 0.1 | 9.7 | 7.73 | 49.9 | 0.42 | 224.4 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.3 | 0 | 0 | 5.05 | 49.9 | 0 | 0.39 | 22.1 | 92.2 | 908 | 265.7
2026-10-10 00:16:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.64 | 25 | 76.67 | 24.8 | 77.74 | 1 | 1 | 24.4 | 24.45 | -31.64 | -24.1 | 25.56 | 25.63 | 25.31 | 0 | 0.1 | 0 | 0 | 0.1 | 0.1 | [12 empty] | 224.3 | 0.1 | 9.6 | 7.73 | 49.9 | 0.42 | 224.4 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.1 | 0 | 0 | 5.05 | 49.9 | 0 | 0.02 | 22 | 92 | 908 | 309.6
2026-10-10 00:17:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 77.53 | 25 | 76.46 | 24.7 | 77.64 | 1 | 1 | 24.49 | 24.6 | -32.02 | -24.82 | 25.52 | 25.68 | 25.34 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.3 | 0.1 | 9.6 | 7.73 | 49.9 | 0.41 | 224.2 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224 | 0 | 0 | 5.05 | 49.9 | 0 | 0.39 | 22.1 | 91.7 | 908 | 303.7
2026-10-10 00:18:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 76.26 | 25 | 76.36 | 24.8 | 77.42 | 1 | 1 | 24.56 | 24.62 | -30.03 | -24.59 | 25.5 | 25.63 | 25.34 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.6 | 0.1 | 9.2 | 7.73 | 49.9 | 0.41 | 224.5 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.3 | 0 | 0 | 5.05 | 49.9 | 0 | 4.62 | 21.7 | 87.9 | 908 | 15.9
2026-10-10 00:19:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 74.88 | 25 | 75.82 | 24.8 | 76.57 | 1 | 1 | 24.42 | 24.55 | -30.38 | -23.98 | 25.54 | 25.64 | 25.32 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 224.5 | 0.1 | 9.6 | 7.73 | 49.9 | 0.42 | 224.4 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.2 | 0 | 0 | 5.05 | 49.9 | 0 | 1.39 | 21.7 | 88.1 | 908 | 283.1
2026-10-10 00:20:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 74.98 | 25 | 75.4 | 24.8 | 76.36 | 1 | 1 | 24.48 | 24.45 | -29.47 | -25.25 | 25.45 | 25.59 | 25.23 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.7 | 0.1 | 9.1 | 7.73 | 49.9 | 0.41 | 224.5 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.4 | 0 | 0 | 5.05 | 50 | 0 | 1.62 | 21.8 | 88.5 | 908 | 9.4
2026-10-10 00:21:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 75.3 | 25 | 75.08 | 24.7 | 75.94 | 1 | 1 | 24.55 | 24.59 | -28.97 | -24.9 | 25.46 | 25.56 | 25.14 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.8 | 0.1 | 9.6 | 7.73 | 50 | 0.41 | 224.7 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.6 | 0 | 0 | 5.05 | 50 | 0 | 2.62 | 21.8 | 87.5 | 908 | 22.9
2026-10-10 00:22:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 75.09 | 25 | 74.55 | 24.8 | 75.51 | 1 | 1 | 24.56 | 24.41 | -29.23 | -24.18 | 25.36 | 25.5 | 25.05 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.8 | 0.1 | 9.6 | 7.73 | 49.9 | 0.41 | 224.6 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.5 | 0 | 0 | 5.05 | 49.9 | 0 | 1.14 | 21.9 | 87 | 908 | 310.7
2026-10-10 00:23:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 75.3 | 25 | 74.34 | 24.8 | 75.19 | 1 | 1 | 24.59 | 24.45 | -29.82 | -24.96 | 25.45 | 25.44 | 24.98 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.9 | 0.1 | 9.8 | 7.73 | 49.9 | 0.44 | 224.8 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.7 | 0 | 0 | 5.05 | 49.9 | 0 | 2.36 | 21.9 | 86.6 | 908 | 304.9
2026-10-10 00:24:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 75.62 | 25 | 74.23 | 24.7 | 75.2 | 1 | 1 | 24.6 | 24.48 | -29.47 | -24.44 | 25.3 | 25.43 | 25.13 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0 | [12 empty] | 225 | 0.1 | 9.2 | 7.73 | 50 | 0.41 | 224.9 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.9 | 0 | 0 | 5.05 | 50 | 0 | 1.87 | 21.9 | 86.4 | 908 | 250.2
2026-10-10 00:25:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.6 | 75.41 | 25 | 74.13 | 24.7 | 75.2 | 1 | 1 | 24.42 | 24.51 | -29.58 | -25.19 | 25.34 | 25.55 | 25.16 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225 | 0.1 | 9.8 | 7.73 | 49.9 | 0.43 | 224.8 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.7 | 0 | 0 | 5.05 | 49.9 | 0 | 2.11 | 21.9 | 86.2 | 908 | 333.4
2026-10-10 00:26:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 75.62 | 24.9 | 74.13 | 24.6 | 74.67 | 1 | 1 | 24.51 | 24.4 | -30.23 | -24.35 | 25.37 | 25.5 | 25.16 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.8 | 0.1 | 9.9 | 7.73 | 49.9 | 0.42 | 224.7 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.6 | 0 | 0 | 5.05 | 49.9 | 0 | 3.84 | 21.9 | 85.7 | 908 | 318.1
2026-10-10 00:27:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 75.09 | 25 | 74.02 | 24.7 | 74.03 | 1 | 1 | 24.47 | 24.4 | -30.32 | -24.44 | 25.45 | 25.5 | 25.14 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0 | [12 empty] | 224.9 | 0.1 | 9.7 | 7.73 | 50 | 0.42 | 224.8 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.7 | 0 | 0 | 5.05 | 50 | 0 | 2.63 | 21.8 | 85.5 | 908 | 321
2026-10-10 00:28:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 74.88 | 25 | 73.81 | 24.7 | 73.92 | 1 | 1 | 24.44 | 24.46 | -30.41 | -24.16 | 25.32 | 25.46 | 25.18 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225 | 0.1 | 9.5 | 7.73 | 50 | 0.42 | 224.9 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.7 | 0 | 0 | 5.05 | 50 | 0 | 3.6 | 21.8 | 85.6 | 908 | 304.2
2026-10-10 00:29:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 74.67 | 25 | 73.28 | 24.6 | 73.4 | 1 | 1 | 24.52 | 24.41 | -29.82 | -23.81 | 25.28 | 25.43 | 25.18 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225 | 0.1 | 9.7 | 7.73 | 50 | 0.43 | [7 empty] | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.6 | 0 | 0 | 5.05 | 50 | 0 | 3.12 | 21.8 | 85.6 | 908 | 292.7
2026-10-10 00:30:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.6 | 74.14 | 24.9 | 73.17 | 24.6 | 73.5 | 1 | 1 | 24.45 | 24.41 | -30.67 | -23.87 | 25.32 | 25.48 | 25.16 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.8 | 0.1 | 9.7 | 7.73 | 49.9 | 0.42 | 224.7 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.6 | 0 | 0 | 5.05 | 49.9 | 0 | 2.85 | 21.7 | 85.8 | 908 | 307.8
2026-10-10 00:31:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 74.03 | 25 | 73.07 | 24.6 | 73.4 | 1 | 1 | 24.58 | 24.42 | -29.94 | -24.67 | 25.26 | 25.52 | 25.3 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 225.1 | 0.1 | 9 | 7.73 | 49.9 | 0.42 | 224.9 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.8 | 0 | 0 | 5.05 | 50 | 0 | 1.63 | 21.7 | 86.2 | 908 | 325.9
2026-10-10 00:32:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 73.92 | 25 | 72.96 | 24.5 | 73.4 | 1 | 1 | 24.6 | 24.36 | -30.56 | -23.78 | 25.32 | 25.52 | 25.16 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.9 | 0.1 | 9.7 | 7.73 | 49.9 | 0.42 | 224.9 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.7 | 0 | 0 | 5.05 | 49.9 | 0 | 1.61 | 21.7 | 86.5 | 908 | 329.8
2026-10-10 00:33:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 73.61 | 25 | 72.64 | 24.6 | 73.4 | 1 | 1 | 24.44 | 24.53 | -31.23 | -23.55 | 25.21 | 25.41 | 25.21 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 225.1 | 0.1 | 9.1 | 7.74 | 50 | 0.42 | 225 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.9 | 0 | 0 | 5.05 | 50 | 0 | 0.88 | 21.8 | 87.1 | 908 | 0.5
2026-10-10 00:34:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 73.5 | 24.9 | 72.64 | 24.6 | 73.61 | 1 | 1 | 24.41 | 24.46 | -31.56 | -23.87 | 25.19 | 25.44 | 25.18 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225 | 0.1 | 9.1 | 7.74 | 50 | 0.42 | 224.9 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.8 | 0 | 0 | 5.05 | 50 | 0 | 1.88 | 21.8 | 86.7 | 908 | 299.7
2026-10-10 00:35:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 73.29 | 25 | 72.53 | 24.5 | 73.61 | 1 | 1 | 24.54 | 24.45 | -30.02 | -24.3 | 25.3 | 25.45 | 25.23 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.9 | 0.1 | 9 | 7.74 | 49.9 | 0.41 | 224.8 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.7 | 0 | 0 | 5.05 | 49.9 | 0 | 3.34 | 21.8 | 89 | 908 | 292.2
2026-10-10 00:36:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 73.39 | 24.9 | 72.64 | 24.5 | 73.61 | 1 | 1 | 24.55 | 24.37 | -31.7 | -24.27 | 25.27 | 25.41 | 25.19 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 224.9 | 0.1 | 9.1 | 7.74 | 49.9 | 0.42 | 224.8 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.7 | 0 | 0 | 5.05 | 49.9 | 0 | 1.6 | 21.7 | 88.9 | 908 | 290.3
2026-10-10 00:37:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 73.5 | 25 | 72.64 | 24.5 | 73.82 | 1 | 1 | 24.38 | 24.38 | -31.82 | -24.53 | 25.23 | 25.43 | 25.23 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225 | 0.1 | 9.1 | 7.74 | 49.9 | 0.42 | 224.8 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.9 | 0 | 0 | 5.05 | 50 | 0 | 1.36 | 21.7 | 89 | 908 | 308.7
2026-10-10 00:38:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 73.39 | 24.9 | 72.64 | 24.5 | 73.82 | 1 | 1 | 24.4 | 24.42 | -32.32 | -24.79 | 25.26 | 25.45 | 25.19 | 0 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.2 | 0.1 | 9.2 | 7.74 | 50 | 0.42 | [7 empty] | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.9 | 0 | 0 | 5.05 | 50 | 0 | 0.16 | 21.7 | 89.1 | 908 | 333.4
2026-10-10 00:39:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 73.18 | 25 | 72.64 | 24.5 | 73.82 | 1 | 1 | 24.44 | 24.46 | -31.73 | -25.76 | 25.34 | 25.49 | 25.23 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.1 | 0.1 | 9.8 | 7.74 | 49.9 | 0.42 | 225 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 224.8 | 0 | 0 | 5.05 | 49.9 | 0 | 3.1 | 21.7 | 87.6 | 908 | 307.9
2026-10-10 00:40:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 73.39 | 24.8 | 72.54 | 24.6 | 73.82 | 1 | 1 | 24.38 | 24.49 | -30.7 | -26.68 | 25.34 | 25.48 | 25.18 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.1 | 0.1 | 9.5 | 7.74 | 49.9 | 0.41 | 225.1 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225 | 0 | 0 | 5.05 | 49.9 | 0 | 2.36 | 21.6 | 87.5 | 908 | 299.2
2026-10-10 00:41:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 73.29 | 25 | 72.43 | 24.6 | 73.72 | 1 | 1 | 24.47 | 24.45 | -30.97 | -25.82 | 25.34 | 25.55 | 25.28 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [18 empty] | 225.3 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.1 | 0 | 0 | 5.05 | 50 | 0 | 3.33 | 21.7 | 88.4 | 908 | 315.6
2026-10-10 00:42:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 73.28 | 25 | 72.43 | 24.7 | 73.5 | 1 | 1 | 24.35 | 24.38 | -31.55 | -25.68 | 25.39 | 25.55 | 25.36 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.3 | 0.1 | 9.6 | 7.74 | 50 | 0.41 | 225.1 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225 | 0 | 0 | 5.05 | 50 | 0 | 1.86 | 21.8 | 89.6 | 908 | 270.7
2026-10-10 00:43:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 73.18 | 24.9 | 72.43 | 24.6 | 73.5 | 1 | 1 | 24.55 | 24.35 | -30.91 | -24.73 | 25.37 | 25.52 | 25.34 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.4 | 0.1 | 9.1 | 7.74 | 50 | 0.42 | 225.3 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.2 | 0 | 0 | 5.05 | 50 | 0 | 2.85 | 21.7 | 89.4 | 908 | 270.1
2026-10-10 00:44:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 73.07 | 24.9 | 72.33 | 24.6 | 73.29 | 1 | 1 | 24.37 | 24.38 | -31.35 | -25.82 | 25.5 | 25.54 | 25.34 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.2 | 0.1 | 9.2 | 7.74 | 49.9 | 0.42 | 225.1 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.1 | 0 | 0 | 5.05 | 49.9 | 0 | 1.89 | 21.7 | 89.2 | 908 | 310.1
2026-10-10 00:45:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.9 | 72.86 | 25 | 72.22 | 24.7 | 73.08 | 1 | 1 | 24.59 | 24.45 | -31.59 | -25.48 | 25.48 | 25.55 | 25.31 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [18 empty] | 225.3 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.2 | 0 | 0 | 5.05 | 49.9 | 0 | 3.87 | 21.8 | 90.4 | 908 | 280.3
2026-10-10 00:46:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.9 | 72.75 | 24.9 | 72.22 | 24.7 | 73.29 | 1 | 1 | 24.63 | 24.36 | -30.67 | -25.82 | 25.44 | 25.64 | 25.32 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.3 | 0.1 | 9.1 | 7.74 | 50 | 0.41 | 225.3 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.1 | 0 | 0 | 5.05 | 50 | 0 | 2.85 | 21.6 | 89.3 | 908 | 313.3
2026-10-10 00:47:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 72.44 | 25 | 72.22 | 24.8 | 73.28 | 1 | 1 | 24.46 | 24.42 | -30.35 | -25.65 | 25.45 | 25.61 | 25.18 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 225.2 | 0.1 | 9.1 | 7.74 | 49.9 | 0.42 | 225.2 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225 | 0 | 0 | 5.05 | 49.9 | 0 | 2.13 | 21.7 | 90.6 | 908 | 294.5
2026-10-10 00:48:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 72.86 | 25 | 72.11 | 24.7 | 73.18 | 1 | 1 | 24.52 | 24.41 | -29.91 | -25.62 | 25.52 | 25.68 | 25.12 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.4 | 0.1 | 9.8 | 7.74 | 50 | 0.43 | 225.3 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.2 | 0 | 0 | 5.05 | 50 | 0 | 1.13 | 21.5 | 90.1 | 908 | 308.7
2026-10-10 00:49:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 72.86 | 25 | 72 | 24.7 | 72.97 | 1 | 1 | 24.56 | 24.38 | -30.7 | -26.11 | 25.45 | 25.54 | 25.12 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.4 | 0.1 | 9.4 | 7.74 | 50 | 0.43 | 225.4 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.3 | 0 | 0 | 5.05 | 50 | 0 | 2.1 | 21.5 | 89.2 | 908 | 313.6
2026-10-10 00:50:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 72.86 | 25.1 | 72 | 24.7 | 73.29 | 1 | 1 | 24.38 | 24.37 | -30.14 | -25.16 | 25.48 | 25.56 | 25.19 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.8 | 0.1 | 9.8 | 7.74 | 50 | 0.43 | 225.4 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.4 | 0 | 0 | 5.05 | 50 | 0 | 2.61 | 21.4 | 89.7 | 908 | 290.3
2026-10-10 00:51:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 73.08 | 25 | 72 | 24.8 | 73.18 | 1 | 1 | 24.44 | 24.33 | -30.58 | -25.02 | 25.49 | 25.56 | 25.21 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.4 | 0.1 | 9.6 | 7.74 | 49.9 | 0.43 | 225.3 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.2 | 0 | 0 | 5.05 | 49.9 | 0 | 1.35 | 21.5 | 90.4 | 908 | 259.5
2026-10-10 00:52:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 72.97 | 25 | 72.11 | 24.8 | 73.18 | 1 | 1 | 24.4 | 24.35 | -30.44 | -27.26 | 25.39 | 25.54 | 25.19 | 0 | 0.1 | 0 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.5 | 0.1 | 9.6 | 7.74 | 50 | 0.43 | 225.4 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.2 | 0 | 0 | 5.05 | 50 | 0 | 2.11 | 21.4 | 89.9 | 908 | 330.8
2026-10-10 00:53:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 73.18 | 25 | 72 | 24.7 | 73.29 | 1 | 1 | 24.37 | 24.3 | -30.35 | -24.96 | 25.38 | 25.52 | 25.16 | 0 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.6 | 0.1 | 9.5 | 7.74 | 50 | 0.43 | 225.3 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.5 | 0 | 0 | 5.05 | 50 | 0 | 2.12 | 21.4 | 91.2 | 908 | 295.7
2026-10-10 00:54:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 73.18 | 25 | 72.22 | 24.7 | 73.18 | 1 | 1 | 24.56 | 24.38 | -30.38 | -25.25 | 25.37 | 25.54 | 25.14 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.4 | 0.1 | 9.1 | 7.74 | 49.9 | 0.42 | 225.4 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | [6 empty] | 2.6 | 21.3 | 90.9 | 908 | 303.1
2026-10-10 00:55:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 73.07 | 24.9 | 72.01 | 24.8 | 73.18 | 1 | 1 | 24.48 | 24.38 | -30.26 | -25.65 | 25.48 | 25.5 | 25.16 | 0 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.7 | 0.1 | 9.7 | 7.74 | 50 | 0.43 | 225.5 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.4 | 0 | 0 | 5.05 | 50 | 0 | 4.12 | 21.4 | 91.2 | 908 | 305
2026-10-10 00:56:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 73.29 | 25 | 72.22 | 24.8 | 73.18 | 1 | 1 | 24.47 | 24.36 | -30.73 | -25.28 | 25.38 | 25.55 | 25.14 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.7 | 0.1 | 9.4 | 7.74 | 49.9 | 0.42 | 225.5 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.3 | 0 | 0 | 5.05 | 49.9 | 0 | 2.36 | 21.3 | 90.9 | 908 | 297.1
2026-10-10 00:57:00 |  |  |  |  | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 73.29 | 24.9 | 72.22 | 24.7 | 73.29 | 1 | 1 | 24.46 | 24.38 | -31.59 | -25.07 | 25.46 | 25.54 | 25.14 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.7 | 0.1 | 9.1 | 7.74 | 50 | 0.42 | 225.7 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.5 | 0 | 0 | 5.05 | 50 | 0 | 2.63 | 21.5 | 90.8 | 908 | 325.4
2026-10-10 00:58:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 73.28 | 25 | 72.32 | 24.7 | 73.29 | 1 | 1 | 24.45 | 24.33 | -30.88 | -25.05 | 25.45 | 25.5 | 25.19 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.9 | 0.1 | 9.7 | 7.74 | 50 | 0.43 | 225.8 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.5 | 0 | 0 | 5.05 | 50 | 0 | 2.6 | 21.5 | 90.6 | 908 | 281.5
2026-10-10 00:59:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 73.39 | 25 | 72.43 | 24.8 | 73.28 | 1 | 1 | 24.53 | 24.31 | -30.94 | -26.65 | 25.52 | 25.52 | 25.12 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.7 | 0.1 | 9.6 | 7.74 | 50 | 0.43 | 225.7 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.4 | 0 | 0 | 5.05 | 50 | 0 | 2.85 | 21.6 | 90.6 | 908 | 323.2
2026-10-10 01:00:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 73.39 | 25 | 72.32 | 24.7 | 73.29 | 1 | 1 | 24.35 | 24.36 | -30.61 | -26.28 | 25.41 | 25.54 | 25.12 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.7 | 0.1 | 9.6 | 7.74 | 50 | 0.44 | 225.6 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.4 | 0 | 0 | 5.05 | 50 | 0 | 5.11 | 21.6 | 89.9 | 908 | 306.6
2026-10-10 01:01:00 | 1 | 26 | 1 | 0 | [43 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 73.39 | 25 | 72.32 | 24.7 | 73.29 | 1 | 1 | 24.42 | 24.46 | -30.14 | -24.5 | 25.48 | 25.57 | 25.16 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.8 | 0.1 | 9.6 | 7.74 | 50 | 0.44 | 225.7 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.6 | 0 | 0 | 5.05 | 50 | 0 | 1.88 | 21.5 | 90.1 | 908 | 264.5
2026-10-10 01:02:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 73.6 | 25.1 | 72.43 | 24.7 | 73.29 | 1 | 1 | 24.38 | 24.38 | -31.52 | -24.47 | 25.41 | 25.48 | 25.2 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.9 | 0.1 | 9.7 | 7.74 | 50 | 0.43 | 225.7 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.6 | 0 | 0 | 5.05 | 50 | 0 | 2.87 | 21.4 | 90.6 | 908 | 319.5
2026-10-10 01:03:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 73.6 | 25 | 72.43 | 24.7 | 73.61 | 1 | 1 | 24.53 | 24.35 | -31.7 | -25.02 | 25.41 | 25.54 | 25.19 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.9 | 0.1 | 9.4 | 7.74 | 50 | 0.42 | 225.8 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.5 | 0 | 0 | 5.05 | 50 | 0 | 1.14 | 21.5 | 91.4 | 908 | 279.8
2026-10-10 01:04:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 73.5 | 25.1 | 72.53 | 24.8 | 73.39 | 1 | 1 | 24.59 | 24.36 | -30.02 | -25.88 | 25.45 | 25.52 | 25.1 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.9 | 0.1 | 9.9 | 7.74 | 50 | 0.44 | 225.8 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.6 | 0 | 0 | 5.05 | 50 | 0 | 1.38 | 21.4 | 90.9 | 908 | 306
2026-10-10 01:05:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 73.5 | 24.9 | 72.54 | 24.7 | 73.5 | 1 | 1 | 24.45 | 24.29 | -31.2 | -25.05 | 25.44 | 25.5 | 25.14 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.9 | 0.1 | 9.5 | 7.74 | 50 | 0.42 | 225.8 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.7 | 0 | 0 | 5.05 | 50 | 0 | 1.13 | 21.4 | 90.9 | 908 | 294.6
2026-10-10 01:06:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 73.6 | 24.9 | 72.54 | 24.7 | 73.82 | 1 | 1 | 24.42 | 24.33 | -30.14 | -24.93 | 25.41 | 25.46 | 25.23 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 226.1 | 0.1 | 9.7 | 7.74 | 50 | 0.42 | 226 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.8 | 0 | 0 | 5.05 | 50 | 0 | 1.61 | 21.6 | 91.6 | 908 | 261.1
2026-10-10 01:07:00 |  |  |  |  | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 73.5 | 24.9 | 72.64 | 24.7 | 73.82 | 1 | 1 | 24.41 | 24.36 | -31.52 | -25.5 | 25.36 | 25.56 | 25.14 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.9 | 0.1 | 9.2 | 7.74 | 50 | 0.42 | 225.9 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.7 | 0 | 0 | 5.05 | 50 | 0 | 2.13 | 21.5 | 91.3 | 908 | 334.6
2026-10-10 01:08:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 73.71 | 25 | 72.75 | 24.7 | 74.14 | 1 | 1 | 24.41 | 24.37 | -30.08 | -24.56 | 25.26 | 25.52 | 25.18 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 225.9 | 0.1 | 9.2 | 7.74 | 49.9 | 0.42 | 225.9 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.8 | 0 | 0 | 5.05 | 50 | 0 | 0.64 | 21.5 | 91.5 | 908 | 299.8
2026-10-10 01:09:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 73.71 | 24.9 | 72.75 | 24.6 | 74.14 | 1 | 1 | 24.51 | 24.24 | -31.43 | -24.5 | 25.32 | 25.52 | 25.16 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 226.1 | 0.1 | 9.7 | 7.74 | 50 | 0.42 | 226 | 0 | 0 | 10.71 | 50 | 0 | [6 empty] | 225.8 | 0 | 0 | 5.05 | 50 | 0 | 1.37 | 21.6 | 91.7 | 908 | 188.4
2026-10-10 01:10:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 73.92 | 25 | 72.85 | 24.7 | 74.45 | 1 | 1 | 24.44 | 24.36 | -30.73 | -24.5 | 25.27 | 25.48 | 25.16 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.9 | 0.1 | 9.9 | 7.74 | 49.9 | 0.43 | 225.9 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.8 | 0 | 0 | 5.05 | 49.9 | 0 | 1.63 | 21.7 | 91.9 | 908 | 247.8
2026-10-10 01:11:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.9 | 74.02 | 24.9 | 73.07 | 24.6 | 74.67 | 1 | 1 | 24.29 | 24.23 | -31.84 | -24.3 | 25.28 | 25.44 | 25.18 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 | [12 empty] | 226 | 0.1 | 9.7 | 7.74 | 50 | 0.42 | 225.9 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.8 | 0 | 0 | 5.05 | 50 | 0 | 1.37 | 21.7 | 92 | 908 | 30.7
2026-10-10 01:12:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 74.13 | 25 | 73.07 | 24.6 | 74.99 | 1 | 1 | 24.42 | 24.31 | -31.9 | -25.19 | 25.27 | 25.39 | 25.18 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226 | 0.1 | 9.2 | 7.74 | 50 | 0.42 | 225.9 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.8 | 0 | 0 | 5.05 | 50 | 0 | 1.87 | 21.7 | 92.1 | 908 | 340.7
2026-10-10 01:13:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 74.35 | 25.1 | 73.17 | 24.6 | 75.2 | 1 | 1 | 24.28 | 24.28 | -30.61 | -24.5 | 25.23 | 25.38 | 25.16 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 226 | 0.1 | 9.2 | 7.74 | 49.9 | 0.42 | 225.9 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.7 | 0 | 0 | 5.05 | 49.9 | 0 | 1.61 | 21.6 | 92.3 | 908 | 233.8
2026-10-10 01:14:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 74.35 | 25 | 73.49 | 24.6 | 75.41 | 1 | 1 | 24.27 | 24.31 | -31.08 | -24.53 | 25.21 | 25.43 | 25.16 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 226.1 | 0.1 | 9.1 | 7.74 | 50 | 0.41 | 225.9 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.8 | 0 | 0 | 5.05 | 50 | 0 | 1.37 | 21.6 | 92.4 | 908 | 275.3
2026-10-10 01:15:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 74.35 | 24.9 | 73.49 | 24.6 | 75.41 | 1 | 1 | 24.2 | 24.34 | -31.2 | -24.79 | 25.16 | 25.41 | 25.16 | 0 | 0.1 | 0 | 0 | 0.1 | 0.1 | [12 empty] | 226 | 0.1 | 9.1 | 7.74 | 49.9 | 0.42 | 225.9 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.8 | 0 | 0 | 5.05 | 50 | 0 | 0.85 | 21.6 | 92.5 | 908 | 226.5
2026-10-10 01:16:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 74.67 | 24.9 | 73.6 | 24.6 | 75.41 | 1 | 1 | 24.34 | 24.35 | -31.4 | -24.78 | 25.16 | 25.41 | 25.07 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 226.1 | 0.09 | 9.1 | 7.74 | 50 | 0.43 | 225.9 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.8 | 0 | 0 | 5.05 | 50 | 0 | 1.12 | 21.6 | 92.7 | 908 | 231.4
2026-10-10 01:17:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 74.77 | 25 | 73.6 | 24.5 | 75.84 | 1 | 1 | 24.26 | 24.34 | -30.85 | -24.24 | 25.26 | 25.39 | 25.19 | 0 | 0.1 | 0 | 0 | 0.1 | 0.1 | [12 empty] | 226.1 | 0.1 | 9.1 | 7.74 | 50 | 0.41 | 225.9 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.8 | 0 | 0 | 5.05 | 50 | 0 | 2.87 | 21.7 | 92.8 | 908 | 255.9
2026-10-10 01:18:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 74.98 | 24.9 | 73.81 | 24.6 | 75.73 | 1 | 1 | 24.2 | 24.24 | -32.05 | -24.07 | 25.18 | 25.37 | 25.16 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 226 | 0.1 | 9 | 7.74 | 50 | 0.41 | 225.8 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.7 | 0 | 0 | 5.05 | 50 | 0 | 1.38 | 21.7 | 92.8 | 908 | 212.3
2026-10-10 01:19:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 75.09 | 24.9 | 73.92 | 24.5 | 75.73 | 1 | 1 | 24.2 | 24.34 | -33.55 | -24.64 | 25.14 | 25.34 | 25.1 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | [12 empty] | 225.8 | 0.1 | 9.7 | 7.74 | 49.9 | 0.42 | 225.7 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.5 | 0 | 0 | 5.05 | 49.9 | 0 | 1.13 | 21.7 | 92.9 | 908 | 262.8
2026-10-10 01:20:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 75.2 | 25 | 74.13 | 24.6 | 75.73 | 1 | 1 | 24.2 | 24.37 | -32.31 | -25.02 | 25.21 | 25.37 | 25.07 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 225.9 | 0.1 | 9.7 | 7.74 | 49.9 | 0.43 | 225.8 | 0 | 0 | 10.71 | 49.9 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.7 | 0 | 0 | 5.05 | 49.9 | 0 | 0.01 | 21.7 | 92.9 | 908 | 258
2026-10-10 01:21:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 75.41 | 25 | 74.13 | 24.5 | 75.84 | 1 | 1 | 24.15 | 24.3 | -33.2 | -24.64 | 25.23 | 25.41 | 25.03 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 226.2 | 0.1 | 9.7 | 7.74 | 50 | 0.43 | 225.8 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 226 | 0 | 0 | 5.05 | 50 | 0 | 1.14 | 21.7 | 92.9 | 908 | 211.8
2026-10-10 01:22:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 75.52 | 24.9 | 74.24 | 24.7 | 75.94 | 1 | 1 | 24.26 | 24.47 | -32.29 | -24.35 | 25.21 | 25.48 | 25.14 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0 | [12 empty] | 226.1 | 0.1 | 9.2 | 7.74 | 50 | 0.42 | 225.9 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.8 | 0 | 0 | 5.05 | 50 | 0 | 3.09 | 21.7 | 93.1 | 908 | 199.3
2026-10-10 01:23:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 75.52 | 24.9 | 74.34 | 24.5 | 76.16 | 1 | 1 | 24.1 | 24.31 | -32.88 | -24.09 | 25.21 | 25.44 | 25.1 | 0 | 0.1 | 0 | 0.1 | 0.1 | 0.1 | [12 empty] | 226 | 0.1 | 9.2 | 7.74 | 50 | 0.41 | 225.9 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.8 | 0 | 0 | 5.05 | 50 | 0 | 1.38 | 21.7 | 93.2 | 908 | 212.1
2026-10-10 01:24:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 75.62 | 24.9 | 74.34 | 24.6 | 76.16 | 1 | 1 | 24.2 | 24.44 | -32.55 | -23.87 | 25.25 | 25.41 | 25.16 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 226.1 | 0.1 | 9.8 | 7.74 | 50 | 0.43 | 226 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.9 | 0 | 0 | 5.05 | 50 | 0 | 0.87 | 21.6 | 93.1 | 908 | 231.4
2026-10-10 01:25:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 75.62 | 24.9 | 74.55 | 24.5 | 76.16 | 1 | 1 | 24.1 | 24.36 | -33.4 | -23.78 | 25.19 | 25.39 | 25.03 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 226.2 | 0.1 | 9.7 | 7.74 | 50 | 0.42 | 226.1 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.9 | 0 | 0 | 5.05 | 50 | 0 | 0.64 | 21.7 | 93.1 | 908 | 314.8
2026-10-10 01:26:00 | 1 | 26 | 1 | 0 | 89 | 89 | 90.5 | 89 | 89.5 | 89.5 | 90.5 | 89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [27 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.7 | 75.73 | 25 | 74.55 | 24.5 | 76.27 | 1 | 1 | 24.27 | 24.34 | -32.82 | -23.32 | 25.2 | 25.34 | 25.03 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [12 empty] | 226.1 | 0.1 | 9.7 | 7.74 | 50 | 0.42 | 226 | 0 | 0 | 10.71 | 50 | 0 |  | 0.07 | 7.6 | 3.89 | 49.9 | 0.51 | 225.9 | 0 | 0 | 5.05 | 50 | 0 | 0.01 | 21.7 | 93.1 | 908 | 350.4

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-10-10 00:00:00 | To | 2026-10-10 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state | 1 | 1 | 1 | 85
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C | 26 | 26 | 26 | 85
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code | 1 | 1 | 1 | 85
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code | 0 | 0 | 0 | 85
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | % | 89 | 89 | 89 | 85
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | % | 89 | 89 | 89 | 85
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | % | 90 | 90.34 | 90.5 | 85
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | % | 89 | 89 | 89 | 85
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | % | 89.5 | 89.5 | 89.5 | 85
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | % | 89.5 | 89.5 | 89.5 | 85
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | % | 90.5 | 90.5 | 90.5 | 85
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | % | 89 | 89 | 89 | 85
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state | 0 | 0 | 0 | 85
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state | 0 | 0 | 0 | 85
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state | 0 | 0 | 0 | 85
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state | 0 | 0 | 0 | 85
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state | 0 | 0 | 0 | 85
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state | 0 | 0 | 0 | 85
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state | 0 | 0 | 0 | 85
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state | 0 | 0 | 0 | 85
MB-L3-01 | L3-AI-01 | Analog Input 1 | V
MB-L3-01 | L3-AI-02 | Analog Input 2 | V
MB-L3-01 | L3-AI-03 | Analog Input 3 | V
MB-L3-01 | L3-AI-04 | Analog Input 4 | V
MB-L3-01 | L3-AI-05 | Analog Input 5 | V
MB-L3-01 | L3-AI-06 | Analog Input 6 | V
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m²
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m²
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C
MB-L3-01 | L3-HFT-01 | Heat Flow 1 | W/m²
MB-L3-01 | L3-HFT-02 | Heat Flow 2 | W/m²
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux
MB-L5-01 | L5-AI-01 | Analog Input 1 | V | 3.05 | 3.05 | 3.05 | 87
MB-L5-01 | L5-AI-02 | Analog Input 2 | V | 3.05 | 3.05 | 3.05 | 87
MB-L5-01 | L5-AI-03 | Analog Input 3 | V | 3.05 | 3.05 | 3.05 | 87
MB-L5-01 | L5-AI-04 | Analog Input 4 | V | 3.05 | 3.05 | 3.05 | 87
MB-L5-01 | L5-AI-05 | Analog Input 5 | V | 3.05 | 3.05 | 3.05 | 87
MB-L5-01 | L5-AI-06 | Analog Input 6 | V | 3.05 | 3.05 | 3.05 | 87
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C | 24.3 | 24.72 | 24.9 | 87
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH | 72.44 | 74.97 | 79.24 | 87
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C | 24.6 | 24.94 | 25.1 | 87
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH | 72 | 73.96 | 77.54 | 87
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C | 24.2 | 24.62 | 24.8 | 87
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH | 72.97 | 75.21 | 79.88 | 87
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m² | 1 | 1 | 1 | 87
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m² | 1 | 1 | 1 | 87
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C | 24.05 | 24.4 | 24.63 | 87
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C | 24.23 | 24.41 | 24.62 | 87
MB-L5-01 | L5-HFT-01 | Heat Flow 1 | W/m² | -33.55 | -31.14 | -28.97 | 87
MB-L5-01 | L5-HFT-02 | Heat Flow 2 | W/m² | -27.26 | -24.84 | -23.32 | 87
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C | 25.05 | 25.34 | 25.56 | 87
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C | 25.3 | 25.48 | 25.68 | 87
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C | 24.84 | 25.16 | 25.36 | 87
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux | 0 | 0 | 0 | 87
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux | 0 | 0.1 | 0.1 | 87
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux | 0 | 0.09 | 0.1 | 87
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux | 0 | 0.08 | 0.1 | 87
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux | 0.1 | 0.1 | 0.1 | 87
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux | 0 | 0.1 | 0.1 | 87
Sensor Mainboard L3 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V
Sensor Mainboard L3 | PZEM-L3-01-CURR | PZEM L3-01 Current | A
Sensor Mainboard L3 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W
Sensor Mainboard L3 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh
Sensor Mainboard L3 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz
Sensor Mainboard L3 | PZEM-L3-01-PF | PZEM L3-01 Power Factor
Sensor Lampu L3 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V
Sensor Lampu L3 | PZEM-L3-02-CURR | PZEM L3-02 Current | A
Sensor Lampu L3 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W
Sensor Lampu L3 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh
Sensor Lampu L3 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz
Sensor Lampu L3 | PZEM-L3-02-PF | PZEM L3-02 Power Factor
Sensor Mainboard L5 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V | 224.3 | 225.27 | 226.2 | 85
Sensor Mainboard L5 | PZEM-L5-01-CURR | PZEM L5-01 Current | A | 0.09 | 0.1 | 0.1 | 85
Sensor Mainboard L5 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W | 9 | 9.45 | 9.9 | 85
Sensor Mainboard L5 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh | 7.73 | 7.74 | 7.74 | 85
Sensor Mainboard L5 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz | 49.9 | 49.95 | 50 | 85
Sensor Mainboard L5 | PZEM-L5-01-PF | PZEM L5-01 Power Factor |  | 0.4 | 0.42 | 0.44 | 85
Sensor Lampu L5 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V | 224.2 | 225.17 | 226.1 | 85
Sensor Lampu L5 | PZEM-L5-02-CURR | PZEM L5-02 Current | A | 0 | 0 | 0 | 85
Sensor Lampu L5 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W | 0 | 0 | 0 | 85
Sensor Lampu L5 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh | 10.71 | 10.71 | 10.71 | 85
Sensor Lampu L5 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz | 49.9 | 49.95 | 50 | 85
Sensor Lampu L5 | PZEM-L5-02-PF | PZEM L5-02 Power Factor |  | 0 | 0 | 0 | 85
Sensor Actuator L5 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
Sensor Actuator L5 | PZEM-L5-03-CURR | PZEM L5-03 Current | A | 0.07 | 0.07 | 0.07 | 85
Sensor Actuator L5 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W | 7.6 | 7.6 | 7.6 | 85
Sensor Actuator L5 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh | 3.89 | 3.89 | 3.89 | 85
Sensor Actuator L5 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz | 49.9 | 49.9 | 49.9 | 85
Sensor Actuator L5 | PZEM-L5-03-PF | PZEM L5-03 Power Factor |  | 0.51 | 0.51 | 0.51 | 85
Sensor Pendingin Ruangan | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V | 224 | 225.03 | 226 | 86
Sensor Pendingin Ruangan | PZEM-L5-04-CURR | PZEM L5-04 Current | A | 0 | 0 | 0 | 86
Sensor Pendingin Ruangan | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W | 0 | 0 | 0 | 86
Sensor Pendingin Ruangan | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh | 5.05 | 5.05 | 5.05 | 86
Sensor Pendingin Ruangan | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz | 49.9 | 49.96 | 50 | 86
Sensor Pendingin Ruangan | PZEM-L5-04-PF | PZEM L5-04 Power Factor |  | 0 | 0 | 0 | 86
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 0 | 1.77 | 5.11 | 87
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 21.3 | 21.7 | 22.1 | 87
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 85.5 | 90.55 | 94 | 87
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 908 | 908 | 908 | 87
WS-MOD-01 | WS-DIR | Arah Angin | ° | 0.5 | 266.28 | 350.4 | 87

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.