## Data
Timestamp | AC-REMOTE-01 · AC-POWER - AC Power State [state] | AC-REMOTE-01 · AC-SETPOINT - AC Set Temperature [°C] | AC-REMOTE-01 · AC-MODE - AC Operating Mode [code] | AC-REMOTE-01 · AC-FAN - AC Fan Speed [code] | ACT-MOD-01 · ENC-01 - Rotary Encoder 1 [%] | ACT-MOD-01 · ENC-02 - Rotary Encoder 2 [%] | ACT-MOD-01 · ENC-03 - Rotary Encoder 3 [%] | ACT-MOD-01 · ENC-04 - Rotary Encoder 4 [%] | ACT-MOD-01 · ENC-05 - Rotary Encoder 5 [%] | ACT-MOD-01 · ENC-06 - Rotary Encoder 6 [%] | ACT-MOD-01 · ENC-07 - Rotary Encoder 7 [%] | ACT-MOD-01 · ENC-08 - Rotary Encoder 8 [%] | ACT-MOD-01 · MOTOR-01 - Motor Status 1 [state] | ACT-MOD-01 · MOTOR-02 - Motor Status 2 [state] | ACT-MOD-01 · MOTOR-03 - Motor Status 3 [state] | ACT-MOD-01 · MOTOR-04 - Motor Status 4 [state] | ACT-MOD-01 · MOTOR-05 - Motor Status 5 [state] | ACT-MOD-01 · MOTOR-06 - Motor Status 6 [state] | ACT-MOD-01 · MOTOR-07 - Motor Status 7 [state] | ACT-MOD-01 · MOTOR-08 - Motor Status 8 [state] | MB-L3-01 · L3-AI-01 - Analog Input 1 [V] | MB-L3-01 · L3-AI-02 - Analog Input 2 [V] | MB-L3-01 · L3-AI-03 - Analog Input 3 [V] | MB-L3-01 · L3-AI-04 - Analog Input 4 [V] | MB-L3-01 · L3-AI-05 - Analog Input 5 [V] | MB-L3-01 · L3-AI-06 - Analog Input 6 [V] | MB-L3-01 · L3-SHT-01-T - SHT20 1 Temperature [°C] | MB-L3-01 · L3-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L3-01 · L3-SHT-02-T - SHT20 2 Temperature [°C] | MB-L3-01 · L3-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L3-01 · L3-SHT-03-T - SHT20 3 Temperature [°C] | MB-L3-01 · L3-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L3-01 · L3-RAD-01 - Radiation 1 [W/m²] | MB-L3-01 · L3-RAD-02 - Radiation 2 [W/m²] | MB-L3-01 · L3-ST-01 - Surface Temperature 1 [°C] | MB-L3-01 · L3-ST-02 - Surface Temperature 2 [°C] | MB-L3-01 · L3-HFT-01 - Heat Flow 1 [W/m²] | MB-L3-01 · L3-HFT-02 - Heat Flow 2 [W/m²] | MB-L3-01 · L3-BGT-01 - Black Globe Temperature 1 [°C] | MB-L3-01 · L3-BGT-02 - Black Globe Temperature 2 [°C] | MB-L3-01 · L3-BGT-03 - Black Globe Temperature 3 [°C] | MB-L3-01 · L3-LUX-01 - Illuminance / LUX 1 [lux] | MB-L3-01 · L3-LUX-02 - Illuminance / LUX 2 [lux] | MB-L3-01 · L3-LUX-03 - Illuminance / LUX 3 [lux] | MB-L3-01 · L3-LUX-04 - Illuminance / LUX 4 [lux] | MB-L3-01 · L3-LUX-05 - Illuminance / LUX 5 [lux] | MB-L3-01 · L3-LUX-06 - Illuminance / LUX 6 [lux] | MB-L5-01 · L5-AI-01 - Analog Input 1 [V] | MB-L5-01 · L5-AI-02 - Analog Input 2 [V] | MB-L5-01 · L5-AI-03 - Analog Input 3 [V] | MB-L5-01 · L5-AI-04 - Analog Input 4 [V] | MB-L5-01 · L5-AI-05 - Analog Input 5 [V] | MB-L5-01 · L5-AI-06 - Analog Input 6 [V] | MB-L5-01 · L5-SHT-01-T - SHT20 1 Temperature [°C] | MB-L5-01 · L5-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L5-01 · L5-SHT-02-T - SHT20 2 Temperature [°C] | MB-L5-01 · L5-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L5-01 · L5-SHT-03-T - SHT20 3 Temperature [°C] | MB-L5-01 · L5-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L5-01 · L5-RAD-01 - Radiation 1 [W/m²] | MB-L5-01 · L5-RAD-02 - Radiation 2 [W/m²] | MB-L5-01 · L5-ST-01 - Surface Temperature 1 [°C] | MB-L5-01 · L5-ST-02 - Surface Temperature 2 [°C] | MB-L5-01 · L5-HFT-01 - Heat Flow 1 [W/m²] | MB-L5-01 · L5-HFT-02 - Heat Flow 2 [W/m²] | MB-L5-01 · L5-BGT-01 - Black Globe Temperature 1 [°C] | MB-L5-01 · L5-BGT-02 - Black Globe Temperature 2 [°C] | MB-L5-01 · L5-BGT-03 - Black Globe Temperature 3 [°C] | MB-L5-01 · L5-LUX-01 - Illuminance / LUX 1 [lux] | MB-L5-01 · L5-LUX-02 - Illuminance / LUX 2 [lux] | MB-L5-01 · L5-LUX-03 - Illuminance / LUX 3 [lux] | MB-L5-01 · L5-LUX-04 - Illuminance / LUX 4 [lux] | MB-L5-01 · L5-LUX-05 - Illuminance / LUX 5 [lux] | MB-L5-01 · L5-LUX-06 - Illuminance / LUX 6 [lux] | MB-L5-01 · L5-RAD-03 - Radiasi Luar Barat [W/m²] | MB-L5-01 · L5-RAD-04 - Radiasi Luar Utara [W/m²] | Sensor Mainboard L3 · PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | Sensor Mainboard L3 · PZEM-L3-01-CURR - PZEM L3-01 Current [A] | Sensor Mainboard L3 · PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | Sensor Mainboard L3 · PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | Sensor Mainboard L3 · PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | Sensor Mainboard L3 · PZEM-L3-01-PF - PZEM L3-01 Power Factor | Sensor Lampu L3 · PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | Sensor Lampu L3 · PZEM-L3-02-CURR - PZEM L3-02 Current [A] | Sensor Lampu L3 · PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | Sensor Lampu L3 · PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | Sensor Lampu L3 · PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | Sensor Lampu L3 · PZEM-L3-02-PF - PZEM L3-02 Power Factor | Sensor Daya AC L3 · PZEM-L3-03-VOLT - PZEM L3-03 Voltage [V] | Sensor Daya AC L3 · PZEM-L3-03-CURR - PZEM L3-03 Current [A] | Sensor Daya AC L3 · PZEM-L3-03-POWER - PZEM L3-03 Active Power [W] | Sensor Daya AC L3 · PZEM-L3-03-ENERGY - PZEM L3-03 Energy [kWh] | Sensor Daya AC L3 · PZEM-L3-03-FREQ - PZEM L3-03 Frequency [Hz] | Sensor Daya AC L3 · PZEM-L3-03-PF - PZEM L3-03 Power Factor | Sensor Mainboard L5 · PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | Sensor Mainboard L5 · PZEM-L5-01-CURR - PZEM L5-01 Current [A] | Sensor Mainboard L5 · PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | Sensor Mainboard L5 · PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | Sensor Mainboard L5 · PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | Sensor Mainboard L5 · PZEM-L5-01-PF - PZEM L5-01 Power Factor | Sensor Lampu L5 · PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | Sensor Lampu L5 · PZEM-L5-02-CURR - PZEM L5-02 Current [A] | Sensor Lampu L5 · PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | Sensor Lampu L5 · PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | Sensor Lampu L5 · PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | Sensor Lampu L5 · PZEM-L5-02-PF - PZEM L5-02 Power Factor | Sensor Actuator L5 · PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | Sensor Actuator L5 · PZEM-L5-03-CURR - PZEM L5-03 Current [A] | Sensor Actuator L5 · PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | Sensor Actuator L5 · PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | Sensor Actuator L5 · PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | Sensor Actuator L5 · PZEM-L5-03-PF - PZEM L5-03 Power Factor | Sensor Pendingin Ruangan · PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | Sensor Pendingin Ruangan · PZEM-L5-04-CURR - PZEM L5-04 Current [A] | Sensor Pendingin Ruangan · PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | Sensor Pendingin Ruangan · PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | Sensor Pendingin Ruangan · PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | Sensor Pendingin Ruangan · PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-MOD-01 · WS-WIND - Kecepatan Angin [m/s] | WS-MOD-01 · WS-TEMP - Suhu Udara [°C] | WS-MOD-01 · WS-RH - Kelembapan Udara [%RH] | WS-MOD-01 · WS-PRES - Tekanan Udara [hPa] | WS-MOD-01 · WS-DIR - Arah Angin [°]
2026-11-02 00:00:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 73.82 | 24.9 | 75.32 | 1 | 0 | 29.44 | 24.65 | -8.16 | -11.41 | 29.27 | 28.67 | 27.87 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.9 | 0.11 | 11 | 0.9 | 50 | 0.45 | 220.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:01:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 73.93 | 24.9 | 75.32 | 1 | 0 | 29.45 | 24.65 | -8.6 | -10.18 | 29.19 | 28.69 | 27.89 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.9 | 0.11 | 10.9 | 0.9 | 50 | 0.45 | 220.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:02:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25.1 | 73.93 | 24.7 | 75.45 | 1 | 0 | 29.44 | 24.65 | -8.32 | -11.63 | 29.23 | 28.65 | 27.91 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.9 | 0.11 | 10.8 | 0.9 | 50 | 0.45 | 220.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:03:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.33 | 25 | 73.82 | 24.8 | 75.44 | 1 | 0 | 29.44 | 24.7 | -8.63 | -11.29 | 29.23 | 28.66 | 27.9 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222 | 0.11 | 10.8 | 0.9 | 50 | 0.45 | 221 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:04:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 75.44 | 25 | 73.93 | 24.8 | 75.56 | 1 | 0 | 29.4 | 24.65 | -7.35 | -11.81 | 29.12 | 28.59 | 27.78 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222 | 0.11 | 10.9 | 0.9 | 50 | 0.45 | 221 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:05:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 75.44 | 25.1 | 73.93 | 24.8 | 75.44 | 1 | 0 | 29.37 | 24.67 | -8.98 | -10.8 | 29.23 | 28.66 | 27.9 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.1 | 0.11 | 10.9 | 0.9 | 50 | 0.45 | 221 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:06:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 75.44 | 25 | 73.93 | 24.8 | 75.44 | 1 | 0 | 29.37 | 24.62 | -8.04 | -11.29 | 29.2 | 28.64 | 27.89 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.1 | 0.11 | 10.8 | 0.9 | 50 | 0.45 | 221.1 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:07:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.33 | 24.9 | 73.83 | 24.8 | 75.56 | 1 | 0 | 29.37 | 24.6 | -7.97 | -10.55 | 29.26 | 28.66 | 27.89 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.7 | 0.11 | 11 | 0.9 | 50 | 0.46 | 220.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:08:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 24.9 | 73.94 | 24.8 | 75.44 | 1 | 1 | 29.33 | 24.66 | -8.79 | -11.38 | 29.21 | 28.62 | 27.8 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.7 | 0.11 | 10.8 | 0.9 | 50 | 0.45 | 220.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:09:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 75.44 | 25 | 73.93 | 24.8 | 75.68 | 1 | 0 | 29.34 | 24.63 | -8.51 | -10.76 | 29.21 | 28.64 | 27.9 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.7 | 0.11 | 10.9 | 0.9 | 50 | 0.46 | 220.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:10:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.33 | 25 | 73.93 | 24.8 | 75.56 | 1 | 1 | 29.3 | 24.6 | -8.54 | -11.5 | 29.12 | 28.66 | 27.9 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.5 | 0.11 | 11 | 0.9 | 50 | 0.45 | 220.5 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:11:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25.1 | 73.93 | 24.7 | 75.68 | 1 | 0 | 29.3 | 24.67 | -7.82 | -11.29 | 29.14 | 28.7 | 27.85 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.6 | 0.11 | 11 | 0.9 | 50 | 0.46 | 220.5 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:12:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 74.05 | 24.8 | 75.44 | 1 | 1 | 29.32 | 24.65 | -7.16 | -12.15 | 29.19 | 28.62 | 27.89 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.6 | 0.11 | 10.9 | 0.9 | 50 | 0.46 | 220.5 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:13:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 75.55 | 25 | 73.93 | 24.8 | 75.56 | 1 | 0 | 29.41 | 24.6 | -7.69 | -11.2 | 29.19 | 28.59 | 27.87 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.5 | 0.11 | 10.8 | 0.9 | 50 | 0.45 | 220.5 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:14:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 74.05 | 24.8 | 75.68 | 1 | 0 | 29.55 | 24.59 | -7.63 | -10.89 | 29.16 | 28.62 | 27.87 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.6 | 0.11 | 11 | 0.9 | 50 | 0.46 | 220.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:15:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 74.05 | 24.8 | 75.44 | 1 | 0 | 29.4 | 24.73 | -7.19 | -10.27 | 29.17 | 28.6 | 27.89 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.7 | 0.11 | 10.7 | 0.91 | 50 | 0.45 | 220.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:16:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.68 | 25 | 74.05 | 24.7 | 75.57 | 1 | 1 | 29.37 | 24.72 | -8.29 | -13.11 | 29.23 | 28.62 | 27.92 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.7 | 0.11 | 10.8 | 0.91 | 50 | 0.45 | 220.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:17:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 24.9 | 73.94 | 24.7 | 75.57 | 1 | 0 | 29.5 | 24.66 | -8.26 | -11.29 | 29.21 | 28.65 | 27.83 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.6 | 0.11 | 11.1 | 0.91 | 50 | 0.46 | 220.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:18:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 75.32 | 24.9 | 74.06 | 24.8 | 75.56 | 1 | 0 | 29.45 | 24.69 | -7.06 | -10.21 | 29.23 | 28.66 | 27.89 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.5 | 0.11 | 11.1 | 0.91 | 50 | 0.46 | 220.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:19:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.33 | 25 | 73.93 | 24.8 | 75.56 | 1 | 0 | 29.5 | 24.7 | -7.19 | -10.58 | 29.14 | 28.67 | 27.91 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.7 | 0.11 | 10.8 | 0.91 | 50 | 0.45 | 220.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:20:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 24.9 | 73.94 | 24.8 | 75.56 | 1 | 0 | 29.46 | 24.74 | -6.75 | -9.5 | 29.27 | 28.73 | 27.83 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.9 | 0.11 | 10.8 | 0.91 | 50 | 0.45 | 220.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:21:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.45 | 25 | 73.93 | 24.8 | 75.56 | 0 | 0 | 29.51 | 24.77 | -7.25 | -10.24 | 29.16 | 28.62 | 27.8 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.8 | 0.11 | 10.8 | 0.91 | 50 | 0.45 | 220.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:22:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 73.93 | 24.8 | 75.56 | 1 | 0 | 29.52 | 24.73 | -7.25 | -11.32 | 29.12 | 28.66 | 27.87 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.7 | 0.11 | 10.8 | 0.91 | 50 | 0.45 | 220.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:23:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 73.93 | 24.8 | 75.68 | 1 | 1 | 29.46 | 24.82 | -6.9 | -11.29 | 29.23 | 28.58 | 27.87 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.6 | 0.11 | 11 | 0.91 | 50 | 0.46 | 220.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:24:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25.1 | 73.93 | 24.8 | 75.44 | 1 | 0 | 29.55 | 24.8 | -7.19 | -10.21 | 29.2 | 28.6 | 27.8 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.6 | 0.11 | 10.9 | 0.91 | 50 | 0.46 | 220.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:25:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 73.93 | 24.9 | 75.44 | 1 | 0 | 29.5 | 24.73 | -7.44 | -9.03 | 29.09 | 28.59 | 27.84 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.7 | 0.11 | 10.9 | 0.91 | 50 | 0.45 | 220.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:26:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 73.93 | 24.8 | 75.56 | 1 | 0 | 29.45 | 24.78 | -7.25 | -9.03 | 29.12 | 28.65 | 27.9 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.7 | 0.11 | 10.7 | 0.91 | 50 | 0.45 | 220.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:27:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.34 | 25 | 73.93 | 24.9 | 75.44 | 1 | 0 | 29.62 | 24.82 | -7.03 | -12.18 | 29.12 | 28.62 | 27.87 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.8 | 0.11 | 10.9 | 0.91 | 50 | 0.46 | 220.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:28:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25.1 | 74.04 | 24.7 | 75.57 | 1 | 0 | 29.46 | 24.82 | -7.16 | -10.09 | 29.14 | 28.62 | 27.85 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.8 | 0.11 | 11.2 | 0.91 | 50 | 0.46 | 220.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:29:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 74.05 | 24.8 | 75.68 | 1 | 0 | 29.48 | 24.8 | -7.41 | -9.87 | 29.12 | 28.58 | 27.78 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.8 | 0.11 | 11.3 | 0.91 | 49.9 | 0.47 | 220.8 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:30:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.33 | 24.9 | 73.83 | 24.8 | 75.44 | 0 | 1 | 29.5 | 24.84 | -6.5 | -11.56 | 29.21 | 28.57 | 27.8 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.9 | 0.11 | 11.2 | 0.91 | 50 | 0.46 | 220.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:31:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 75.44 | 25.1 | 73.93 | 24.8 | 75.56 | 1 | 1 | 29.57 | 24.8 | -6.43 | -9.44 | 29.16 | 28.6 | 27.82 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.8 | 0.11 | 11 | 0.91 | 50 | 0.45 | 220.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:32:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 73.93 | 24.8 | 75.56 | 1 | 1 | 29.58 | 24.83 | -6.65 | -9.81 | 29.12 | 28.62 | 27.85 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.9 | 0.11 | 11 | 0.91 | 50 | 0.45 | 220.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:33:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 75.44 | 25 | 74.05 | 24.8 | 75.44 | 1 | 0 | 29.57 | 24.8 | -5.74 | -8.73 | 29.19 | 28.6 | 27.82 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.9 | 0.11 | 10.9 | 0.91 | 50 | 0.47 | 220.8 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:34:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 75.32 | 24.9 | 73.94 | 24.8 | 75.56 | 1 | 0 | 29.58 | 24.89 | -6.37 | -10.27 | 29.12 | 28.58 | 27.82 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.8 | 0.11 | 10.9 | 0.91 | 50 | 0.46 | 220.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:35:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.56 | 24.9 | 73.94 | 24.9 | 75.67 | 0 | 1 | 29.52 | 24.83 | -6.21 | -9.13 | 29.16 | 28.53 | 27.83 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222 | 0.11 | 10.9 | 0.91 | 50 | 0.46 | 221 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:36:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.33 | 25.1 | 73.81 | 24.9 | 75.44 | 1 | 1 | 29.62 | 24.84 | -6.21 | -9.25 | 29.14 | 28.53 | 27.83 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222 | 0.11 | 10.8 | 0.91 | 50 | 0.46 | 221 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:37:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.22 | 25.1 | 74.04 | 24.8 | 75.44 | 1 | 0 | 29.59 | 24.84 | -5.71 | -10.33 | 29.2 | 28.62 | 27.87 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.1 | 0.11 | 10.9 | 0.91 | 50 | 0.46 | 221.1 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:38:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.33 | 25 | 73.93 | 24.8 | 75.56 | 1 | 0 | 29.58 | 24.84 | -6.02 | -9.34 | 29.24 | 28.52 | 27.83 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.2 | 0.11 | 11 | 0.91 | 50 | 0.46 | 221.2 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:39:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 75.44 | 25 | 73.93 | 24.8 | 75.68 | 0 | 0 | 29.66 | 24.87 | -6.15 | -10.3 | 29.2 | 28.52 | 27.82 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.2 | 0.11 | 10.9 | 0.91 | 50 | 0.45 | 221.2 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:40:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.34 | 25 | 73.93 | 24.8 | 75.56 | 1 | 1 | 29.76 | 24.9 | -5.71 | -10.58 | 29.12 | 28.55 | 27.87 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222 | 0.11 | 10.9 | 0.91 | 50 | 0.45 | 221 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:41:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 73.93 | 24.8 | 75.44 | 1 | 0 | 29.7 | 24.87 | -6.37 | -9.03 | 29.19 | 28.58 | 27.87 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.9 | 0.11 | 10.9 | 0.91 | 50 | 0.45 | 220.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:42:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.57 | 25 | 73.93 | 24.8 | 75.44 | 0 | 0 | 29.7 | 24.9 | -5.96 | -9.47 | 29.19 | 28.6 | 27.78 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.9 | 0.11 | 10.8 | 0.91 | 50 | 0.45 | 220.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:43:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 73.93 | 24.8 | 75.56 | 1 | 0 | 29.74 | 24.92 | -6.37 | -9.03 | 29.09 | 28.59 | 27.85 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222 | 0.11 | 10.8 | 0.91 | 50 | 0.45 | 221 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:44:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 24.9 | 73.94 | 24.8 | 75.56 | 1 | 0 | 29.63 | 24.84 | -5.64 | -9.56 | 29.14 | 28.64 | 27.87 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.9 | 0.11 | 10.9 | 0.91 | 50 | 0.45 | 221 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:45:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.56 | 25 | 73.93 | 24.7 | 75.68 | 1 | 1 | 29.71 | 24.89 | -5.96 | -8.91 | 29.14 | 28.51 | 27.85 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.1 | 0.11 | 11.1 | 0.91 | 50 | 0.46 | 221 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:46:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 75.55 | 25 | 73.93 | 24.7 | 75.57 | 1 | 1 | 29.66 | 24.92 | -6.18 | -9.71 | 29.12 | 28.58 | 27.82 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 221.9 | 0.11 | 10.9 | 0.91 | 50 | 0.45 | 220.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:47:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 73.93 | 24.7 | 75.68 | 1 | 0 | 29.71 | 24.84 | -6.21 | -8.91 | 29.23 | 28.58 | 27.8 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222 | 0.11 | 10.9 | 0.91 | 50 | 0.45 | 221 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:48:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.56 | 24.9 | 73.94 | 24.8 | 75.56 | 1 | 1 | 29.69 | 24.87 | -5.33 | -9.71 | 29.14 | 28.48 | 27.87 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222 | 0.11 | 10.9 | 0.91 | 50 | 0.45 | 221 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:49:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 24.9 | 73.94 | 24.8 | 75.44 | 1 | 0 | 29.59 | 24.82 | -5.3 | -9.65 | 29.17 | 28.51 | 27.78 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222 | 0.11 | 11.2 | 0.91 | 50 | 0.47 | 221 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:50:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 75.44 | 24.9 | 73.94 | 24.8 | 75.56 | 1 | 1 | 29.71 | 24.91 | -6.97 | -8.26 | 29.16 | 28.59 | 27.84 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.1 | 0.11 | 11.3 | 0.91 | 50 | 0.47 | 221 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:51:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 75.44 | 25 | 73.93 | 24.8 | 75.56 | 1 | 0 | 29.62 | 24.9 | -5.58 | -10.08 | 29.16 | 28.53 | 27.73 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.1 | 0.11 | 11 | 0.91 | 50 | 0.46 | 221 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:52:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 73.93 | 24.9 | 75.67 | 1 | 0 | 29.66 | 24.92 | -5.74 | -8.91 | 29.15 | 28.57 | 27.87 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.1 | 0.11 | 11 | 0.91 | 50 | 0.46 | 221.2 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:53:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.33 | 25 | 73.82 | 24.8 | 75.56 | 1 | 0 | 29.71 | 24.94 | -5.49 | -7.68 | 29.09 | 28.6 | 27.85 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.1 | 0.11 | 10.9 | 0.91 | 50 | 0.46 | 221.2 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:54:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 73.93 | 24.7 | 75.68 | 1 | 1 | 29.69 | 24.94 | -6.43 | -8.72 | 29.14 | 28.52 | 27.78 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.2 | 0.11 | 11 | 0.91 | 50 | 0.47 | 221.2 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:55:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.33 | 25 | 73.93 | 24.8 | 75.56 | 1 | 0 | 29.65 | 24.98 | -5.96 | -8.69 | 29.23 | 28.57 | 27.85 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.3 | 0.11 | 10.9 | 0.91 | 50 | 0.47 | 221.2 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:56:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.45 | 25 | 74.05 | 24.7 | 75.57 | 1 | 0 | 29.76 | 24.91 | -5.87 | -9.19 | 29.1 | 28.53 | 27.78 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.3 | 0.11 | 10.9 | 0.91 | 50 | 0.46 | 221.4 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:57:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 75.44 | 24.9 | 73.94 | 24.8 | 75.56 | 1 | 0 | 29.73 | 24.94 | -6.43 | -8.39 | 29.15 | 28.59 | 27.72 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.4 | 0.11 | 11 | 0.91 | 50 | 0.47 | 221.4 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:58:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 73.82 | 24.8 | 75.56 | 1 | 0 | 29.71 | 24.92 | -5.45 | -9 | 29.12 | 28.62 | 27.8 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.3 | 0.11 | 11.2 | 0.91 | 50 | 0.47 | 221.3 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 00:59:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 24.9 | 73.94 | 24.7 | 75.57 | 1 | 0 | 29.72 | 24.92 | -5.58 | -9.13 | 29.15 | 28.59 | 27.76 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.3 | 0.11 | 10.9 | 0.91 | 50 | 0.46 | 221.3 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:00:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.6 | 75.58 | 24.9 | 73.83 | 24.7 | 75.8 | 1 | 1 | 29.73 | 24.96 | -6.37 | -8.88 | 29.15 | 28.53 | 27.76 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.3 | 0.11 | 10.9 | 0.91 | 50 | 0.46 | 221.3 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:01:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 73.93 | 24.7 | 75.57 | 1 | 0 | 29.74 | 24.89 | -5.3 | -9.84 | 29.17 | 28.53 | 27.8 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.3 | 0.11 | 10.8 | 0.91 | 50 | 0.46 | 221.3 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:02:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 73.82 | 24.7 | 75.57 | 1 | 1 | 29.73 | 24.94 | -5.3 | -9.13 | 29.12 | 28.48 | 27.85 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.2 | 0.11 | 10.8 | 0.91 | 50 | 0.46 | 221.2 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:03:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.33 | 25 | 73.93 | 24.7 | 75.57 | 1 | 0 | 29.77 | 24.95 | -5.99 | -8.91 | 29.17 | 28.53 | 27.8 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.3 | 0.11 | 10.8 | 0.91 | 50 | 0.45 | 221.3 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:04:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.33 | 25 | 73.93 | 24.8 | 75.44 | 1 | 1 | 29.69 | 24.92 | -5.33 | -9.13 | 29.15 | 28.55 | 27.83 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.4 | 0.11 | 11.1 | 0.91 | 50 | 0.45 | 221.3 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:05:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.45 | 25 | 73.82 | 24.7 | 75.57 | 0 | 0 | 29.67 | 24.9 | -5.49 | -9.56 | 29.12 | 28.59 | 27.8 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.3 | 0.11 | 10.8 | 0.91 | 50 | 0.45 | 221.4 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:06:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.56 | 25 | 73.93 | 24.8 | 75.68 | 1 | 0 | 29.79 | 24.87 | -5.33 | -9.44 | 29.07 | 28.58 | 27.77 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.6 | 0.11 | 10.9 | 0.91 | 50 | 0.45 | 221.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:07:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.33 | 25 | 73.93 | 24.7 | 75.8 | 1 | 1 | 29.74 | 24.9 | -4.92 | -9.22 | 29.12 | 28.45 | 27.73 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.8 | 0.11 | 11 | 0.91 | 50.1 | 0.45 | 221.8 | 0 | 0 | 1.01 | 50.1 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:08:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.45 | 25 | 73.93 | 24.7 | 75.57 | 1 | 0 | 29.77 | 24.87 | -5.68 | -8.26 | 29.12 | 28.55 | 27.8 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.6 | 0.11 | 10.9 | 0.91 | 50 | 0.45 | 221.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:09:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 75.44 | 25.1 | 74.04 | 24.6 | 75.58 | 1 | 1 | 29.74 | 24.89 | -6.24 | -9.81 | 29.2 | 28.64 | 27.82 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.5 | 0.11 | 11 | 0.92 | 50 | 0.45 | 221.5 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:10:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 73.93 | 24.7 | 75.57 | 1 | 0 | 29.71 | 24.91 | -5.3 | -9.47 | 29.12 | 28.57 | 27.8 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.6 | 0.11 | 11 | 0.92 | 50 | 0.46 | 221.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:11:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.45 | 25 | 73.93 | 24.7 | 75.68 | 1 | 1 | 29.78 | 24.89 | -5.43 | -9 | 29.24 | 28.55 | 27.78 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.5 | 0.11 | 10.9 | 0.92 | 50 | 0.45 | 221.5 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:12:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.34 | 25 | 73.93 | 24.7 | 75.57 | 1 | 0 | 29.73 | 24.87 | -5.83 | -9.65 | 29.2 | 28.55 | 27.72 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.6 | 0.11 | 10.9 | 0.92 | 50 | 0.45 | 221.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:13:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.34 | 24.8 | 73.95 | 24.8 | 75.44 | 1 | 1 | 29.71 | 24.87 | -6.15 | -9.47 | 29.19 | 28.58 | 27.84 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.5 | 0.11 | 10.8 | 0.92 | 50 | 0.45 | 221.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:14:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.34 | 24.9 | 73.94 | 24.7 | 75.57 | 1 | 0 | 29.66 | 24.82 | -7.22 | -9.74 | 29.12 | 28.62 | 27.76 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.5 | 0.11 | 10.8 | 0.92 | 49.9 | 0.45 | 221.4 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:15:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.33 | 25.1 | 73.93 | 24.7 | 75.45 | 1 | 0 | 29.66 | 24.83 | -6.24 | -9.77 | 29.17 | 28.58 | 27.87 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.5 | 0.11 | 10.7 | 0.92 | 49.9 | 0.45 | 221.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:16:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.33 | 25 | 73.93 | 24.8 | 75.56 | 1 | 0 | 29.67 | 24.82 | -5.3 | -9.77 | 29.12 | 28.57 | 27.83 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.5 | 0.1 | 10.7 | 0.92 | 50 | 0.46 | 221.5 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:17:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.33 | 25 | 73.93 | 24.7 | 75.57 | 1 | 0 | 29.63 | 24.67 | -5.96 | -10.27 | 29.15 | 28.51 | 27.82 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.6 | 0.1 | 10.8 | 0.92 | 50 | 0.47 | 221.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:18:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.33 | 25 | 73.93 | 24.8 | 75.56 | 1 | 0 | 29.65 | 24.71 | -6.56 | -10.54 | 29.12 | 28.48 | 27.73 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.6 | 0.11 | 11 | 0.92 | 50 | 0.47 | 221.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:19:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.45 | 25 | 73.93 | 24.7 | 75.45 | 1 | 0 | 29.64 | 24.69 | -5.93 | -10.55 | 29.08 | 28.48 | 27.84 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.7 | 0.11 | 10.8 | 0.92 | 50 | 0.46 | 221.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:20:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 73.93 | 24.8 | 75.44 | 1 | 0 | 29.51 | 24.69 | -6.46 | -10.36 | 29.12 | 28.6 | 27.78 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.6 | 0.11 | 10.9 | 0.92 | 50 | 0.45 | 221.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:21:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 75.32 | 24.9 | 73.94 | 24.8 | 75.44 | 1 | 0 | 29.51 | 24.67 | -6.46 | -11.22 | 29.17 | 28.53 | 27.83 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.8 | 0.11 | 10.8 | 0.92 | 50 | 0.44 | 221.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:22:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.45 | 25 | 73.93 | 24.8 | 75.44 | 1 | 0 | 29.58 | 24.65 | -6.53 | -12.09 | 29.12 | 28.55 | 27.75 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.7 | 0.11 | 10.9 | 0.92 | 50 | 0.45 | 221.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:23:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.9 | 75.32 | 24.9 | 73.83 | 24.7 | 75.45 | 1 | 0 | 29.58 | 24.66 | -7.06 | -11.5 | 29.16 | 28.55 | 27.77 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.6 | 0.11 | 10.9 | 0.92 | 50 | 0.45 | 221.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:24:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 24.9 | 73.94 | 24.8 | 75.44 | 1 | 1 | 29.55 | 24.64 | -6.93 | -10.98 | 29.02 | 28.53 | 27.75 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.6 | 0.11 | 11.1 | 0.92 | 50 | 0.46 | 221.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:25:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.33 | 25 | 73.82 | 24.8 | 75.44 | 1 | 1 | 29.51 | 24.54 | -6.02 | -12.06 | 29.15 | 28.57 | 27.72 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.5 | 0.11 | 10.8 | 0.92 | 50 | 0.45 | 221.5 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:26:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 73.82 | 24.7 | 75.45 | 1 | 0 | 29.45 | 24.59 | -6.94 | -10.45 | 29.09 | 28.48 | 27.77 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.6 | 0.11 | 11 | 0.92 | 50 | 0.46 | 221.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:27:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 24.9 | 73.83 | 24.8 | 75.44 | 1 | 0 | 29.42 | 24.58 | -7.47 | -12.39 | 29.16 | 28.55 | 27.69 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.5 | 0.11 | 10.7 | 0.92 | 49.9 | 0.45 | 221.5 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:28:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.57 | 24.9 | 73.94 | 24.9 | 75.44 | 1 | 0 | 29.44 | 24.63 | -7.5 | -11.13 | 29.12 | 28.53 | 27.75 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.8 | 0.11 | 10.9 | 0.92 | 50 | 0.45 | 221.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:29:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.45 | 24.9 | 73.94 | 24.8 | 75.33 | 1 | 0 | 29.46 | 24.52 | -7.53 | -11.87 | 29.12 | 28.5 | 27.72 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.6 | 0.11 | 10.8 | 0.92 | 49.9 | 0.45 | 221.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:30:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.34 | 25 | 73.82 | 24.8 | 75.33 | 1 | 0 | 29.47 | 24.51 | -7.16 | -11.07 | 29.14 | 28.55 | 27.78 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.6 | 0.11 | 10.8 | 0.92 | 49.9 | 0.45 | 221.6 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:31:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.33 | 25 | 73.93 | 24.8 | 75.56 | 1 | 0 | 29.4 | 24.47 | -7.09 | -12.61 | 29.16 | 28.5 | 27.72 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.8 | 0.11 | 10.8 | 0.92 | 50 | 0.45 | 221.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:32:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.33 | 24.9 | 73.94 | 24.7 | 75.45 | 1 | 0 | 29.48 | 24.56 | -8.32 | -12.7 | 29.09 | 28.48 | 27.76 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.7 | 0.11 | 10.9 | 0.92 | 49.9 | 0.45 | 221.7 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:33:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.45 | 25 | 74.05 | 24.8 | 75.44 | 1 | 1 | 29.4 | 24.42 | -6.68 | -11.32 | 29.1 | 28.48 | 27.73 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.8 | 0.11 | 10.9 | 0.92 | 50 | 0.45 | 221.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:34:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.45 | 25 | 73.93 | 24.6 | 75.69 | 1 | 0 | 29.34 | 24.53 | -6.65 | -12.58 | 29.09 | 28.46 | 27.69 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.6 | 0.11 | 10.9 | 0.92 | 50 | 0.45 | 221.6 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:35:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 25 | 73.93 | 24.7 | 75.68 | 1 | 1 | 29.35 | 24.46 | -7.75 | -11.56 | 29.12 | 28.5 | 27.76 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.9 | 0.11 | 10.9 | 0.92 | 50 | 0.45 | 221.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:36:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.57 | 24.9 | 74.06 | 24.7 | 75.57 | 0 | 1 | 29.4 | 24.48 | -7 | -12.18 | 29.03 | 28.6 | 27.69 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.8 | 0.11 | 11.1 | 0.92 | 50 | 0.46 | 221.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:37:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.68 | 24.9 | 73.94 | 24.7 | 75.57 | 1 | 1 | 29.39 | 24.44 | -7.56 | -11.59 | 29.12 | 28.52 | 27.8 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.8 | 0.11 | 11 | 0.92 | 50 | 0.45 | 221.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:38:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.56 | 24.9 | 73.94 | 24.8 | 75.68 | 1 | 0 | 29.34 | 24.42 | -7.72 | -14.43 | 29.05 | 28.55 | 27.76 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.8 | 0.11 | 11.4 | 0.92 | 50 | 0.46 | 221.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:39:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.57 | 25 | 74.05 | 24.7 | 75.57 | 1 | 0 | 29.4 | 24.38 | -7 | -13.16 | 29.12 | 28.48 | 27.77 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.8 | 0.11 | 10.9 | 0.92 | 49.9 | 0.45 | 221.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:40:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.45 | 24.9 | 73.94 | 24.7 | 75.57 | 1 | 0 | 29.35 | 24.41 | -9.32 | -12.36 | 29.17 | 28.53 | 27.78 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 223 | 0.11 | 11.1 | 0.92 | 50 | 0.45 | 222 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:41:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 24.9 | 74.06 | 24.8 | 75.56 | 1 | 1 | 29.35 | 24.36 | -8.13 | -12.73 | 29.1 | 28.57 | 27.78 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.9 | 0.11 | 11 | 0.92 | 50 | 0.45 | 221.9 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:42:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.34 | 24.9 | 73.94 | 24.8 | 75.56 | 1 | 0 | 29.3 | 24.42 | -7.22 | -14.89 | 29.08 | 28.48 | 27.8 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 223 | 0.11 | 10.8 | 0.92 | 50 | 0.44 | 222 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:43:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.56 | 24.9 | 74.06 | 24.7 | 75.68 | 1 | 0 | 29.33 | 24.35 | -7.85 | -12.89 | 29.09 | 28.57 | 27.75 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 223 | 0.11 | 10.9 | 0.92 | 50 | 0.45 | 222 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:44:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.7 | 75.57 | 24.9 | 73.94 | 24.7 | 75.57 | 1 | 0 | 29.33 | 24.35 | -7.72 | -12.06 | 29.15 | 28.52 | 27.71 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.8 | 0.11 | 10.9 | 0.92 | 50 | 0.45 | 221.8 | 0 | 0 | 1.01 | 50 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96
2026-11-02 01:45:00 | [20 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 24.8 | 75.44 | 24.9 | 73.94 | 24.7 | 75.57 | 1 | 0 | 29.37 | 24.35 | -8.48 | -13.97 | 29.12 | 28.52 | 27.76 | 0.2 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | [29 empty] | 222.8 | 0.11 | 11 | 0.92 | 50 | 0.45 | 221.8 | 0 | 0 | 1.01 | 49.9 | 0 |  | 5.43 | 1168.2 | 8.6 | 50 | 0.96

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-11-02 00:00:00 | To | 2026-11-02 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | %
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | %
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | %
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | %
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | %
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | %
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | %
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | %
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state
MB-L3-01 | L3-AI-01 | Analog Input 1 | V | 3.12 | 3.12 | 3.12 | 106
MB-L3-01 | L3-AI-02 | Analog Input 2 | V | 3.12 | 3.12 | 3.12 | 106
MB-L3-01 | L3-AI-03 | Analog Input 3 | V | 3.12 | 3.12 | 3.12 | 106
MB-L3-01 | L3-AI-04 | Analog Input 4 | V | 3.12 | 3.12 | 3.12 | 106
MB-L3-01 | L3-AI-05 | Analog Input 5 | V | 3.12 | 3.12 | 3.12 | 106
MB-L3-01 | L3-AI-06 | Analog Input 6 | V | 3.12 | 3.12 | 3.12 | 106
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C | 24.6 | 24.79 | 24.9 | 106
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH | 75.22 | 75.43 | 75.68 | 106
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C | 24.8 | 24.98 | 25.1 | 106
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH | 73.81 | 73.94 | 74.06 | 106
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C | 24.6 | 24.77 | 24.9 | 106
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH | 75.32 | 75.54 | 75.8 | 106
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m² | 0 | 0.93 | 1 | 106
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m² | 0 | 0.28 | 1 | 106
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C | 29.3 | 29.55 | 29.79 | 106
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C | 24.35 | 24.73 | 24.98 | 106
MB-L3-01 | L3-HFT-01 | Heat Flow 1 | W/m² | -9.32 | -6.78 | -4.92 | 106
MB-L3-01 | L3-HFT-02 | Heat Flow 2 | W/m² | -14.89 | -10.51 | -7.68 | 106
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C | 29.02 | 29.15 | 29.27 | 106
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C | 28.45 | 28.57 | 28.73 | 106
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C | 27.69 | 27.81 | 27.92 | 106
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux | 0.2 | 0.2 | 0.2 | 106
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux | 0.3 | 0.3 | 0.3 | 106
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux | 0.3 | 0.3 | 0.3 | 106
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux | 0.2 | 0.2 | 0.2 | 106
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux | 0.4 | 0.4 | 0.4 | 106
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux | 0.4 | 0.4 | 0.4 | 106
MB-L5-01 | L5-AI-01 | Analog Input 1 | V
MB-L5-01 | L5-AI-02 | Analog Input 2 | V
MB-L5-01 | L5-AI-03 | Analog Input 3 | V
MB-L5-01 | L5-AI-04 | Analog Input 4 | V
MB-L5-01 | L5-AI-05 | Analog Input 5 | V
MB-L5-01 | L5-AI-06 | Analog Input 6 | V
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m²
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m²
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C
MB-L5-01 | L5-HFT-01 | Heat Flow 1 | W/m²
MB-L5-01 | L5-HFT-02 | Heat Flow 2 | W/m²
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux
MB-L5-01 | L5-RAD-03 | Radiasi Luar Barat | W/m²
MB-L5-01 | L5-RAD-04 | Radiasi Luar Utara | W/m²
Sensor Mainboard L3 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V | 221.5 | 222.22 | 223 | 106
Sensor Mainboard L3 | PZEM-L3-01-CURR | PZEM L3-01 Current | A | 0.1 | 0.11 | 0.11 | 106
Sensor Mainboard L3 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W | 10.7 | 10.92 | 11.4 | 106
Sensor Mainboard L3 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh | 0.9 | 0.91 | 0.92 | 106
Sensor Mainboard L3 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz | 49.9 | 49.99 | 50.1 | 106
Sensor Mainboard L3 | PZEM-L3-01-PF | PZEM L3-01 Power Factor |  | 0.44 | 0.45 | 0.47 | 106
Sensor Lampu L3 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V | 220.5 | 221.23 | 222 | 106
Sensor Lampu L3 | PZEM-L3-02-CURR | PZEM L3-02 Current | A | 0 | 0 | 0 | 106
Sensor Lampu L3 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W | 0 | 0 | 0 | 106
Sensor Lampu L3 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh | 1.01 | 1.01 | 1.01 | 106
Sensor Lampu L3 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz | 49.9 | 50 | 50.1 | 106
Sensor Lampu L3 | PZEM-L3-02-PF | PZEM L3-02 Power Factor |  | 0 | 0 | 0 | 106
Sensor Daya AC L3 | PZEM-L3-03-VOLT | PZEM L3-03 Voltage | V
Sensor Daya AC L3 | PZEM-L3-03-CURR | PZEM L3-03 Current | A | 5.43 | 5.43 | 5.43 | 106
Sensor Daya AC L3 | PZEM-L3-03-POWER | PZEM L3-03 Active Power | W | 1168.2 | 1168.2 | 1168.2 | 106
Sensor Daya AC L3 | PZEM-L3-03-ENERGY | PZEM L3-03 Energy | kWh | 8.6 | 8.6 | 8.6 | 106
Sensor Daya AC L3 | PZEM-L3-03-FREQ | PZEM L3-03 Frequency | Hz | 50 | 50 | 50 | 106
Sensor Daya AC L3 | PZEM-L3-03-PF | PZEM L3-03 Power Factor |  | 0.96 | 0.96 | 0.96 | 106
Sensor Mainboard L5 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V
Sensor Mainboard L5 | PZEM-L5-01-CURR | PZEM L5-01 Current | A
Sensor Mainboard L5 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W
Sensor Mainboard L5 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh
Sensor Mainboard L5 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz
Sensor Mainboard L5 | PZEM-L5-01-PF | PZEM L5-01 Power Factor
Sensor Lampu L5 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V
Sensor Lampu L5 | PZEM-L5-02-CURR | PZEM L5-02 Current | A
Sensor Lampu L5 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W
Sensor Lampu L5 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh
Sensor Lampu L5 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz
Sensor Lampu L5 | PZEM-L5-02-PF | PZEM L5-02 Power Factor
Sensor Actuator L5 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
Sensor Actuator L5 | PZEM-L5-03-CURR | PZEM L5-03 Current | A
Sensor Actuator L5 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W
Sensor Actuator L5 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh
Sensor Actuator L5 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz
Sensor Actuator L5 | PZEM-L5-03-PF | PZEM L5-03 Power Factor
Sensor Pendingin Ruangan | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V
Sensor Pendingin Ruangan | PZEM-L5-04-CURR | PZEM L5-04 Current | A
Sensor Pendingin Ruangan | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W
Sensor Pendingin Ruangan | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh
Sensor Pendingin Ruangan | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz
Sensor Pendingin Ruangan | PZEM-L5-04-PF | PZEM L5-04 Power Factor
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s
WS-MOD-01 | WS-TEMP | Suhu Udara | °C
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa
WS-MOD-01 | WS-DIR | Arah Angin | °

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.