## Data
Timestamp | AC-POWER - AC Power State [state] | AC-SETPOINT - AC Set Temperature [°C] | AC-MODE - AC Operating Mode [code] | AC-FAN - AC Fan Speed [code] | ENC-01 - Rotary Encoder 1 [%] | ENC-02 - Rotary Encoder 2 [%] | ENC-03 - Rotary Encoder 3 [%] | ENC-04 - Rotary Encoder 4 [%] | ENC-05 - Rotary Encoder 5 [%] | ENC-06 - Rotary Encoder 6 [%] | ENC-07 - Rotary Encoder 7 [%] | ENC-08 - Rotary Encoder 8 [%] | MOTOR-01 - Motor Status 1 [state] | MOTOR-02 - Motor Status 2 [state] | MOTOR-03 - Motor Status 3 [state] | MOTOR-04 - Motor Status 4 [state] | MOTOR-05 - Motor Status 5 [state] | MOTOR-06 - Motor Status 6 [state] | MOTOR-07 - Motor Status 7 [state] | MOTOR-08 - Motor Status 8 [state] | L3-AI-01 - Analog Input 1 [V] | L3-AI-02 - Analog Input 2 [V] | L3-AI-03 - Analog Input 3 [V] | L3-AI-04 - Analog Input 4 [V] | L3-AI-05 - Analog Input 5 [V] | L3-AI-06 - Analog Input 6 [V] | L3-SHT-01-T - SHT20 1 Temperature [°C] | L3-SHT-01-RH - SHT20 1 Humidity [%RH] | L3-SHT-02-T - SHT20 2 Temperature [°C] | L3-SHT-02-RH - SHT20 2 Humidity [%RH] | L3-SHT-03-T - SHT20 3 Temperature [°C] | L3-SHT-03-RH - SHT20 3 Humidity [%RH] | L3-RAD-01 - Radiation 1 [W/m²] | L3-RAD-02 - Radiation 2 [W/m²] | L3-ST-01 - Surface Temperature 1 [°C] | L3-ST-02 - Surface Temperature 2 [°C] | L3-HFT-01 - Heat Flow Temperature 1 [°C] | L3-HFT-02 - Heat Flow Temperature 2 [°C] | L3-BGT-01 - Black Globe Temperature 1 [°C] | L3-BGT-02 - Black Globe Temperature 2 [°C] | L3-BGT-03 - Black Globe Temperature 3 [°C] | L3-LUX-01 - Illuminance / LUX 1 [lux] | L3-LUX-02 - Illuminance / LUX 2 [lux] | L3-LUX-03 - Illuminance / LUX 3 [lux] | L3-LUX-04 - Illuminance / LUX 4 [lux] | L3-LUX-05 - Illuminance / LUX 5 [lux] | L3-LUX-06 - Illuminance / LUX 6 [lux] | L5-AI-01 - Analog Input 1 [V] | L5-AI-02 - Analog Input 2 [V] | L5-AI-03 - Analog Input 3 [V] | L5-AI-04 - Analog Input 4 [V] | L5-AI-05 - Analog Input 5 [V] | L5-AI-06 - Analog Input 6 [V] | L5-SHT-01-T - SHT20 1 Temperature [°C] | L5-SHT-01-RH - SHT20 1 Humidity [%RH] | L5-SHT-02-T - SHT20 2 Temperature [°C] | L5-SHT-02-RH - SHT20 2 Humidity [%RH] | L5-SHT-03-T - SHT20 3 Temperature [°C] | L5-SHT-03-RH - SHT20 3 Humidity [%RH] | L5-RAD-01 - Radiation 1 [W/m²] | L5-RAD-02 - Radiation 2 [W/m²] | L5-ST-01 - Surface Temperature 1 [°C] | L5-ST-02 - Surface Temperature 2 [°C] | L5-HFT-01 - Heat Flow Temperature 1 [°C] | L5-HFT-02 - Heat Flow Temperature 2 [°C] | L5-BGT-01 - Black Globe Temperature 1 [°C] | L5-BGT-02 - Black Globe Temperature 2 [°C] | L5-BGT-03 - Black Globe Temperature 3 [°C] | L5-LUX-01 - Illuminance / LUX 1 [lux] | L5-LUX-02 - Illuminance / LUX 2 [lux] | L5-LUX-03 - Illuminance / LUX 3 [lux] | L5-LUX-04 - Illuminance / LUX 4 [lux] | L5-LUX-05 - Illuminance / LUX 5 [lux] | L5-LUX-06 - Illuminance / LUX 6 [lux] | PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | PZEM-L3-01-CURR - PZEM L3-01 Current [A] | PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | PZEM-L3-01-PF - PZEM L3-01 Power Factor | PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | PZEM-L3-02-CURR - PZEM L3-02 Current [A] | PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | PZEM-L3-02-PF - PZEM L3-02 Power Factor | PZEM-L3-03-VOLT - PZEM L3-03 Voltage [V] | PZEM-L3-03-CURR - PZEM L3-03 Current [A] | PZEM-L3-03-POWER - PZEM L3-03 Active Power [W] | PZEM-L3-03-ENERGY - PZEM L3-03 Energy [kWh] | PZEM-L3-03-FREQ - PZEM L3-03 Frequency [Hz] | PZEM-L3-03-PF - PZEM L3-03 Power Factor | PZEM-L3-04-VOLT - PZEM L3-04 Voltage [V] | PZEM-L3-04-CURR - PZEM L3-04 Current [A] | PZEM-L3-04-POWER - PZEM L3-04 Active Power [W] | PZEM-L3-04-ENERGY - PZEM L3-04 Energy [kWh] | PZEM-L3-04-FREQ - PZEM L3-04 Frequency [Hz] | PZEM-L3-04-PF - PZEM L3-04 Power Factor | PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | PZEM-L5-01-CURR - PZEM L5-01 Current [A] | PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | PZEM-L5-01-PF - PZEM L5-01 Power Factor | PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | PZEM-L5-02-CURR - PZEM L5-02 Current [A] | PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | PZEM-L5-02-PF - PZEM L5-02 Power Factor | PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | PZEM-L5-03-CURR - PZEM L5-03 Current [A] | PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | PZEM-L5-03-PF - PZEM L5-03 Power Factor | PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | PZEM-L5-04-CURR - PZEM L5-04 Current [A] | PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-WIND - Kecepatan Angin [m/s] | WS-TEMP - Suhu Udara [°C] | WS-RH - Kelembapan Udara [%RH] | WS-PRES - Tekanan Udara [hPa] | WS-DIR - Arah Angin [°]
2026-09-07 00:00:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 45.7 | 28.9 | 45 | 29 | 45.1 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.7 | 46 | 29.1 | 45.2 | 28.9 | 45.6 | 1 | 1 | 23.9 | 23.1 | 23.9 | 22.9 | 26.7 | 26.7 | 26.5 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 224.8 | 0.12 | 10.7 | 0.06 | 50 | 0.39 | 224.6 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 6.09 | 19.6 | 77.8 | 912 | 81.2
2026-09-07 00:01:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 45.7 | 29 | 45 | 29.1 | 45.2 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.6 | 45.9 | 29.1 | 45.2 | 28.9 | 45.6 | 1 | 1 | 24 | 23.1 | 23.7 | 23 | 26.7 | 26.8 | 26.4 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 224.9 | 0.12 | 10.2 | 0.06 | 50 | 0.38 | 224.7 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 8.31 | 19.6 | 77.7 | 912 | 75.8
2026-09-07 00:02:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 45.6 | 28.9 | 44.9 | 29 | 45.1 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.6 | 45.8 | 29.1 | 45.1 | 28.9 | 45.7 | 1 | 1 | 24 | 23.2 | 23.9 | 23 | 26.8 | 26.7 | 26.5 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 224.6 | 0.12 | 10.5 | 0.06 | 49.9 | 0.38 | 224.5 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 5.34 | 19.6 | 77.8 | 912 | 92.9
2026-09-07 00:03:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 45.8 | 29 | 44.9 | 29 | 45.1 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.6 | 46 | 29.1 | 45.1 | 28.9 | 45.7 | 1 | 1 | 23.8 | 23.2 | 23.8 | 22.9 | 26.7 | 26.6 | 26.5 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 224.7 | 0.12 | 10.6 | 0.06 | 49.9 | 0.38 | 224.6 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 3.59 | 19.6 | 77.8 | 912 | 118.8
2026-09-07 00:04:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 45.7 | 29 | 45 | 29 | 45.2 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.7 | 45.9 | 29.1 | 45.2 | 28.9 | 45.6 | 1 | 1 | 23.9 | 23.2 | 23.8 | 23 | 26.8 | 26.7 | 26.5 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 224.9 | 0.12 | 10.6 | 0.06 | 50 | 0.38 | 224.8 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 5.09 | 19.6 | 77.7 | 912 | 68.4
2026-09-07 00:05:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 45.6 | 29 | 44.9 | 29 | 45.1 | 1 | 1 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.8 | 46.1 | 29.1 | 45.1 | 28.9 | 45.7 | 1 | 1 | 23.9 | 23.2 | 23.8 | 23 | 26.7 | 26.7 | 26.5 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 224.8 | 0.12 | 10.3 | 0.06 | 50 | 0.38 | 224.7 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 3.59 | 19.6 | 77.9 | 912 | 48.2
2026-09-07 00:06:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 45.7 | 29 | 44.9 | 29 | 45.1 | 1 | 1 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.7 | 46 | 29 | 45.3 | 28.8 | 45.7 | 1 | 1 | 23.9 | 23.3 | 23.8 | 23 | 26.8 | 26.8 | 26.4 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 224.7 | 0.12 | 9.9 | 0.06 | 50 | 0.38 | 224.6 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 4.61 | 19.5 | 77.9 | 912 | 66.6
2026-09-07 00:07:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 45.8 | 28.9 | 45 | 29 | 45 | 1 | 1 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.6 | 46 | 29.1 | 45.3 | 28.9 | 45.6 | 1 | 1 | 24 | 23.1 | 23.8 | 23 | 26.8 | 26.7 | 26.5 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 224.9 | 0.12 | 10.5 | 0.06 | 50 | 0.38 | 224.7 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 6.1 | 19.5 | 78 | 911 | 75.3
2026-09-07 00:08:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.5 | 45.7 | 29 | 44.9 | 29 | 45.1 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.6 | 46.1 | 29 | 45.3 | 28.9 | 45.8 | 1 | 1 | 23.8 | 23.1 | 23.7 | 22.9 | 26.8 | 26.8 | 26.6 | 0 | 0.1 | 0.1 | 0.1 |  | 0.1 | [24 empty] | 224.8 | 0.12 | 10.5 | 0.06 | 50 | 0.38 | 224.7 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 4.34 | 19.6 | 78 | 911 | 102.2
2026-09-07 00:09:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 45.7 | 28.9 | 45 | 28.9 | 45.2 | 1 | 1 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.6 | 46.1 | 29.1 | 45.3 | 28.9 | 45.7 | 1 | 1 | 23.9 | 23.1 | 23.8 | 22.9 | 26.7 | 26.7 | 26.4 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 224.8 | 0.12 | 10.5 | 0.06 | 49.9 | 0.38 | 224.6 | 0 | 0 | 0.04 | 49.9 | 0 | [12 empty] | 5.34 | 19.6 | 77.7 | 911 | 86.2
2026-09-07 00:10:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 45.9 | 28.9 | 45 | 29 | 45.2 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.1 | 29 | 45.4 | 29 | 45.8 | 1 | 1 | 23.9 | 23.1 | 23.7 | 23 | 26.8 | 26.7 | 26.5 | 0 | 0.1 | 0.1 | 0.1 |  | 0.1 | [24 empty] | 224.9 | 0.12 | 10.3 | 0.06 | 50 | 0.38 | 224.8 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 7.81 | 19.5 | 77.9 | 911 | 81.1
2026-09-07 00:11:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 45.7 | 29 | 44.9 | 29 | 45.2 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.6 | 46.1 | 29 | 45.3 | 28.8 | 45.7 | 1 | 1 | 23.8 | 23.1 | 23.6 | 22.9 | 26.7 | 26.7 | 26.5 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 224.9 | 0.12 | 10.3 | 0.06 | 50 | 0.38 | 224.8 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 4.61 | 19.5 | 78 | 911 | 80.5
2026-09-07 00:12:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 45.7 | 28.8 | 45.1 | 29 | 45.2 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.6 | 46.2 | 29 | 45.4 | 28.9 | 45.9 | 1 | 1 | 23.7 | 23.1 | 23.7 | 22.9 | 26.8 | 26.8 | 26.5 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 224.8 | 0.12 | 10.6 | 0.06 | 49.9 | 0.38 | 224.6 | 0 | 0 | 0.04 | 49.9 | 0 | [12 empty] | 5.85 | 19.5 | 77.9 | 911 | 83
2026-09-07 00:13:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 45.8 | 28.9 | 44.9 | 29 | 45.1 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.6 | 46.2 | 28.9 | 45.3 | 28.8 | 45.8 | 1 | 1 | 23.7 | 23.1 | 23.7 | 22.9 | 26.8 | 26.6 | 26.5 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 225 | 0.12 | 10.5 | 0.06 | 50 | 0.38 | 224.8 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 3.86 | 19.5 | 78.1 | 911 | 92.8
2026-09-07 00:14:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 45.7 | 28.9 | 45 | 28.9 | 45.2 | 1 | 1 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.1 | 29 | 45.3 | 28.9 | 45.8 | 1 | 1 | 23.9 | 23.1 | 23.7 | 22.8 | 26.7 | 26.7 | 26.4 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 225 | 0.12 | 10.5 | 0.06 | 50 | 0.38 | 224.8 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 6.09 | 19.5 | 78.1 | 911 | 73.7
2026-09-07 00:15:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 45.8 | 28.9 | 45 | 29 | 45.1 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.6 | 46.2 | 29 | 45.4 | 28.8 | 45.6 | 1 | 1 | 23.7 | 23.1 | 23.7 | 22.8 | 26.8 | 26.7 | 26.4 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 224.9 | 0.12 | 10.5 | 0.06 | 49.9 | 0.38 | 224.8 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 4.33 | 19.5 | 78.2 | 911 | 79.4
2026-09-07 00:16:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 45.8 | 28.8 | 44.9 | 29 | 45.1 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.6 | 46.2 | 28.9 | 45.3 | 28.9 | 45.8 | 1 | 1 | 23.7 | 23.1 | 23.7 | 22.8 | 26.7 | 26.7 | 26.4 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 225 | 0.12 | 10.4 | 0.06 | 50 | 0.37 | 224.9 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 5.58 | 19.5 | 78.2 | 911 | 64.6
2026-09-07 00:17:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.7 | 45.7 | 29 | 45 | 29 | 45.1 | 1 | 1 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.6 | 46.2 | 29 | 45.3 | 28.7 | 45.7 | 1 | 1 | 23.8 | 23 | 23.7 | 22.9 | 26.7 | 26.7 | 26.4 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 225 | 0.12 | 10.5 | 0.06 | 50 | 0.38 | 224.9 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 3.86 | 19.5 | 78.3 | 911 | 52.8
2026-09-07 00:18:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 45.6 | 29 | 45.1 | 29 | 45.2 | 1 | 1 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.6 | 46.2 | 28.9 | 45.3 | 28.8 | 45.7 | 1 | 1 | 23.7 | 23.2 | 23.7 | 22.8 | 26.7 | 26.7 | 26.4 | 0 | 0.1 | 0.1 | 0.1 |  | 0.1 | [24 empty] | 225 | 0.12 | 10.5 | 0.06 | 50 | 0.38 | 224.9 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 6.09 | 19.5 | 78.3 | 911 | 72.8
2026-09-07 00:19:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.5 | 45.7 | 28.8 | 45 | 28.9 | 45.1 | 1 | 1 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.1 | 29 | 45.2 | 28.8 | 45.8 | 1 | 1 | 23.7 | 23.1 | 23.6 | 22.8 | 26.7 | 26.7 | 26.4 | 0 | 0.1 | 0.1 | 0.1 |  | 0.1 | [24 empty] | 225 | 0.13 | 10.6 | 0.06 | 50 | 0.38 | 224.9 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 4.09 | 19.4 | 78.6 | 911 | 92.5
2026-09-07 00:20:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.5 | 45.8 | 28.9 | 45 | 29 | 45.2 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.6 | 46.2 | 29 | 45.3 | 28.8 | 45.8 | 1 | 1 | 23.8 | 23.1 | 23.7 | 22.8 | 26.7 | 26.6 | 26.4 | 0 | 0.1 | 0.1 | 0.1 |  | 0.1 | [24 empty] | 225 | 0.12 | 10.5 | 0.06 | 50 | 0.38 | 224.9 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 6.59 | 19.4 | 78.3 | 911 | 68.7
2026-09-07 00:21:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 45.7 | 28.8 | 45.1 | 28.9 | 45.2 | 1 | 1 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 |  | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.2 | 28.9 | 45.4 | 28.8 | 45.8 | 1 | 1 | 23.7 | 23.1 | 23.6 | 22.9 | 26.7 | 26.6 | 26.4 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 225.2 | 0.12 | 10.6 | 0.06 | 50 | 0.38 | 225.1 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 5.09 | 19.4 | 78.6 | 911 | 87.4
2026-09-07 00:22:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 45.8 | 28.8 | 45 | 29 | 45.3 | 1 | 1 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.1 | 28.9 | 45.5 | 28.8 | 45.8 | 1 | 1 | 23.7 | 23 | 23.7 | 22.8 | 26.7 | 26.6 | 26.5 | 0 | 0.1 | 0.1 | 0.1 |  | 0.1 | [24 empty] | 225.1 | 0.12 | 10.4 | 0.07 | 49.9 | 0.38 | 225 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 6.34 | 19.4 | 78.6 | 911 | 64.3
2026-09-07 00:23:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 45.8 | 28.9 | 45.1 | 28.9 | 45.2 | 1 | 1 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.2 | 29 | 45.3 | 28.9 | 45.8 | 1 | 1 | 23.8 | 23.1 | 23.6 | 22.9 | 26.7 | 26.7 | 26.4 | 0 | 0.1 | 0.1 | 0.1 |  | 0.1 | [24 empty] | 224.9 | 0.12 | 10.6 | 0.07 | 49.9 | 0.38 | 224.8 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 6.59 | 19.3 | 78.6 | 911 | 74.4
2026-09-07 00:24:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 45.8 | 28.8 | 45 | 29 | 45.2 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.3 | 29 | 45.4 | 28.9 | 45.8 | 1 | 1 | 23.7 | 23 | 23.6 | 22.8 | 26.7 | 26.6 | 26.4 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | [24 empty] | 225.2 | 0.12 | 10.6 | 0.07 | 50 | 0.38 | 225 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 4.86 | 19.4 | 78.6 | 911 | 46.4
2026-09-07 00:25:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 45.9 | 28.8 | 45.1 | 29 | 45.2 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.3 | 28.9 | 45.4 | 28.9 | 45.7 | 1 | 1 | 23.7 | 23 | 23.6 | 22.8 | 26.8 | 26.7 | 26.4 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 225 | 0.12 | 10.5 | 0.07 | 50 | 0.38 | 225 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 5.11 | 19.4 | 78.6 | 911 | 62.6
2026-09-07 00:26:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.5 | 45.9 | 28.9 | 45.1 | 28.9 | 45.1 | 1 | 1 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.2 | 28.9 | 45.4 | 28.7 | 45.8 | 1 | 1 | 23.6 | 23.1 | 23.7 | 22.8 | 26.7 | 26.7 | 26.4 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 225 | 0.12 | 10.5 | 0.07 | 49.9 | 0.38 | 224.8 | 0 | 0 | 0.04 | 49.9 | 0 | [12 empty] | 6.84 | 19.4 | 78.5 | 911 | 73.7
2026-09-07 00:27:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.5 | 45.9 | 28.9 | 45.1 | 28.9 | 45.2 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.6 | 46.3 | 28.9 | 45.3 | 28.7 | 45.8 | 1 | 1 | 23.7 | 22.9 | 23.5 | 22.7 | 26.7 | 26.6 | 26.4 | 0 | 0.1 | 0.1 | 0.1 |  | 0.1 | [24 empty] | 225.1 | 0.12 | 10.5 | 0.07 | 50 | 0.38 | 225 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 7.8 | 19.3 | 78.7 | 911 | 60.5
2026-09-07 00:28:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.5 | 45.8 | 28.8 | 45.1 | 29 | 45.2 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.7 | 46.3 | 29 | 45.5 | 28.8 | 45.8 | 1 | 1 | 23.8 | 23 | 23.6 | 22.8 | 26.7 | 26.6 | 26.3 | 0 | 0.1 | 0.1 | 0.1 |  | 0.1 | [24 empty] | 225.2 | 0.12 | 10.6 | 0.07 | 50 | 0.39 | 225.1 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 9.09 | 19.3 | 78.6 | 911 | 73.2
2026-09-07 00:29:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.5 | 45.8 | 28.9 | 45.1 | 28.9 | 45.1 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.6 | 46.3 | 28.9 | 45.4 | 28.8 | 45.9 | 1 | 1 | 23.6 | 23 | 23.6 | 22.7 | 26.7 | 26.6 | 26.4 | 0 | 0.1 | 0.2 | 0.1 |  | 0.1 | [24 empty] | 225.1 | 0.12 | 10.5 | 0.07 | 49.9 | 0.39 | 225 | 0 | 0 | 0.04 | 49.9 | 0 | [12 empty] | 6.08 | 19.3 | 78.7 | 911 | 75.3
2026-09-07 00:30:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 45.9 | 28.8 | 45.1 | 28.9 | 45.1 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.3 | 29 | 45.4 | 28.8 | 45.9 | 1 | 1 | 23.7 | 22.9 | 23.7 | 22.7 | 26.7 | 26.7 | 26.4 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 225.2 | 0.12 | 10.5 | 0.07 | 50 | 0.38 | 225.1 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 4.33 | 19.3 | 78.8 | 911 | 75.2
2026-09-07 00:31:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 45.9 | 28.8 | 45.1 | 29 | 45.3 | 1 | 1 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.6 | 46.2 | 28.9 | 45.5 | 28.7 | 45.9 | 1 | 1 | 23.7 | 22.9 | 23.6 | 22.7 | 26.7 | 26.6 | 26.4 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 225.2 | 0.12 | 10.5 | 0.07 | 50 | 0.39 | 225.2 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 8.55 | 19.3 | 78.9 | 911 | 69.4
2026-09-07 00:32:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.5 | 45.9 | 28.8 | 45.1 | 29 | 45.3 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.3 | 28.9 | 45.5 | 28.7 | 45.8 | 1 | 1 | 23.8 | 22.9 | 23.5 | 22.6 | 26.7 | 26.6 | 26.4 | 0 | 0.1 | 0.1 | 0.1 |  | 0.1 | [24 empty] | 225.2 | 0.12 | 10.5 | 0.07 | 50 | 0.38 | 225.1 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 8.32 | 19.3 | 78.9 | 911 | 73.9
2026-09-07 00:33:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.5 | 45.9 | 28.9 | 45.1 | 29 | 45.3 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.4 | 28.9 | 45.5 | 28.8 | 45.8 | 1 | 1 | 23.8 | 22.9 | 23.7 | 22.7 | 26.6 | 26.7 | 26.4 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | [24 empty] | 225.2 | 0.12 | 10.5 | 0.07 | 50 | 0.38 | 225.1 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 8.31 | 19.3 | 78.7 | 911 | 81.7
2026-09-07 00:34:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 46.1 | 28.9 | 45.1 | 29 | 45.2 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.3 | 29 | 45.4 | 28.7 | 45.9 | 1 | 1 | 23.6 | 22.9 | 23.6 | 22.7 | 26.7 | 26.7 | 26.4 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | [24 empty] | 225.3 | 0.12 | 10.7 | 0.07 | 50 | 0.39 | 225.2 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 7.08 | 19.3 | 78.8 | 911 | 79
2026-09-07 00:35:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 46 | 28.8 | 45.2 | 28.9 | 45.3 | 1 | 1 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.6 | 46.3 | 28.9 | 45.5 | 28.8 | 45.9 | 1 | 1 | 23.7 | 22.9 | 23.7 | 22.7 | 26.7 | 26.7 | 26.4 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 225.3 | 0.12 | 10.5 | 0.07 | 49.9 | 0.39 | 225.2 | 0 | 0 | 0.04 | 49.9 | 0 | [12 empty] | 3.34 | 19.3 | 78.9 | 911 | 59.1
2026-09-07 00:36:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.5 | 45.8 | 28.9 | 45.2 | 28.9 | 45.3 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.3 | 28.9 | 45.5 | 28.8 | 45.9 | 1 | 1 | 23.8 | 22.8 | 23.6 | 22.7 | 26.7 | 26.6 | 26.4 | 0 | 0.1 | 0.1 | 0.1 |  | 0.1 | [24 empty] | 225.4 | 0.12 | 10.8 | 0.07 | 50 | 0.39 | 225.3 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 7.82 | 19.3 | 78.9 | 911 | 104.2
2026-09-07 00:37:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.5 | 46 | 28.9 | 45.2 | 28.9 | 45.2 | 1 | 1 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.3 | 28.9 | 45.4 | 28.8 | 45.9 | 1 | 1 | 23.7 | 22.8 | 23.6 | 22.7 | 26.7 | 26.6 | 26.4 | 0 | 0.1 | 0.1 | 0.1 |  | 0.1 | [24 empty] | 225.3 | 0.12 | 10.7 | 0.07 | 50 | 0.38 | 225.2 | 0 | 0 | 0.04 | 49.9 | 0 | [12 empty] | 4.09 | 19.3 | 78.9 | 911 | 50.6
2026-09-07 00:38:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.5 | 45.9 | 28.9 | 45.3 | 28.9 | 45.3 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.3 | 29 | 45.5 | 28.8 | 45.9 | 1 | 1 | 23.6 | 22.9 | 23.5 | 22.7 | 26.7 | 26.6 | 26.4 | 0 | 0.1 | 0.1 | 0.1 |  | 0.1 | [24 empty] | 225.5 | 0.12 | 10.5 | 0.07 | 50 | 0.38 | 225.3 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 5.6 | 19.3 | 78.9 | 911 | 66
2026-09-07 00:39:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 46 | 28.8 | 45.2 | 28.9 | 45.3 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.3 | 28.9 | 45.4 | 28.9 | 46 | 1 | 1 | 23.5 | 22.9 | 23.5 | 22.7 | 26.7 | 26.6 | 26.4 | 0 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | [24 empty] | 225.5 | 0.12 | 10.6 | 0.07 | 50 | 0.39 | 225.5 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 6.09 | 19.3 | 78.9 | 911 | 106.8
2026-09-07 00:40:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.5 | 46 | 28.8 | 45.3 | 28.9 | 45.4 | 1 | 1 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.4 | 28.9 | 45.4 | 28.7 | 45.9 | 1 | 1 | 23.7 | 22.9 | 23.6 | 22.7 | 26.6 | 26.6 | 26.4 | 0 | 0.1 | 0.1 | 0.1 |  | 0.1 | [24 empty] | 225.4 | 0.12 | 10.5 | 0.07 | 49.9 | 0.38 | 225.3 | 0 | 0 | 0.04 | 49.9 | 0 | [12 empty] | 8.79 | 19.3 | 78.8 | 911 | 88.4
2026-09-07 00:41:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.5 | 46 | 28.8 | 45.3 | 29 | 45.3 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.3 | 28.9 | 45.4 | 28.8 | 46 | 1 | 1 | 23.7 | 22.9 | 23.6 | 22.6 | 26.7 | 26.6 | 26.4 | 0 | 0.1 | 0.1 | 0.1 |  | 0.1 | [24 empty] | 225.5 | 0.12 | 10.5 | 0.07 | 50 | 0.38 | 225.3 | 0 | 0 | 0.04 | 49.9 | 0 | [12 empty] | 6.08 | 19.3 | 78.7 | 911 | 83.4
2026-09-07 00:42:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.6 | 46.1 | 28.8 | 45.1 | 28.9 | 45.2 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.3 | 28.9 | 45.5 | 28.8 | 45.9 | 1 | 1 | 23.7 | 22.9 | 23.6 | 22.6 | 26.7 | 26.6 | 26.4 | 0 | 0.1 | 0.2 | 0.1 |  | 0.1 | [24 empty] | 225.5 | 0.12 | 10.5 | 0.07 | 50 | 0.38 | 225.4 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 4.62 | 19.3 | 79 | 911 | 66
2026-09-07 00:43:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.5 | 45.9 | 28.9 | 45.3 | 28.9 | 45.3 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.4 | 28.9 | 45.5 | 28.7 | 45.9 | 1 | 1 | 23.7 | 22.9 | 23.6 | 22.6 | 26.7 | 26.6 | 26.4 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | [24 empty] | 225.5 | 0.12 | 10.6 | 0.07 | 50 | 0.38 | 225.3 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 5.33 | 19.2 | 79 | 911 | 62.2
2026-09-07 00:44:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.4 | 45.9 | 28.8 | 45.3 | 28.9 | 45.3 | 1 | 1 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.3 | 28.9 | 45.5 | 28.8 | 45.9 | 1 | 1 | 23.6 | 22.8 | 23.5 | 22.6 | 26.6 | 26.6 | 26.4 | 0 | 0.1 | 0.1 | 0.1 |  | 0.1 | [24 empty] | 225.5 | 0.12 | 10.7 | 0.07 | 50 | 0.38 | 225.4 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 4.84 | 19.2 | 79.1 | 911 | 98.7
2026-09-07 00:45:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.5 | 46 | 28.8 | 45.3 | 28.9 | 45.2 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.4 | 28.9 | 45.7 | 28.8 | 46 | 1 | 1 | 23.7 | 22.9 | 23.6 | 22.6 | 26.6 | 26.6 | 26.4 | 0 | 0.1 | 0.1 | 0.1 |  | 0.1 | [24 empty] | 225.5 | 0.12 | 10.5 | 0.07 | 50 | 0.38 | 225.4 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 7.32 | 19.3 | 78.9 | 911 | 73.7
2026-09-07 00:46:00 | 1 | 23 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 28.4 | 46 | 28.9 | 45.3 | 28.9 | 45.3 | 1 | 0 | [7 empty] | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.3 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 28.5 | 46.4 | 28.9 | 45.5 | 28.7 | 46 | 1 | 1 | 23.7 | 22.8 | 23.6 | 22.7 | 26.6 | 26.6 | 26.4 | 0 | 0.1 | 0.1 | 0.1 |  | 0.1 | [24 empty] | 225.6 | 0.12 | 10.6 | 0.07 | 50 | 0.38 | 225.4 | 0 | 0 | 0.04 | 50 | 0 | [12 empty] | 5.59 | 19.2 | 79 | 911 | 92.7

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-09-07 00:00:00 | To | 2026-09-07 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state | 1 | 1 | 1 | 47
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C | 23 | 23 | 23 | 47
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code | 1 | 1 | 1 | 47
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code | 0 | 0 | 0 | 47
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | %
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | %
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | %
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | %
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | %
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | %
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | %
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | %
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state
MB-L3-01 | L3-AI-01 | Analog Input 1 | V | 3.12 | 3.12 | 3.12 | 47
MB-L3-01 | L3-AI-02 | Analog Input 2 | V | 3.12 | 3.12 | 3.12 | 47
MB-L3-01 | L3-AI-03 | Analog Input 3 | V | 3.12 | 3.12 | 3.12 | 47
MB-L3-01 | L3-AI-04 | Analog Input 4 | V | 3.12 | 3.12 | 3.12 | 47
MB-L3-01 | L3-AI-05 | Analog Input 5 | V | 3.12 | 3.12 | 3.12 | 47
MB-L3-01 | L3-AI-06 | Analog Input 6 | V | 3.12 | 3.12 | 3.12 | 47
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C | 28.4 | 28.57 | 28.7 | 47
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH | 45.6 | 45.83 | 46.1 | 47
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C | 28.8 | 28.88 | 29 | 47
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH | 44.9 | 45.08 | 45.3 | 47
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C | 28.9 | 28.96 | 29.1 | 47
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH | 45 | 45.2 | 45.4 | 47
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m² | 1 | 1 | 1 | 47
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m² | 0 | 0.36 | 1 | 47
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C
MB-L3-01 | L3-HFT-01 | Heat Flow Temperature 1 | °C
MB-L3-01 | L3-HFT-02 | Heat Flow Temperature 2 | °C
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux | 0.2 | 0.2 | 0.2 | 47
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux | 0.2 | 0.2 | 0.2 | 47
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux | 0.2 | 0.2 | 0.2 | 47
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux | 0.1 | 0.1 | 0.1 | 47
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux | 0.3 | 0.3 | 0.3 | 46
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux | 0.3 | 0.3 | 0.3 | 47
MB-L5-01 | L5-AI-01 | Analog Input 1 | V | 3.05 | 3.05 | 3.05 | 47
MB-L5-01 | L5-AI-02 | Analog Input 2 | V | 3.05 | 3.05 | 3.05 | 47
MB-L5-01 | L5-AI-03 | Analog Input 3 | V | 3.05 | 3.05 | 3.05 | 47
MB-L5-01 | L5-AI-04 | Analog Input 4 | V | 3.05 | 3.05 | 3.05 | 47
MB-L5-01 | L5-AI-05 | Analog Input 5 | V | 3.05 | 3.05 | 3.05 | 47
MB-L5-01 | L5-AI-06 | Analog Input 6 | V | 3.05 | 3.05 | 3.05 | 47
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C | 28.5 | 28.56 | 28.8 | 47
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH | 45.8 | 46.2 | 46.4 | 47
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C | 28.9 | 28.97 | 29.1 | 47
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH | 45.1 | 45.37 | 45.7 | 47
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C | 28.7 | 28.82 | 29 | 47
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH | 45.6 | 45.8 | 46 | 47
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m² | 1 | 1 | 1 | 47
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m² | 1 | 1 | 1 | 47
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C | 23.5 | 23.76 | 24 | 47
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C | 22.8 | 23.02 | 23.3 | 47
MB-L5-01 | L5-HFT-01 | Heat Flow Temperature 1 | °C | 23.5 | 23.66 | 23.9 | 47
MB-L5-01 | L5-HFT-02 | Heat Flow Temperature 2 | °C | 22.6 | 22.8 | 23 | 47
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C | 26.6 | 26.71 | 26.8 | 47
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C | 26.6 | 26.66 | 26.8 | 47
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C | 26.3 | 26.43 | 26.6 | 47
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux | 0 | 0 | 0 | 47
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux | 0.1 | 0.1 | 0.1 | 47
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux | 0.1 | 0.11 | 0.2 | 47
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux | 0.1 | 0.1 | 0.1 | 47
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux | 0.1 | 0.1 | 0.1 | 27
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux | 0.1 | 0.1 | 0.1 | 47
PWR-L3-01 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V
PWR-L3-01 | PZEM-L3-01-CURR | PZEM L3-01 Current | A
PWR-L3-01 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W
PWR-L3-01 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh
PWR-L3-01 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz
PWR-L3-01 | PZEM-L3-01-PF | PZEM L3-01 Power Factor
PWR-L3-02 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V
PWR-L3-02 | PZEM-L3-02-CURR | PZEM L3-02 Current | A
PWR-L3-02 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W
PWR-L3-02 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh
PWR-L3-02 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz
PWR-L3-02 | PZEM-L3-02-PF | PZEM L3-02 Power Factor
PWR-L3-03 | PZEM-L3-03-VOLT | PZEM L3-03 Voltage | V
PWR-L3-03 | PZEM-L3-03-CURR | PZEM L3-03 Current | A
PWR-L3-03 | PZEM-L3-03-POWER | PZEM L3-03 Active Power | W
PWR-L3-03 | PZEM-L3-03-ENERGY | PZEM L3-03 Energy | kWh
PWR-L3-03 | PZEM-L3-03-FREQ | PZEM L3-03 Frequency | Hz
PWR-L3-03 | PZEM-L3-03-PF | PZEM L3-03 Power Factor
PWR-L3-04 | PZEM-L3-04-VOLT | PZEM L3-04 Voltage | V
PWR-L3-04 | PZEM-L3-04-CURR | PZEM L3-04 Current | A
PWR-L3-04 | PZEM-L3-04-POWER | PZEM L3-04 Active Power | W
PWR-L3-04 | PZEM-L3-04-ENERGY | PZEM L3-04 Energy | kWh
PWR-L3-04 | PZEM-L3-04-FREQ | PZEM L3-04 Frequency | Hz
PWR-L3-04 | PZEM-L3-04-PF | PZEM L3-04 Power Factor
PWR-L5-01 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V | 224.6 | 225.1 | 225.6 | 47
PWR-L5-01 | PZEM-L5-01-CURR | PZEM L5-01 Current | A | 0.12 | 0.12 | 0.13 | 47
PWR-L5-01 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W | 9.9 | 10.51 | 10.8 | 47
PWR-L5-01 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh | 0.06 | 0.06 | 0.07 | 47
PWR-L5-01 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz | 49.9 | 49.98 | 50 | 47
PWR-L5-01 | PZEM-L5-01-PF | PZEM L5-01 Power Factor |  | 0.37 | 0.38 | 0.39 | 47
PWR-L5-02 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V | 224.5 | 224.98 | 225.5 | 47
PWR-L5-02 | PZEM-L5-02-CURR | PZEM L5-02 Current | A | 0 | 0 | 0 | 47
PWR-L5-02 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W | 0 | 0 | 0 | 47
PWR-L5-02 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh | 0.04 | 0.04 | 0.04 | 47
PWR-L5-02 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz | 49.9 | 49.98 | 50 | 47
PWR-L5-02 | PZEM-L5-02-PF | PZEM L5-02 Power Factor |  | 0 | 0 | 0 | 47
PWR-L5-03 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
PWR-L5-03 | PZEM-L5-03-CURR | PZEM L5-03 Current | A
PWR-L5-03 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W
PWR-L5-03 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh
PWR-L5-03 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz
PWR-L5-03 | PZEM-L5-03-PF | PZEM L5-03 Power Factor
PWR-L5-04 | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V
PWR-L5-04 | PZEM-L5-04-CURR | PZEM L5-04 Current | A
PWR-L5-04 | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W
PWR-L5-04 | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh
PWR-L5-04 | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz
PWR-L5-04 | PZEM-L5-04-PF | PZEM L5-04 Power Factor
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 3.34 | 5.85 | 9.09 | 47
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 19.2 | 19.41 | 19.6 | 47
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 77.7 | 78.44 | 79.1 | 47
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 911 | 911.15 | 912 | 47
WS-MOD-01 | WS-DIR | Arah Angin | ° | 46.4 | 76.73 | 118.8 | 47

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.