## Data
Timestamp | AC-POWER - AC Power State [state] | AC-SETPOINT - AC Set Temperature [°C] | AC-MODE - AC Operating Mode [code] | AC-FAN - AC Fan Speed [code] | ENC-01 - Rotary Encoder 1 [%] | ENC-02 - Rotary Encoder 2 [%] | ENC-03 - Rotary Encoder 3 [%] | ENC-04 - Rotary Encoder 4 [%] | ENC-05 - Rotary Encoder 5 [%] | ENC-06 - Rotary Encoder 6 [%] | ENC-07 - Rotary Encoder 7 [%] | ENC-08 - Rotary Encoder 8 [%] | MOTOR-01 - Motor Status 1 [state] | MOTOR-02 - Motor Status 2 [state] | MOTOR-03 - Motor Status 3 [state] | MOTOR-04 - Motor Status 4 [state] | MOTOR-05 - Motor Status 5 [state] | MOTOR-06 - Motor Status 6 [state] | MOTOR-07 - Motor Status 7 [state] | MOTOR-08 - Motor Status 8 [state] | L3-AI-01 - Analog Input 1 [V] | L3-AI-02 - Analog Input 2 [V] | L3-AI-03 - Analog Input 3 [V] | L3-AI-04 - Analog Input 4 [V] | L3-AI-05 - Analog Input 5 [V] | L3-AI-06 - Analog Input 6 [V] | L3-SHT-01-T - SHT20 1 Temperature [°C] | L3-SHT-01-RH - SHT20 1 Humidity [%RH] | L3-SHT-02-T - SHT20 2 Temperature [°C] | L3-SHT-02-RH - SHT20 2 Humidity [%RH] | L3-SHT-03-T - SHT20 3 Temperature [°C] | L3-SHT-03-RH - SHT20 3 Humidity [%RH] | L3-RAD-01 - Radiation 1 [W/m²] | L3-RAD-02 - Radiation 2 [W/m²] | L3-ST-01 - Surface Temperature 1 [°C] | L3-ST-02 - Surface Temperature 2 [°C] | L3-HFT-01 - Heat Flow Temperature 1 [°C] | L3-HFT-02 - Heat Flow Temperature 2 [°C] | L3-BGT-01 - Black Globe Temperature 1 [°C] | L3-BGT-02 - Black Globe Temperature 2 [°C] | L3-BGT-03 - Black Globe Temperature 3 [°C] | L3-LUX-01 - Illuminance / LUX 1 [lux] | L3-LUX-02 - Illuminance / LUX 2 [lux] | L3-LUX-03 - Illuminance / LUX 3 [lux] | L3-LUX-04 - Illuminance / LUX 4 [lux] | L3-LUX-05 - Illuminance / LUX 5 [lux] | L3-LUX-06 - Illuminance / LUX 6 [lux] | L5-AI-01 - Analog Input 1 [V] | L5-AI-02 - Analog Input 2 [V] | L5-AI-03 - Analog Input 3 [V] | L5-AI-04 - Analog Input 4 [V] | L5-AI-05 - Analog Input 5 [V] | L5-AI-06 - Analog Input 6 [V] | L5-SHT-01-T - SHT20 1 Temperature [°C] | L5-SHT-01-RH - SHT20 1 Humidity [%RH] | L5-SHT-02-T - SHT20 2 Temperature [°C] | L5-SHT-02-RH - SHT20 2 Humidity [%RH] | L5-SHT-03-T - SHT20 3 Temperature [°C] | L5-SHT-03-RH - SHT20 3 Humidity [%RH] | L5-RAD-01 - Radiation 1 [W/m²] | L5-RAD-02 - Radiation 2 [W/m²] | L5-ST-01 - Surface Temperature 1 [°C] | L5-ST-02 - Surface Temperature 2 [°C] | L5-HFT-01 - Heat Flow Temperature 1 [°C] | L5-HFT-02 - Heat Flow Temperature 2 [°C] | L5-BGT-01 - Black Globe Temperature 1 [°C] | L5-BGT-02 - Black Globe Temperature 2 [°C] | L5-BGT-03 - Black Globe Temperature 3 [°C] | L5-LUX-01 - Illuminance / LUX 1 [lux] | L5-LUX-02 - Illuminance / LUX 2 [lux] | L5-LUX-03 - Illuminance / LUX 3 [lux] | L5-LUX-04 - Illuminance / LUX 4 [lux] | L5-LUX-05 - Illuminance / LUX 5 [lux] | L5-LUX-06 - Illuminance / LUX 6 [lux] | PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | PZEM-L3-01-CURR - PZEM L3-01 Current [A] | PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | PZEM-L3-01-PF - PZEM L3-01 Power Factor | PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | PZEM-L3-02-CURR - PZEM L3-02 Current [A] | PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | PZEM-L3-02-PF - PZEM L3-02 Power Factor | PZEM-L3-03-VOLT - PZEM L3-03 Voltage [V] | PZEM-L3-03-CURR - PZEM L3-03 Current [A] | PZEM-L3-03-POWER - PZEM L3-03 Active Power [W] | PZEM-L3-03-ENERGY - PZEM L3-03 Energy [kWh] | PZEM-L3-03-FREQ - PZEM L3-03 Frequency [Hz] | PZEM-L3-03-PF - PZEM L3-03 Power Factor | PZEM-L3-04-VOLT - PZEM L3-04 Voltage [V] | PZEM-L3-04-CURR - PZEM L3-04 Current [A] | PZEM-L3-04-POWER - PZEM L3-04 Active Power [W] | PZEM-L3-04-ENERGY - PZEM L3-04 Energy [kWh] | PZEM-L3-04-FREQ - PZEM L3-04 Frequency [Hz] | PZEM-L3-04-PF - PZEM L3-04 Power Factor | PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | PZEM-L5-01-CURR - PZEM L5-01 Current [A] | PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | PZEM-L5-01-PF - PZEM L5-01 Power Factor | PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | PZEM-L5-02-CURR - PZEM L5-02 Current [A] | PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | PZEM-L5-02-PF - PZEM L5-02 Power Factor | PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | PZEM-L5-03-CURR - PZEM L5-03 Current [A] | PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | PZEM-L5-03-PF - PZEM L5-03 Power Factor | PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | PZEM-L5-04-CURR - PZEM L5-04 Current [A] | PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-WIND - Kecepatan Angin [m/s] | WS-TEMP - Suhu Udara [°C] | WS-RH - Kelembapan Udara [%RH] | WS-PRES - Tekanan Udara [hPa] | WS-DIR - Arah Angin [°]
2026-09-05 11:57:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 29.3 | 29.5 | 29.4 | 29.2 | 28.8 | 28.6 | 28.9
2026-09-05 11:58:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 29.6 | 29.8 | 29.5 | 29.3 | 29 | 28.8 | 29
2026-09-05 12:01:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 30.1 | 30.1 | 29.7 | 29.6 | 29.2 | 29 | 29
2026-09-05 12:02:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 30.1 | 30.2 | 29.8 | 29.7 | 29.4 | 29.2 | 29.1
2026-09-05 12:03:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 30 | 30.1 | 29.9 | 29.7 | 29.2 | 29 | 29.2
2026-09-05 12:04:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 30 | 30.1 | 29.8 | 29.6 | 29.4 | 29.3 | 29.4
2026-09-05 12:05:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 29.9 | 30 | 29.9 | 29.7 | 29.2 | 29.1 | 29.3
2026-09-05 12:06:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 29.3 | 29.4 | 29.4 | 29.2 | 29 | 28.9 | 29.1
2026-09-05 12:07:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 29.2 | 29.4 | 29.2 | 29 | 28.8 | 28.8 | 29
2026-09-05 12:08:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 29.3 | 29.4 | 29.2 | 29.1 | 28.9 | 28.8 | 28.9
2026-09-05 12:09:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 29.4 | 29.6 | 29.4 | 29.2 | 29 | 28.9 | 29.1
2026-09-05 12:10:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 29.5 | 29.6 | 29.4 | 29.3 | 29.1 | 29 | 29.1
2026-09-05 12:11:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 29.5 | 29.6 | 29.5 | 29.3 | 29.1 | 29 | 29.1
2026-09-05 12:12:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 29.9 | 30 | 29.8 | 29.5 | 29.4 | 29.2 | 29.1
2026-09-05 12:13:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 29.4 | 29.6 | 29.4 | 29.3 | 29.1 | 29 | 29
2026-09-05 15:59:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 33 | 30.2 | 32.2 | 29.7 |  |  | 20 | 4 | 29.8 | 29.9 | 29.8 | 29.9 | 29.6 | 29.7 | 29.7 | 807.6 | 348.5 | 1459.8 | 1000.4 |  | 1913.8
2026-09-05 16:00:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 29.3 | 29.4 | 29.3 | 29.3 | 29.3 | 29.3 | 29.4
2026-09-05 16:01:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 33.6 | 29 | 32.4 | 30.2 |  |  | 20 | 4 | 29.9 | 29.9 | 29.9 | 29.8 | 29.6 | 29.6 | 29.6 | 760.8 | 2151.6 | 1429.8 | 976.9 | 11921.2 | 1991.4
2026-09-05 16:02:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 30.6 | 30.6 | 30.4 | 30.4 | 29.9 | 29.9 | 29.9
2026-09-05 16:21:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 31.7 | 31.9 | 30.7 | 33.5 |  |  | 15 | 16 | 29.6 |  | 29.7 | 29.7 | 29.6 | 29.6 | 29.6 | 854.1 | 1812.3 | 1601.7 | 824.1 | 7705.9 | 1870.4
2026-09-05 16:22:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.2 | 31.1 | 31.3 | 32.8 |  |  | 15 | 31 | 29.4 |  | 29.5 | 29.6 | 29.3 | 29.3 | 29.4 | 824.5 | 1781.5 | 1661.1 | 804.5 | 7455.5 | 1848.5
2026-09-05 16:23:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.6 | 30.7 | 31.6 | 32.2 |  |  | 15 | 38 | 29.7 |  | 29.7 | 29.8 | 29.5 | 29.5 | 29.7 | 775.9 | 1742.5 | 1784.5 | 782.3 | 7111.6 | 2064.8
2026-09-05 16:24:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.6 | 30.8 | 31.5 | 32.2 |  |  | 15 | 38 | 29.5 | 29.7 | 29.8 | 29.7 | 29.5 | 29.4 | 29.6 | 798.8 | 1737.7 | 1621.5 | 779.9 | 7118.4 | 2072.6
2026-09-05 16:32:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 31.7 | 32 | 30.6 | 33.8 | 32.3 | 31.9 | 12 | 28 | 29.7 | 29.9 | 30.1 | 30.1 | 29.8 | 29.8 | 29.8 | 537.3 | 1426.1 | 6272.9 | 609 | 4757.7 | 3805.6
2026-09-05 16:33:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.3 | 31.5 | 31 | 33.2 | 32.7 | 31.4 | 12 | 28 | 29.8 | 29.9 | 30.2 | 30.3 | 30.1 | 29.9 | 30 | 646 | 1417.8 | 6265.4 | 605.8 | 4712.5 | 3851.2
2026-09-05 16:34:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.5 | 31.1 | 31.4 | 32.8 | 33 | 31 | 11 | 26 | 29.8 | 30 | 30 | 30.2 | 30 | 29.9 | 30 | 566.5 | 1372.2 | 5609.5 | 582.7 | 4444.9 | 3518
2026-09-05 16:35:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 32.8 | 30.9 | 31.7 | 32.6 | 33.1 | 30.7 | 11 | 23 | 29.8 | 30 | 30.1 | 30.1 | 29.7 | 29.7 | 29.8 | 608.9 | 1348.7 | 5440.8 | 574.8 | 4404.9 | 3410
2026-09-05 17:13:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 30.3 | 29.1 | 29.1 | 29.1 | 28.9 | 28.5 | 28.9
2026-09-05 17:14:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 30.4 | 29 | 29.1 | 29.2 | 29 | 28.5 | 29
2026-09-05 17:15:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | [8 empty] | 30.8 | 29.2 | 29.3 | 29.3 | 29.1 | 28.7 | 28.9
2026-09-05 17:26:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.1 | 38 | 28.5 | 39.1 | 29 | 39 | 1 | 1 | 29.4 |  | 29.4 | 29.6 | 367.9 | 28 | 28.5 | 60.6 | 251 | 104.4 | 66.3 | 328.3 | 108.9
2026-09-05 17:27:00 | [47 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 29.1 | 37.9 | 28.5 | 39.1 | 28.9 | 39.1 | 1 | 1 | 29.7 |  | 29.5 | 29.6 |  | 28 | 28.5 | 60.4 | 250.5 | 104.2 | 66.1 | 327.4 | 108.7

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-09-05 00:00:00 | To | 2026-09-05 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | %
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | %
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | %
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | %
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | %
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | %
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | %
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | %
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state
MB-L3-01 | L3-AI-01 | Analog Input 1 | V
MB-L3-01 | L3-AI-02 | Analog Input 2 | V
MB-L3-01 | L3-AI-03 | Analog Input 3 | V
MB-L3-01 | L3-AI-04 | Analog Input 4 | V
MB-L3-01 | L3-AI-05 | Analog Input 5 | V
MB-L3-01 | L3-AI-06 | Analog Input 6 | V
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m²
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m²
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C
MB-L3-01 | L3-HFT-01 | Heat Flow Temperature 1 | °C
MB-L3-01 | L3-HFT-02 | Heat Flow Temperature 2 | °C
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux
MB-L5-01 | L5-AI-01 | Analog Input 1 | V | 3.05 | 3.05 | 3.05 | 32
MB-L5-01 | L5-AI-02 | Analog Input 2 | V | 3.05 | 3.05 | 3.05 | 32
MB-L5-01 | L5-AI-03 | Analog Input 3 | V | 3.05 | 3.05 | 3.05 | 32
MB-L5-01 | L5-AI-04 | Analog Input 4 | V | 3.05 | 3.05 | 3.05 | 32
MB-L5-01 | L5-AI-05 | Analog Input 5 | V | 3.05 | 3.05 | 3.05 | 32
MB-L5-01 | L5-AI-06 | Analog Input 6 | V | 3.05 | 3.05 | 3.05 | 32
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C | 29.1 | 31.93 | 33.6 | 12
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH | 29 | 32.09 | 38 | 12
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C | 28.5 | 30.95 | 32.4 | 12
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH | 29.7 | 33.43 | 39.1 | 12
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C | 28.9 | 31.5 | 33.1 | 6
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH | 30.7 | 33.85 | 39.1 | 6
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m² | 1 | 12.33 | 20 | 12
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m² | 1 | 19.83 | 38 | 12
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C | 29.2 | 29.75 | 30.8 | 32
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C | 29 | 29.74 | 30.6 | 27
MB-L5-01 | L5-HFT-01 | Heat Flow Temperature 1 | °C | 29.1 | 29.63 | 30.4 | 32
MB-L5-01 | L5-HFT-02 | Heat Flow Temperature 2 | °C | 29 | 29.58 | 30.4 | 32
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C | 28.8 | 40.24 | 367.9 | 31
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C | 28 | 29.12 | 29.9 | 32
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C | 28.5 | 29.27 | 30 | 32
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux | 60.4 | 608.45 | 854.1 | 12
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux | 250.5 | 1303.37 | 2151.6 | 12
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux | 104.2 | 2779.63 | 6272.9 | 12
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux | 66.1 | 639.4 | 1000.4 | 12
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux | 327.4 | 5480.75 | 11921.2 | 11
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux | 108.7 | 2213.66 | 3851.2 | 12
PWR-L3-01 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V
PWR-L3-01 | PZEM-L3-01-CURR | PZEM L3-01 Current | A
PWR-L3-01 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W
PWR-L3-01 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh
PWR-L3-01 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz
PWR-L3-01 | PZEM-L3-01-PF | PZEM L3-01 Power Factor
PWR-L3-02 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V
PWR-L3-02 | PZEM-L3-02-CURR | PZEM L3-02 Current | A
PWR-L3-02 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W
PWR-L3-02 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh
PWR-L3-02 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz
PWR-L3-02 | PZEM-L3-02-PF | PZEM L3-02 Power Factor
PWR-L3-03 | PZEM-L3-03-VOLT | PZEM L3-03 Voltage | V
PWR-L3-03 | PZEM-L3-03-CURR | PZEM L3-03 Current | A
PWR-L3-03 | PZEM-L3-03-POWER | PZEM L3-03 Active Power | W
PWR-L3-03 | PZEM-L3-03-ENERGY | PZEM L3-03 Energy | kWh
PWR-L3-03 | PZEM-L3-03-FREQ | PZEM L3-03 Frequency | Hz
PWR-L3-03 | PZEM-L3-03-PF | PZEM L3-03 Power Factor
PWR-L3-04 | PZEM-L3-04-VOLT | PZEM L3-04 Voltage | V
PWR-L3-04 | PZEM-L3-04-CURR | PZEM L3-04 Current | A
PWR-L3-04 | PZEM-L3-04-POWER | PZEM L3-04 Active Power | W
PWR-L3-04 | PZEM-L3-04-ENERGY | PZEM L3-04 Energy | kWh
PWR-L3-04 | PZEM-L3-04-FREQ | PZEM L3-04 Frequency | Hz
PWR-L3-04 | PZEM-L3-04-PF | PZEM L3-04 Power Factor
PWR-L5-01 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V
PWR-L5-01 | PZEM-L5-01-CURR | PZEM L5-01 Current | A
PWR-L5-01 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W
PWR-L5-01 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh
PWR-L5-01 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz
PWR-L5-01 | PZEM-L5-01-PF | PZEM L5-01 Power Factor
PWR-L5-02 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V
PWR-L5-02 | PZEM-L5-02-CURR | PZEM L5-02 Current | A
PWR-L5-02 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W
PWR-L5-02 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh
PWR-L5-02 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz
PWR-L5-02 | PZEM-L5-02-PF | PZEM L5-02 Power Factor
PWR-L5-03 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
PWR-L5-03 | PZEM-L5-03-CURR | PZEM L5-03 Current | A
PWR-L5-03 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W
PWR-L5-03 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh
PWR-L5-03 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz
PWR-L5-03 | PZEM-L5-03-PF | PZEM L5-03 Power Factor
PWR-L5-04 | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V
PWR-L5-04 | PZEM-L5-04-CURR | PZEM L5-04 Current | A
PWR-L5-04 | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W
PWR-L5-04 | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh
PWR-L5-04 | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz
PWR-L5-04 | PZEM-L5-04-PF | PZEM L5-04 Power Factor
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s
WS-MOD-01 | WS-TEMP | Suhu Udara | °C
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa
WS-MOD-01 | WS-DIR | Arah Angin | °

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.